## Feed
GrowthDay | FeederTotal | ChangeTotal | Feeder_1 | ChangeFeeder_1 | Feeder_2 | ChangeFeeder_2 | Feeder_3 | ChangeFeeder_3 | Feeder_4 | ChangeFeeder_4
-1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详

## Heaters
GrowthDay | Heater_1 | Heater_2 | Heater_3 | Heater_4 | Heater_5 | Heater_6 | Heater_7 | Heater_8 | Heater_9 | Heater_10 | Heater_11 | Heater_12 | Heater_13 | Heater_14 | Heater_15 | Heater_16
-1 | 00:00 | 02:26 | 01:08 | 00:00 | 01:38 | 02:13 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:19 | 00:07 | 00:00 | 00:10 | 00:16 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## History View
GROWTH_DAY | HISTORY_TIME | TARGET_TEMP | HOUSE_TEMP_MIN | HOUSE_TEMP_AVG | HOUSE_TEMP_MAX | TEMP_1_AVG | TEMP_2_AVG | TEMP_3_AVG | TEMP_4_AVG | TEMP_5_AVG | OUTSIDE_AVG | HUMIDITY_IN_1_AVG | HUMIDITY_OUT_AVG | WATER_CON | FEED_CON | LEVEL
-1 | 16:00 | 33.0 | 25.0 | 25.0 | 25.5 | 25.1 | 25.1 | 24.8 | 24.9 | 25.3 | 22.7 | 83.9 | --- | 0 | 0 | 1
-1 | 17:00 | 33.0 | 24.9 | 32.2 | 34.0 | 32.1 | 32.1 | 32.3 | 32.2 | 32.2 | 20.3 | 67.9 | --- | 0 | 0 | 1
-1 | 18:00 | 33.0 | 32.0 | 32.4 | 33.3 | 32.0 | 32.0 | 32.9 | 32.8 | 32.1 | 18.8 | 70.9 | --- | 0 | 0 | 1
-1 | 19:00 | 33.0 | 32.0 | 32.1 | 33.4 | 31.7 | 32.0 | 32.4 | 31.9 | 31.9 | 18.3 | 70.9 | --- | 0 | 0 | 1
-1 | 20:00 | 33.0 | 32.0 | 32.5 | 33.4 | 32.2 | 32.5 | 32.4 | 32.4 | 32.5 | 17.8 | 70.2 | --- | 0 | 0 | 1
-1 | 21:00 | 33.0 | 32.0 | 32.5 | 33.2 | 32.1 | 32.5 | 32.4 | 32.4 | 32.5 | 17.2 | 71 | --- | 0 | 0 | 1
-1 | 22:00 | 33.0 | 32.0 | 32.5 | 33.3 | 32.2 | 32.6 | 32.4 | 32.4 | 32.5 | 15.9 | 70.9 | --- | 0 | 0 | 1
-1 | 23:00 | 33.0 | 31.9 | 32.4 | 33.2 | 32.1 | 32.4 | 32.4 | 32.4 | 32.5 | 16.1 | 70.9 | --- | 0 | 0 | 1
-1 | 00:00 | 33.0 | 32.0 | 32.9 | 33.3 | 32.4 | 32.7 | 32.8 | 33.0 | 33.1 | 16.5 | 69 | --- | 0 | 0 | 1

## Humidity
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 65 | 69 | 85
0 | 69 | 70 | 71

## Mortality
GrowthDay | TotalMortality | TotalCulled | TotalTotal | TotalPercent | TotalUpdate | MaleMortality | MaleCulled | MaleTotal | MalePercent | MaleUpdate | FemaleMortality | FemaleCulled | FemaleTotal | FemalePercent | FemaleUpdate
-1 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
0 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000

## Power Consumption
GrowthDay | Heaters | Fans | Lights | Others | ToalPerDay | ChangeRate
-1 | 0 | 0 | 0 | 0 | 0 | 不详
0 | 0 | 0 | 0 | 0 | 0 | 不详

## Radiant Heaters
GrowthDay | Low_1 | High_1 | Low_2 | High_2 | Low_3 | High_3 | Low_4 | High_4 | Low_5 | High_5 | Low_6 | High_6 | Low_7 | High_7 | Low_8 | High_8 | Low_9 | High_9 | Low_10 | High_10 | Low_11 | High_11 | Low_12 | High_12 | Low_13 | High_13 | Low_14 | High_14 | Low_15 | High_15 | Low_16 | High_16
-1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## Scale History
GrowthDay | Common_Weight | Common_NumOfWeights | Common_StandardDev | Common_Uniformity | Common_CV | Common_DailyGain | Scale1Female1_Weight | Scale1Female1_NumOfWeights | Scale1Female1_StandardDev | Scale1Female1_Uniformity | Scale1Female1_CV | Scale1Female1_DailyGain | Scale2Male1_Weight | Scale2Male1_NumOfWeights | Scale2Male1_StandardDev | Scale2Male1_Uniformity | Scale2Male1_CV | Scale2Male1_DailyGain
-1 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
0 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000

## Table Of Events
Message | GrowthDay | Time
报警测试 | 21 | 11:30:00
备用设置提醒 | 21 | 22:40:24
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
更改开关 | 25 | 14:10:27
更改开关 | 25 | 16:54:22
更改开关 | 26 | 10:34:11
报警测试 | 26 | 11:30:00
备用设置提醒 | 26 | 13:23:03
更改开关 | 26 | 16:34:13
更改开关 | 26 | 16:34:15
更改开关 | 26 | 16:34:16
更改开关 | 27 | 10:25:09
报警测试 | 27 | 11:30:00
更改开关 | 27 | 17:20:23
更改开关 | 27 | 17:20:29
更改开关 | 27 | 17:21:01
更改开关 | 28 | 09:27:29
报警测试 | 28 | 11:30:00
更改开关 | 29 | 08:31:29
更改开关 | 29 | 08:32:02
更改开关 | 29 | 08:32:16
更改开关 | 29 | 09:26:29
报警测试 | 29 | 11:30:00
更改开关 | 29 | 15:15:11
更改开关 | 29 | 15:15:13
更改开关 | 29 | 15:15:16
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
备用设置提醒 | 32 | 23:16:24
更改开关 | 33 | 10:57:18
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
备用设置提醒 | 37 | 01:43:20
重置报警 | 37 | 02:11:06
重置报警 | 37 | 04:10:03
更改开关 | 37 | 06:07:26
更改开关 | 37 | 06:07:28
更改开关 | 37 | 06:08:01
报警测试 | 37 | 11:30:00
更改开关 | 38 | 10:22:26
更改开关 | 38 | 10:34:14
更改开关 | 38 | 10:35:28
更改开关 | 38 | 10:37:01
空鸡舍模式 | 38 | 10:39:10
重置报警 | 38 | 10:39:10
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
电源关闭 | 45 | 17:17:03
电源开启 | 45 | 17:26:10
电源关闭 | 45 | 17:31:06
电源开启 | 45 | 17:32:01
电源关闭 | 45 | 18:24:01
电源开启 | 45 | 18:24:29
电源关闭 | 45 | 18:55:19
电源开启 | 45 | 18:55:19
电源关闭 | 46 | 07:47:01
电源开启 | 46 | 07:47:01
电源关闭 | 46 | 11:22:16
电源开启 | 46 | 12:44:10
电源关闭 | 46 | 12:53:05
电源开启 | 46 | 12:55:12
电源关闭 | 46 | 12:56:07
电源开启 | 46 | 12:56:13
电源关闭 | 46 | 13:08:07
电源开启 | 46 | 13:08:16
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
更改开关 | 53 | 09:56:14
更改开关 | 53 | 09:56:27
更改开关 | 53 | 09:57:11
更改开关 | 53 | 09:57:23
报警测试 | 53 | 11:30:00
更改的日龄 | -2 | 14:39:22
更改开关 | -2 | 14:44:23
电源关闭 | -1 | 10:22:20
电源开启 | -1 | 10:22:27
报警测试 | -1 | 11:30:00
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 16:02:00
备用设置提醒 | 0 | 16:02:01
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
备用设置提醒 | 2 | 12:37:01
新的鸡群 | 1 | 17:30:01
更改的日龄 | 2 | 17:30:04
新的鸡群 | 1 | 17:30:05
更改的日龄 | 2 | 17:30:12
报警测试 | 3 | 11:30:00
备用设置提醒 | 4 | 08:57:10
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 6 | 06:18:15
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
重置报警 | 24 | 23:33:19
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
备用设置提醒 | 27 | 00:28:24
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
重置报警 | 34 | 05:35:21
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
更改开关 | 38 | 09:00:23
更改开关 | 38 | 09:01:00
更改开关 | 38 | 09:05:27
空鸡舍模式 | 38 | 09:06:07
重置报警 | 38 | 09:06:07
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
电源关闭 | 41 | 11:00:11
电源开启 | 41 | 18:25:22
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
更改的日龄 | 1 | 10:10:29
普通鸡舍模式 | 1 | 10:10:29
备用设置提醒 | 1 | 10:10:29
电源关闭 | 1 | 10:11:19
电源开启 | 1 | 10:11:27
备用设置提醒 | 1 | 10:12:00
更改开关 | 1 | 10:13:02
重置报警 | 1 | 10:16:10
重置报警 | 1 | 11:23:17
报警测试 | 1 | 11:30:00
电源关闭 | 1 | 13:51:10
电源开启 | 1 | 13:51:18
更改开关 | 1 | 13:55:28
重置报警 | 1 | 16:11:09
更改开关 | 1 | 16:15:11
更改的日龄 | -2 | 16:22:25
报警测试 | -1 | 11:30:00
报警测试 | 0 | 11:30:00
报警测试 | 1 | 11:30:00
备用设置提醒 | 2 | 06:26:22
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
备用设置提醒 | 4 | 21:48:10
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
备用设置提醒 | 6 | 21:31:26
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
新的鸡群 | -2 | 17:35:07
备用设置提醒 | -2 | 17:35:07
空鸡舍模式 | -2 | 17:36:21
重置报警 | -2 | 17:36:21
更改开关 | -2 | 17:38:13
更改开关 | -2 | 17:38:20
更改开关 | -2 | 17:38:24
更改开关 | -2 | 17:38:26
电源关闭 | -1 | 10:23:14
电源开启 | -1 | 10:29:25
报警测试 | -1 | 11:30:00
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 16:05:27
备用设置提醒 | 0 | 16:05:28
重置报警 | 1 | 00:05:03
重置报警 | 1 | 00:23:28
重置报警 | 1 | 00:29:27
重置报警 | 1 | 00:45:03
重置报警 | 1 | 01:05:05
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
备用设置提醒 | 3 | 13:18:05
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 6 | 05:04:14
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
更改开关 | 11 | 12:51:20
更改开关 | 11 | 12:51:25
更改开关 | 11 | 12:52:09
重置报警 | 11 | 13:08:05
报警测试 | 12 | 11:30:00
备用设置提醒 | 12 | 16:43:01
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
重置报警 | 15 | 11:32:21
更改开关 | 15 | 11:33:22
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
备用设置提醒 | 17 | 15:21:18
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
备用设置提醒 | 22 | 04:00:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
备用设置提醒 | 30 | 16:40:24
报警测试 | 31 | 11:30:00
更改开关 | 31 | 12:19:26
更改开关 | 31 | 17:39:20
更改开关 | 31 | 17:39:24
更改开关 | 31 | 17:39:27
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
重置报警 | 34 | 21:15:22
重置报警 | 34 | 21:16:07
重置报警 | 34 | 21:16:21
重置报警 | 34 | 21:20:23
更改开关 | 35 | 10:35:20
报警测试 | 35 | 11:30:00
备用设置提醒 | 36 | 07:55:06
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
更改开关 | 37 | 13:48:07
更改开关 | 37 | 19:21:05
更改开关 | 37 | 19:21:07
更改开关 | 38 | 09:05:11
更改开关 | 38 | 09:05:15
更改开关 | 38 | 09:05:24
空鸡舍模式 | 38 | 09:06:13
更改开关 | 38 | 09:42:12
报警测试 | 38 | 11:30:00
更改开关 | 38 | 13:00:01
更改开关 | 38 | 13:00:08
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 13:25:12
电源开启 | 42 | 14:48:18
报警测试 | 44 | 11:30:00
电源关闭 | 45 | 11:03:03
电源开启 | 45 | 11:03:09
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
更改的日龄 | 1 | 07:54:07
普通鸡舍模式 | 1 | 07:54:07
备用设置提醒 | 1 | 07:54:07
更改的日龄 | -2 | 07:54:13
更改开关 | -2 | 08:05:06
更改开关 | -2 | 08:05:14
更改开关 | -2 | 08:28:03
重置报警 | -2 | 08:28:08
空鸡舍模式 | -2 | 08:40:13
重置报警 | -2 | 08:40:13
报警测试 | -2 | 11:30:00
更改的日龄 | 45 | 17:57:22
普通鸡舍模式 | 45 | 17:57:22
备用设置提醒 | 45 | 17:57:22
更改的日龄 | -2 | 17:58:06
重置报警 | -2 | 17:58:22
报警测试 | -1 | 11:30:00
更改开关 | -1 | 17:31:15
更改开关 | -1 | 17:32:07
更改开关 | -1 | 17:33:00
更改开关 | -1 | 17:33:05
更改开关 | -1 | 18:00:06
备用设置提醒 | -1 | 18:01:21
重置报警 | -1 | 18:03:14
重置报警 | 0 | 07:51:24
重置报警 | 0 | 08:56:07
报警测试 | 0 | 11:30:00
空鸡舍模式 | 0 | 15:17:24
重置报警 | 0 | 15:17:24
普通鸡舍模式 | 1 | 08:00:00
备用设置提醒 | 1 | 08:00:00
重置报警 | 1 | 08:01:01
报警测试 | 1 | 11:30:00
空鸡舍模式 | 2 | 09:52:16
重置报警 | 2 | 09:52:16
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
电源关闭 | 4 | 07:37:03
电源开启 | 4 | 07:37:10
报警测试 | 4 | 11:30:00
更改开关 | 5 | 07:28:19
更改开关 | 5 | 07:29:03
更改开关 | 5 | 07:29:17
更改的日龄 | -1 | 08:23:24
报警测试 | -1 | 11:30:00
更改开关 | -1 | 16:40:04
新的鸡群 | -1 | 17:52:15
更改开关 | -1 | 17:56:19
更改开关 | -1 | 17:56:28
更改开关 | -1 | 17:57:04
更改开关 | -1 | 17:57:19
更改开关 | -1 | 17:57:24
更改开关 | 0 | 08:35:22
更改开关 | 0 | 08:36:02
更改开关 | 0 | 08:36:16
更改开关 | 0 | 08:37:01
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 21:12:16
备用设置提醒 | 0 | 21:12:17
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
备用设置提醒 | 3 | 05:04:13
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
备用设置提醒 | 9 | 21:18:05
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
备用设置提醒 | 13 | 13:04:24
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
更改开关 | 15 | 13:28:12
更改开关 | 15 | 13:28:20
更改开关 | 15 | 19:27:03
更改开关 | 15 | 19:27:17
更改开关 | 15 | 19:38:08
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
更改开关 | 17 | 11:47:29
更改开关 | 17 | 17:42:11
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
更改开关 | 19 | 11:50:24
更改开关 | 19 | 17:20:17
备用设置提醒 | 20 | 00:28:24
报警测试 | 20 | 11:30:00
重置报警 | 20 | 12:21:27
更改开关 | 20 | 17:33:23
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
备用设置提醒 | 24 | 01:04:24
更改开关 | 24 | 08:48:22
更改开关 | 24 | 10:22:22
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
更改开关 | 28 | 20:21:08
更改开关 | 28 | 20:21:17
备用设置提醒 | 29 | 00:11:15
电源关闭 | 29 | 06:25:26
电源开启 | 29 | 06:26:03
备用设置提醒 | 29 | 06:26:06
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
备用设置提醒 | 32 | 12:28:02
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
隧道通风 | 34 | 14:06:19
最小通风 | 34 | 18:08:15
隧道通风 | 35 | 08:30:11
报警测试 | 35 | 11:30:00
最小通风 | 36 | 03:37:21
隧道通风 | 36 | 06:45:13
报警测试 | 36 | 11:30:00
更改开关 | 36 | 14:09:28
重置报警 | 36 | 14:24:23
空鸡舍模式 | 36 | 14:25:08
重置报警 | 36 | 14:25:08
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
电源关闭 | 40 | 12:40:06
电源开启 | 40 | 17:40:14
报警测试 | 42 | 11:30:00
电源关闭 | 43 | 03:41:03
电源开启 | 43 | 05:58:24
电源关闭 | 43 | 08:01:29
电源开启 | 43 | 09:55:12
报警测试 | 43 | 11:30:00
电源关闭 | 43 | 11:43:20
电源开启 | 43 | 17:32:01
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
电源关闭 | 45 | 12:37:12
电源开启 | 45 | 12:37:20
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
新的鸡群 | -1 | 08:12:28
最小通风 | -1 | 08:36:12
报警测试 | -1 | 11:30:00
更改开关 | -1 | 21:25:03
更改开关 | -1 | 21:25:25
更改开关 | -1 | 21:25:27
更改开关 | -1 | 21:25:29
更改开关 | -1 | 21:26:02
更改开关 | -1 | 21:26:05
更改开关 | -1 | 21:26:08
更改开关 | 0 | 06:15:19
更改开关 | 0 | 06:15:20
更改开关 | 0 | 06:16:01
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 16:11:25
备用设置提醒 | 0 | 16:11:26
报警测试 | 1 | 11:30:00
备用设置提醒 | 2 | 08:30:05
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
重置报警 | 5 | 11:59:22
重置报警 | 5 | 22:38:29
更改开关 | 5 | 22:39:04
更改开关 | 5 | 22:39:10
更改开关 | 5 | 22:40:06
更改开关 | 5 | 22:40:08
更改开关 | 5 | 22:41:26
更改开关 | 5 | 22:41:28
更改开关 | 5 | 22:42:10
更改开关 | 5 | 22:42:13
更改开关 | 5 | 22:42:19
重置报警 | 5 | 22:53:27
更改开关 | 6 | 08:17:14
更改开关 | 6 | 08:20:18
更改开关 | 6 | 08:21:03
更改开关 | 6 | 08:22:17
更改开关 | 6 | 10:49:19
报警测试 | 6 | 11:30:00
更改开关 | 6 | 17:23:04
备用设置提醒 | 7 | 04:12:00
报警测试 | 7 | 11:30:00
更改开关 | 8 | 09:58:11
报警测试 | 8 | 11:30:00
更改开关 | 8 | 13:04:28
更改开关 | 8 | 13:05:20
更改开关 | 8 | 19:08:07
更改开关 | 8 | 19:08:07
更改开关 | 8 | 19:08:17
更改开关 | 8 | 19:08:19
更改开关 | 9 | 09:39:18
报警测试 | 9 | 11:30:00
更改开关 | 9 | 18:51:29
更改开关 | 9 | 18:52:00
更改开关 | 9 | 18:52:03
更改开关 | 10 | 08:29:20
报警测试 | 10 | 11:30:00
更改开关 | 10 | 19:24:02
报警测试 | 11 | 11:30:00
更改开关 | 11 | 11:56:19
更改开关 | 11 | 19:06:21
电源关闭 | 12 | 00:02:26
电源开启 | 12 | 00:03:04
电源关闭 | 12 | 01:53:13
电源开启 | 12 | 01:53:21
电源关闭 | 12 | 02:03:04
电源开启 | 12 | 02:03:09
电源关闭 | 12 | 02:14:02
电源开启 | 12 | 02:14:11
电源关闭 | 12 | 02:20:14
电源开启 | 12 | 02:20:22
电源关闭 | 12 | 06:09:03
电源开启 | 12 | 06:09:19
电源关闭 | 12 | 06:10:08
电源开启 | 12 | 06:10:17
电源关闭 | 12 | 06:11:24
电源开启 | 12 | 06:11:29
电源关闭 | 12 | 06:12:18
电源开启 | 12 | 06:13:17
电源关闭 | 12 | 06:13:24
电源开启 | 12 | 06:15:04
电源关闭 | 12 | 06:16:03
电源开启 | 12 | 06:16:08
电源关闭 | 12 | 06:16:23
电源开启 | 12 | 06:16:25
电源关闭 | 12 | 06:17:00
电源开启 | 12 | 06:17:02
电源关闭 | 12 | 06:17:05
电源开启 | 12 | 06:17:19
电源关闭 | 12 | 06:18:14
电源开启 | 12 | 06:19:12
电源关闭 | 12 | 06:26:22
电源开启 | 12 | 06:27:19
电源关闭 | 12 | 06:27:19
电源开启 | 12 | 06:27:26
电源关闭 | 12 | 06:28:04
电源开启 | 12 | 06:30:10
电源关闭 | 12 | 06:30:21
电源开启 | 12 | 06:31:26
电源关闭 | 12 | 06:51:09
电源开启 | 12 | 06:52:02
电源关闭 | 12 | 06:59:13
电源开启 | 12 | 07:00:14
更改开关 | 12 | 08:34:16
报警测试 | 12 | 11:30:00
备用设置提醒 | 12 | 12:15:15
更改开关 | 12 | 21:52:06
更改开关 | 13 | 09:28:19
报警测试 | 13 | 11:30:00
电源关闭 | 13 | 15:00:02
电源开启 | 13 | 15:00:10
更改开关 | 13 | 19:39:07
更改开关 | 14 | 08:17:14
报警测试 | 14 | 11:30:00
更改开关 | 14 | 21:30:03
更改开关 | 15 | 06:48:05
更改开关 | 15 | 06:48:28
更改开关 | 15 | 06:49:11
更改开关 | 15 | 08:52:22
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
备用设置提醒 | 17 | 07:17:23
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
隧道通风 | 19 | 12:30:10
最小通风 | 19 | 16:56:05
重置报警 | 19 | 17:06:04
更改开关 | 19 | 17:07:12
更改开关 | 19 | 17:08:03
报警测试 | 20 | 11:30:00
隧道通风 | 20 | 12:15:02
最小通风 | 20 | 13:08:19
隧道通风 | 20 | 14:20:28
最小通风 | 20 | 16:25:27
更改开关 | 21 | 09:44:04
更改开关 | 21 | 09:44:15
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
隧道通风 | 22 | 12:56:25
最小通风 | 22 | 16:38:28
隧道通风 | 23 | 10:29:06
报警测试 | 23 | 11:30:00
备用设置提醒 | 23 | 17:31:06
最小通风 | 23 | 18:25:22
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
隧道通风 | 25 | 12:19:28
最小通风 | 25 | 14:27:17
隧道通风 | 25 | 14:31:11
最小通风 | 25 | 22:01:25
隧道通风 | 26 | 08:03:15
报警测试 | 26 | 11:30:00
最小通风 | 27 | 00:07:10
更改开关 | 27 | 03:20:22
更改开关 | 27 | 03:20:26
隧道通风 | 27 | 07:10:01
报警测试 | 27 | 11:30:00
备用设置提醒 | 27 | 13:04:24
最小通风 | 28 | 02:50:28
隧道通风 | 28 | 04:03:29
最小通风 | 28 | 04:26:26
隧道通风 | 28 | 07:21:15
最小通风 | 28 | 08:40:00
报警测试 | 28 | 11:30:00
隧道通风 | 28 | 13:16:13
最小通风 | 29 | 02:18:04
隧道通风 | 29 | 04:04:13
最小通风 | 29 | 04:54:23
隧道通风 | 29 | 06:20:29
报警测试 | 29 | 11:30:00
备用设置提醒 | 30 | 07:53:07
重置报警 | 30 | 09:42:07
重置报警 | 30 | 10:13:06
报警测试 | 30 | 11:30:00
重置报警 | 30 | 12:33:16
重置报警 | 30 | 12:36:17
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
备用设置提醒 | 33 | 03:19:25
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
重置报警 | 34 | 13:26:10
重置报警 | 34 | 13:30:01
重置报警 | 34 | 14:13:05
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
最小通风 | 37 | 12:37:00
隧道通风 | 37 | 13:11:04
备用设置提醒 | 38 | 00:57:18
报警测试 | 38 | 11:30:00
更改开关 | 38 | 15:05:16
空鸡舍模式 | 38 | 15:06:08
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 16:10:18
电源开启 | 42 | 09:47:22
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
电源关闭 | 47 | 16:57:05
电源开启 | 47 | 18:15:20
电源关闭 | 48 | 05:50:19
电源开启 | 48 | 05:50:26
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
新的鸡群 | -2 | 16:34:19
最小通风 | -2 | 16:38:24
电源关闭 | -1 | 10:02:11
电源开启 | -1 | 10:02:14
电源关闭 | -1 | 10:04:12
电源开启 | -1 | 10:04:28
报警测试 | -1 | 11:30:00
更改开关 | -1 | 14:41:17
更改开关 | -1 | 14:41:29
更改开关 | -1 | 14:42:02
更改开关 | -1 | 14:42:22
更改开关 | -1 | 14:43:12
更改开关 | -1 | 14:43:24
更改开关 | -1 | 14:43:26
更改开关 | -1 | 14:44:08
新的鸡群 | -1 | 16:13:11
更改开关 | -1 | 18:39:20
更改开关 | 0 | 08:00:02
更改开关 | 0 | 08:00:21
报警测试 | 0 | 11:30:00
新的鸡群 | 0 | 17:30:16
普通鸡舍模式 | 0 | 21:07:10
备用设置提醒 | 0 | 21:07:10
更改开关 | 1 | 01:25:28
报警测试 | 1 | 11:30:00
更改开关 | 1 | 11:39:10
更改开关 | 1 | 19:25:19
更改开关 | 1 | 19:25:22
更改开关 | 1 | 19:25:27
更改开关 | 2 | 10:30:10
报警测试 | 2 | 11:30:00
更改开关 | 2 | 19:28:22
更改开关 | 2 | 19:28:23
更改开关 | 2 | 19:29:00
备用设置提醒 | 2 | 23:33:16
更改开关 | 3 | 09:17:02
报警测试 | 3 | 11:30:00
更改开关 | 3 | 19:39:11
备用设置提醒 | 4 | 09:20:02
更改开关 | 4 | 09:25:04
报警测试 | 4 | 11:30:00
更改开关 | 4 | 19:52:02
更改开关 | 4 | 19:52:10
更改开关 | 5 | 08:30:05
报警测试 | 5 | 11:30:00
更改开关 | 5 | 13:47:18
更改开关 | 5 | 13:47:25
更改开关 | 5 | 13:48:03
更改开关 | 6 | 07:52:15
报警测试 | 6 | 11:30:00
隧道通风 | 6 | 12:08:18
最小通风 | 6 | 12:20:01
隧道通风 | 6 | 12:48:12
最小通风 | 6 | 13:54:14
备用设置提醒 | 6 | 14:32:07
隧道通风 | 6 | 14:38:17
最小通风 | 6 | 15:05:20
更改开关 | 6 | 21:34:20
更改开关 | 7 | 06:59:12
隧道通风 | 7 | 09:56:02
报警测试 | 7 | 11:30:00
最小通风 | 7 | 18:11:26
更改开关 | 8 | 00:23:09
更改开关 | 8 | 00:23:16
更改开关 | 8 | 00:23:17
更改开关 | 8 | 06:23:11
隧道通风 | 8 | 09:38:25
报警测试 | 8 | 11:30:00
最小通风 | 8 | 18:20:17
更改开关 | 9 | 00:03:27
更改开关 | 9 | 00:04:03
更改开关 | 9 | 00:04:12
更改开关 | 9 | 00:04:19
更改开关 | 9 | 07:00:10
报警测试 | 9 | 11:30:00
隧道通风 | 9 | 11:41:11
最小通风 | 9 | 11:52:10
隧道通风 | 9 | 12:10:28
最小通风 | 9 | 15:56:15
更改开关 | 10 | 04:38:15
更改开关 | 10 | 06:49:23
隧道通风 | 10 | 10:25:14
报警测试 | 10 | 11:30:00
备用设置提醒 | 10 | 15:21:18
最小通风 | 10 | 16:02:22
隧道通风 | 11 | 09:54:25
最小通风 | 11 | 10:44:05
报警测试 | 11 | 11:30:00
隧道通风 | 11 | 12:06:02
最小通风 | 11 | 12:21:15
隧道通风 | 11 | 12:45:04
最小通风 | 11 | 13:32:08
重置报警 | 11 | 13:36:26
隧道通风 | 11 | 14:36:03
最小通风 | 11 | 14:57:25
重置报警 | 11 | 15:56:03
隧道通风 | 12 | 09:23:16
报警测试 | 12 | 11:30:00
更改开关 | 12 | 13:54:09
更改开关 | 12 | 16:26:07
重置报警 | 12 | 16:31:05
重置报警 | 12 | 16:32:03
重置报警 | 12 | 16:33:04
最小通风 | 12 | 19:05:28
隧道通风 | 13 | 07:56:06
报警测试 | 13 | 11:30:00
最小通风 | 13 | 19:23:02
隧道通风 | 14 | 08:41:28
报警测试 | 14 | 11:30:00
最小通风 | 14 | 19:16:29
隧道通风 | 15 | 08:17:16
报警测试 | 15 | 11:30:00
最小通风 | 15 | 19:13:12
重置报警 | 15 | 21:00:23
隧道通风 | 16 | 08:51:08
报警测试 | 16 | 11:30:00
最小通风 | 16 | 16:34:29
备用设置提醒 | 16 | 20:32:19
隧道通风 | 17 | 09:39:21
报警测试 | 17 | 11:30:00
最小通风 | 17 | 14:21:07
隧道通风 | 17 | 14:54:20
最小通风 | 17 | 17:21:15
隧道通风 | 18 | 08:09:21
报警测试 | 18 | 11:30:00
最小通风 | 18 | 18:21:02
隧道通风 | 19 | 08:48:10
最小通风 | 19 | 09:21:25
隧道通风 | 19 | 09:38:06
报警测试 | 19 | 11:30:00
最小通风 | 19 | 18:49:25
更改开关 | 19 | 22:42:08
更改开关 | 19 | 22:42:12
隧道通风 | 20 | 08:43:12
报警测试 | 20 | 11:30:00
最小通风 | 20 | 19:53:22
更改开关 | 20 | 20:06:04
更改开关 | 20 | 20:06:12
备用设置提醒 | 21 | 00:50:12
隧道通风 | 21 | 08:22:28
报警测试 | 21 | 11:30:00
最小通风 | 21 | 19:05:01
隧道通风 | 22 | 08:50:25
报警测试 | 22 | 11:30:00
最小通风 | 22 | 16:26:27
隧道通风 | 23 | 10:55:27
报警测试 | 23 | 11:30:00
最小通风 | 23 | 19:13:24
隧道通风 | 24 | 10:08:29
报警测试 | 24 | 11:30:00
最小通风 | 24 | 19:09:23
隧道通风 | 25 | 07:55:07
报警测试 | 25 | 11:30:00
备用设置提醒 | 25 | 12:27:12
最小通风 | 25 | 23:41:27
隧道通风 | 26 | 07:43:18
报警测试 | 26 | 11:30:00
最小通风 | 26 | 13:47:21
更改开关 | 26 | 15:18:21
更改开关 | 26 | 15:19:04
隧道通风 | 26 | 17:30:10
最小通风 | 26 | 18:47:16
隧道通风 | 27 | 08:00:10
报警测试 | 27 | 11:30:00
最小通风 | 27 | 21:40:27
隧道通风 | 28 | 07:57:03
报警测试 | 28 | 11:30:00
最小通风 | 28 | 23:46:20
隧道通风 | 29 | 07:49:19
报警测试 | 29 | 11:30:00
最小通风 | 30 | 03:30:16
报警测试 | 30 | 11:30:00
备用设置提醒 | 30 | 21:53:08
隧道通风 | 31 | 08:48:14
最小通风 | 31 | 09:46:16
隧道通风 | 31 | 10:11:13
报警测试 | 31 | 11:30:00
最小通风 | 31 | 15:00:08
隧道通风 | 32 | 08:53:02
报警测试 | 32 | 11:30:00
最小通风 | 33 | 02:48:21
隧道通风 | 33 | 06:53:07
报警测试 | 33 | 11:30:00
备用设置提醒 | 33 | 20:57:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
备用设置提醒 | 36 | 03:50:12
报警测试 | 36 | 11:30:00
最小通风 | 37 | 00:50:05
隧道通风 | 37 | 07:26:22
报警测试 | 37 | 11:30:00
空鸡舍模式 | 38 | 09:44:28
更改开关 | 38 | 09:49:19
更改开关 | 38 | 09:49:28
更改开关 | 38 | 10:18:09
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
更改开关 | 46 | 09:12:04
报警测试 | 46 | 11:30:00
更改开关 | 46 | 16:12:07
最小通风 | 46 | 16:27:24
更改开关 | 46 | 16:34:24
更改开关 | 46 | 16:38:23
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
电源关闭 | 50 | 09:44:19
电源开启 | 50 | 09:45:09
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
报警测试 | 53 | 11:30:00
更改开关 | 53 | 16:00:05
更改开关 | 53 | 16:00:23
新的鸡群 | -1 | 16:08:20
报警测试 | 0 | 11:30:00
更改开关 | 0 | 12:08:08
更改开关 | 0 | 12:08:15
更改开关 | 0 | 12:08:17
更改开关 | 0 | 12:08:20
更改开关 | 0 | 19:11:25
更改开关 | 0 | 19:29:19
更改开关 | 0 | 19:30:08
普通鸡舍模式 | 0 | 19:31:04
备用设置提醒 | 0 | 19:31:05
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
备用设置提醒 | 4 | 13:59:09
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
备用设置提醒 | 6 | 17:25:01
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
更改开关 | 8 | 11:46:06
更改开关 | 8 | 11:46:13
更改开关 | 8 | 18:18:21
更改开关 | 8 | 18:19:01
更改开关 | 8 | 18:19:10
更改开关 | 8 | 18:19:12
报警测试 | 9 | 11:30:00
更改开关 | 9 | 11:45:00
备用设置提醒 | 9 | 16:54:29
更改开关 | 9 | 18:32:05
更改开关 | 9 | 18:32:15
报警测试 | 10 | 11:30:00
更改开关 | 10 | 12:23:13
更改开关 | 10 | 17:58:27
更改开关 | 10 | 17:59:00
更改开关 | 10 | 17:59:13
更改开关 | 10 | 17:59:24
更改开关 | 11 | 08:58:04
更改开关 | 11 | 08:58:06
更改开关 | 11 | 08:58:10
更改开关 | 11 | 08:58:24
更改开关 | 11 | 08:58:27
更改开关 | 11 | 09:00:27
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
更改开关 | 14 | 11:30:01
备用设置提醒 | 14 | 12:46:02
更改开关 | 14 | 19:42:26
更改开关 | 14 | 19:43:10
报警测试 | 15 | 11:30:00
更改开关 | 15 | 11:34:02
报警测试 | 16 | 11:30:00
更改开关 | 16 | 19:23:28
报警测试 | 17 | 11:30:00
更改开关 | 18 | 10:09:02
备用设置提醒 | 18 | 10:52:19
报警测试 | 18 | 11:30:00
更改开关 | 18 | 19:02:03
更改开关 | 19 | 09:21:15
重置报警 | 19 | 09:21:19
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
更改开关 | 21 | 12:49:08
报警测试 | 22 | 11:30:00
备用设置提醒 | 22 | 16:56:02
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
备用设置提醒 | 26 | 12:43:06
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
备用设置提醒 | 31 | 10:39:21
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
备用设置提醒 | 34 | 21:59:01
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
备用设置提醒 | 37 | 06:43:06
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
更改开关 | 38 | 12:51:25
空鸡舍模式 | 38 | 12:52:10
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
电源关闭 | 52 | 15:21:28
电源开启 | 52 | 15:21:29
电源关闭 | 52 | 15:28:08
电源开启 | 52 | 15:28:09
报警测试 | 53 | 11:30:00
报警测试 | 54 | 11:30:00
电源关闭 | 54 | 22:11:02
电源开启 | 54 | 22:11:02
电源关闭 | 54 | 22:22:15
电源开启 | 54 | 22:33:19
报警测试 | 55 | 11:30:00
更改开关 | 55 | 15:20:27
更改开关 | 55 | 15:21:20
更改开关 | 55 | 15:21:26
更改开关 | 55 | 15:21:29
新的鸡群 | -1 | 15:31:12
更改开关 | -1 | 16:08:29
更改开关 | -1 | 16:09:05
更改开关 | -1 | 16:09:13
更改开关 | -1 | 16:09:20

## Temperature
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 24.9 | 32.8 | 34.0
0 | 32.0 | 33.2 | 33.3

## Water
GrowthDay | TotalDrinkDaily | TotalDrinkChange | Water_1Daily | Water_1Change | Water_2Daily | Water_2Change | Water_3Daily | Water_3Change | Water_4Daily | Water_4Change | TotalWater | Coolpad | Fogger | Flushing
-1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0
0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0