## CO2
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 不详 | 不详 | 不详
0 | 不详 | 不详 | 不详

## Feed
GrowthDay | FeederTotal | ChangeTotal | Feeder_1 | ChangeFeeder_1 | Feeder_2 | ChangeFeeder_2 | Feeder_3 | ChangeFeeder_3 | Feeder_4 | ChangeFeeder_4
-1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详

## Heaters
GrowthDay | Heater_1 | Heater_2 | Heater_3 | Heater_4 | Heater_5 | Heater_6 | Heater_7 | Heater_8 | Heater_9 | Heater_10 | Heater_11 | Heater_12 | Heater_13 | Heater_14 | Heater_15 | Heater_16
-1 | 00:00 | 02:38 | 00:39 | 00:00 | 01:39 | 01:41 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:17 | 00:04 | 00:00 | 00:09 | 00:12 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## History View
GROWTH_DAY | HISTORY_TIME | TARGET_TEMP | HOUSE_TEMP_MIN | HOUSE_TEMP_AVG | HOUSE_TEMP_MAX | TEMP_1_AVG | TEMP_2_AVG | TEMP_3_AVG | TEMP_4_AVG | TEMP_5_AVG | OUTSIDE_AVG | HUMIDITY_IN_1_AVG | HUMIDITY_OUT_AVG | WATER_CON | FEED_CON | LEVEL
-1 | 16:00 | 33.0 | 25.0 | 25.0 | 25.1 | 24.5 | 24.4 | 25.1 | 25.0 | 25.3 | 23.1 | 87 | --- | 0 | 0 | 1
-1 | 17:00 | 33.0 | 24.8 | 33.7 | 34.5 | 32.5 | 33.2 | 34.2 | 33.7 | 33.5 | 20.5 | 73 | --- | 0 | 0 | 1
-1 | 18:00 | 33.0 | 31.9 | 32.7 | 33.7 | 31.8 | 32.3 | 32.9 | 32.8 | 32.8 | 19.1 | 75.9 | --- | 0 | 0 | 1
-1 | 19:00 | 33.0 | 32.0 | 32.0 | 33.7 | 31.7 | 31.7 | 32.2 | 32.0 | 32.0 | 18.5 | 77.9 | --- | 0 | 0 | 1
-1 | 20:00 | 33.0 | 31.9 | 33.2 | 33.7 | 32.6 | 33.1 | 33.7 | 32.7 | 33.3 | 18.0 | 77.9 | --- | 0 | 0 | 1
-1 | 21:00 | 33.0 | 32.1 | 33.3 | 33.8 | 32.7 | 33.2 | 33.8 | 33.4 | 33.1 | 17.5 | 75 | --- | 0 | 0 | 1
-1 | 22:00 | 33.0 | 32.0 | 32.9 | 33.8 | 32.1 | 32.5 | 33.2 | 33.0 | 32.9 | 15.9 | 75 | --- | 0 | 0 | 1
-1 | 23:00 | 33.0 | 32.0 | 32.4 | 33.7 | 31.5 | 31.9 | 32.6 | 32.6 | 32.5 | 16.2 | 75 | --- | 0 | 0 | 1
-1 | 00:00 | 33.0 | 32.0 | 32.4 | 33.8 | 31.5 | 32.0 | 32.6 | 32.5 | 32.5 | 16.6 | 74.9 | --- | 0 | 0 | 1

## Humidity
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 71 | 75 | 88
0 | 74 | 75 | 77

## Mortality
GrowthDay | TotalMortality | TotalCulled | TotalTotal | TotalPercent | TotalUpdate | MaleMortality | MaleCulled | MaleTotal | MalePercent | MaleUpdate | FemaleMortality | FemaleCulled | FemaleTotal | FemalePercent | FemaleUpdate
-1 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
0 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000

## Power Consumption
GrowthDay | Heaters | Fans | Lights | Others | ToalPerDay | ChangeRate
-1 | 0 | 0 | 0 | 0 | 0 | 不详
0 | 0 | 0 | 0 | 0 | 0 | 不详

## Radiant Heaters
GrowthDay | Low_1 | High_1 | Low_2 | High_2 | Low_3 | High_3 | Low_4 | High_4 | Low_5 | High_5 | Low_6 | High_6 | Low_7 | High_7 | Low_8 | High_8 | Low_9 | High_9 | Low_10 | High_10 | Low_11 | High_11 | Low_12 | High_12 | Low_13 | High_13 | Low_14 | High_14 | Low_15 | High_15 | Low_16 | High_16
-1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## Scale History
GrowthDay | Common_Weight | Common_NumOfWeights | Common_StandardDev | Common_Uniformity | Common_CV | Common_DailyGain | Scale1Female1_Weight | Scale1Female1_NumOfWeights | Scale1Female1_StandardDev | Scale1Female1_Uniformity | Scale1Female1_CV | Scale1Female1_DailyGain | Scale2Male1_Weight | Scale2Male1_NumOfWeights | Scale2Male1_StandardDev | Scale2Male1_Uniformity | Scale2Male1_CV | Scale2Male1_DailyGain
-1 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
0 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000

## Table Of Events
Message | GrowthDay | Time
报警测试 | 25 | 11:30:00
更改开关 | 25 | 13:12:22
更改开关 | 25 | 13:12:25
更改开关 | 25 | 14:11:19
更改开关 | 25 | 16:32:08
更改开关 | 26 | 10:37:05
报警测试 | 26 | 11:30:00
备用设置提醒 | 26 | 13:22:27
更改开关 | 26 | 16:35:02
更改开关 | 27 | 10:25:20
报警测试 | 27 | 11:30:00
更改开关 | 27 | 17:21:29
更改开关 | 27 | 17:22:03
更改开关 | 28 | 09:29:11
报警测试 | 28 | 11:30:00
更改开关 | 29 | 08:33:26
更改开关 | 29 | 08:34:09
更改开关 | 29 | 09:27:27
报警测试 | 29 | 11:30:00
更改开关 | 29 | 15:17:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
备用设置提醒 | 32 | 23:16:24
更改开关 | 33 | 10:56:08
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
更改开关 | 37 | 06:02:28
更改开关 | 37 | 06:03:02
备用设置提醒 | 37 | 08:26:26
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
更改开关 | 38 | 13:01:24
空鸡舍模式 | 38 | 13:02:14
更改开关 | 38 | 13:06:22
更改开关 | 38 | 13:07:06
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
电源关闭 | 45 | 17:16:23
电源开启 | 45 | 17:25:29
电源关闭 | 45 | 17:30:25
电源开启 | 45 | 17:31:20
电源关闭 | 45 | 18:23:21
电源开启 | 45 | 18:24:18
电源关闭 | 45 | 18:55:07
电源开启 | 45 | 07:15:12
电源关闭 | 46 | 07:46:19
电源开启 | 46 | 10:36:07
电源关闭 | 46 | 11:22:05
电源开启 | 46 | 12:44:00
电源关闭 | 46 | 12:52:24
电源开启 | 46 | 12:55:01
电源关闭 | 46 | 12:55:26
电源开启 | 46 | 12:56:03
电源关闭 | 46 | 13:07:26
电源开启 | 46 | 13:08:05
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
更改开关 | 53 | 09:53:14
报警测试 | 53 | 11:30:00
更改的日龄 | -2 | 14:39:13
更改开关 | -2 | 14:46:22
更改开关 | -2 | 14:47:04
更改开关 | -2 | 14:47:22
更改开关 | -2 | 14:47:24
更改开关 | -2 | 14:48:07
电源关闭 | -1 | 10:22:06
电源开启 | -1 | 10:22:12
报警测试 | -1 | 11:30:00
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 16:04:11
备用设置提醒 | 0 | 16:04:12
重置报警 | 0 | 16:04:29
更改开关 | 0 | 16:06:05
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
备用设置提醒 | 2 | 12:37:01
新的鸡群 | 1 | 17:31:03
更改的日龄 | 2 | 17:31:08
更改开关 | 3 | 04:14:11
更改开关 | 3 | 04:14:23
报警测试 | 3 | 11:30:00
备用设置提醒 | 4 | 08:54:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
重置报警 | 5 | 20:30:05
重置报警 | 5 | 20:45:07
重置报警 | 5 | 21:15:10
重置报警 | 5 | 21:31:29
重置报警 | 6 | 00:10:05
报警测试 | 6 | 11:30:00
备用设置提醒 | 7 | 00:50:12
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
重置报警 | 19 | 18:14:14
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
备用设置提醒 | 29 | 01:12:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
备用设置提醒 | 37 | 07:06:07
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
更改开关 | 38 | 15:31:09
空鸡舍模式 | 38 | 15:31:23
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
电源关闭 | 41 | 10:54:24
电源开启 | 41 | 08:02:28
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
电源关闭 | 45 | 10:11:02
电源开启 | 45 | 10:11:08
报警测试 | 45 | 11:30:00
电源关闭 | 45 | 13:50:21
电源开启 | 45 | 13:50:28
更改的日龄 | -2 | 07:04:01
更改开关 | -2 | 07:09:03
报警测试 | -2 | 11:30:00
更改开关 | -1 | 06:34:04
报警测试 | -1 | 11:30:00
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 1 | 08:00:00
备用设置提醒 | 1 | 08:00:00
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
新的鸡群 | -2 | 17:35:18
备用设置提醒 | -2 | 17:35:18
更改开关 | -2 | 17:41:03
报警测试 | -1 | 11:30:00
重置报警 | -1 | 15:16:01
空鸡舍模式 | 0 | 10:43:18
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 16:28:12
备用设置提醒 | 0 | 16:28:26
重置报警 | 0 | 19:19:17
重置报警 | 0 | 19:30:10
重置报警 | 0 | 23:54:02
重置报警 | 1 | 00:24:06
重置报警 | 1 | 00:55:00
重置报警 | 1 | 01:05:13
重置报警 | 1 | 01:48:15
更改开关 | 1 | 03:03:10
重置报警 | 1 | 03:22:06
报警测试 | 1 | 11:30:00
重置报警 | 1 | 19:48:23
重置报警 | 1 | 23:16:23
重置报警 | 1 | 23:32:24
重置报警 | 1 | 23:48:25
重置报警 | 2 | 00:28:23
重置报警 | 2 | 00:45:16
重置报警 | 2 | 01:01:03
重置报警 | 2 | 01:17:25
重置报警 | 2 | 01:33:01
重置报警 | 2 | 07:33:14
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
备用设置提醒 | 3 | 17:25:01
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 5 | 21:40:03
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
备用设置提醒 | 9 | 04:55:06
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
更改开关 | 12 | 12:15:10
更改开关 | 12 | 12:15:16
更改开关 | 12 | 12:16:01
重置报警 | 12 | 12:33:22
重置报警 | 12 | 12:41:12
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
备用设置提醒 | 14 | 21:50:12
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
备用设置提醒 | 18 | 20:45:18
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
备用设置提醒 | 23 | 12:28:24
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
备用设置提醒 | 29 | 02:52:24
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
更改开关 | 31 | 12:20:00
更改开关 | 31 | 17:44:14
更改开关 | 31 | 17:44:17
更改开关 | 31 | 17:44:21
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
备用设置提醒 | 33 | 23:38:12
报警测试 | 34 | 11:30:00
更改开关 | 34 | 13:31:24
报警测试 | 35 | 11:30:00
备用设置提醒 | 36 | 05:07:06
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
更改开关 | 37 | 14:01:16
更改开关 | 37 | 14:01:21
更改开关 | 37 | 14:04:28
更改开关 | 37 | 19:23:09
重置报警 | 37 | 19:35:06
报警测试 | 38 | 11:30:00
更改开关 | 38 | 18:03:13
更改开关 | 38 | 18:03:19
空鸡舍模式 | 38 | 18:03:24
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
电源关闭 | 42 | 06:34:16
电源开启 | 42 | 13:19:29
电源关闭 | 42 | 13:20:29
电源开启 | 42 | 14:47:03
报警测试 | 44 | 11:30:00
电源关闭 | 45 | 11:02:28
电源开启 | 45 | 11:03:03
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
更改的日龄 | -2 | 07:54:09
更改开关 | -2 | 08:07:01
电源关闭 | -2 | 08:11:02
电源开启 | -2 | 08:11:06
报警测试 | -2 | 11:30:00
更改的日龄 | 45 | 17:57:15
普通鸡舍模式 | 45 | 17:57:15
备用设置提醒 | 45 | 17:57:15
更改的日龄 | -2 | 17:58:00
重置报警 | -2 | 17:58:14
报警测试 | -1 | 11:30:00
更改开关 | -1 | 17:38:20
更改开关 | -1 | 17:38:26
更改开关 | -1 | 17:39:01
更改开关 | -1 | 17:39:06
更改开关 | -1 | 17:39:08
更改开关 | -1 | 17:39:17
更改开关 | -1 | 17:39:20
备用设置提醒 | -1 | 18:02:01
重置报警 | -1 | 18:03:07
重置报警 | 0 | 07:51:17
重置报警 | 0 | 08:56:00
报警测试 | 0 | 11:30:00
空鸡舍模式 | 0 | 15:17:17
重置报警 | 0 | 15:17:17
普通鸡舍模式 | 1 | 08:00:00
备用设置提醒 | 1 | 08:00:00
重置报警 | 1 | 08:00:24
报警测试 | 1 | 11:30:00
空鸡舍模式 | 2 | 09:52:08
重置报警 | 2 | 09:52:08
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
电源关闭 | 4 | 07:36:21
电源开启 | 4 | 07:36:27
报警测试 | 4 | 11:30:00
更改开关 | 5 | 07:29:29
更改开关 | 5 | 07:30:06
更改开关 | 5 | 07:30:15
更改开关 | 5 | 07:30:18
更改开关 | 5 | 07:30:21
更改开关 | 5 | 07:30:29
更改开关 | 5 | 07:31:17
更改的日龄 | -1 | 08:23:16
报警测试 | -1 | 11:30:00
更改开关 | -1 | 16:40:24
更改开关 | -1 | 16:41:08
新的鸡群 | -1 | 17:52:07
更改开关 | -1 | 18:00:03
更改开关 | -1 | 18:01:13
更改开关 | -1 | 18:01:15
更改开关 | -1 | 18:01:21
更改开关 | 0 | 08:37:21
更改开关 | 0 | 08:37:23
更改开关 | 0 | 08:38:01
更改开关 | 0 | 08:38:18
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 23:10:11
备用设置提醒 | 0 | 23:10:11
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
备用设置提醒 | 3 | 05:04:13
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 5 | 16:43:26
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
备用设置提醒 | 8 | 12:07:06
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
备用设置提醒 | 12 | 04:19:06
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
更改开关 | 15 | 13:57:23
备用设置提醒 | 15 | 18:57:12
更改开关 | 15 | 19:33:09
更改开关 | 15 | 19:34:08
更改开关 | 15 | 19:34:11
更改开关 | 15 | 19:34:13
更改开关 | 15 | 19:34:15
更改开关 | 15 | 19:35:01
更改开关 | 15 | 19:37:16
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
更改开关 | 17 | 11:49:11
更改开关 | 17 | 17:30:29
更改开关 | 17 | 17:36:19
更改开关 | 17 | 17:36:23
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
更改开关 | 19 | 11:51:23
更改开关 | 19 | 17:08:29
报警测试 | 20 | 11:30:00
更改开关 | 20 | 12:15:07
备用设置提醒 | 20 | 13:14:26
更改开关 | 20 | 17:13:21
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
更改开关 | 24 | 08:49:01
更改开关 | 24 | 10:24:21
报警测试 | 24 | 11:30:00
备用设置提醒 | 24 | 12:36:04
更改开关 | 24 | 15:35:03
更改开关 | 24 | 15:35:22
更改开关 | 24 | 15:35:27
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
电源关闭 | 28 | 09:35:26
电源开启 | 28 | 09:35:27
报警测试 | 28 | 11:30:00
电源关闭 | 29 | 06:25:13
电源开启 | 29 | 06:25:19
备用设置提醒 | 29 | 09:50:07
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
备用设置提醒 | 33 | 12:34:29
报警测试 | 34 | 11:30:00
隧道通风 | 34 | 14:28:17
最小通风 | 34 | 18:06:13
隧道通风 | 35 | 09:00:24
报警测试 | 35 | 11:30:00
最小通风 | 36 | 03:37:16
隧道通风 | 36 | 06:45:07
备用设置提醒 | 36 | 09:38:19
更改开关 | 36 | 11:25:06
报警测试 | 36 | 11:30:00
空鸡舍模式 | 36 | 11:30:16
更改开关 | 36 | 11:33:28
更改开关 | 36 | 16:11:28
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
电源关闭 | 40 | 12:49:08
电源开启 | 40 | 17:48:19
报警测试 | 42 | 11:30:00
电源关闭 | 43 | 03:40:20
电源开启 | 43 | 05:58:11
电源关闭 | 43 | 08:01:15
电源开启 | 43 | 09:54:28
电源关闭 | 43 | 10:28:07
电源开启 | 43 | 10:28:08
电源关闭 | 43 | 10:29:01
电源开启 | 43 | 10:29:02
电源关闭 | 43 | 10:29:02
电源开启 | 43 | 10:29:03
电源关闭 | 43 | 10:29:08
电源开启 | 43 | 10:29:08
报警测试 | 43 | 11:30:00
电源关闭 | 43 | 11:43:06
电源开启 | 43 | 17:31:17
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
电源关闭 | 45 | 12:36:27
电源开启 | 45 | 12:37:05
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
新的鸡群 | -1 | 08:12:19
最小通风 | -1 | 08:36:04
报警测试 | -1 | 11:30:00
更改开关 | -1 | 21:26:26
更改开关 | -1 | 21:26:27
更改开关 | -1 | 21:27:12
更改开关 | -1 | 21:44:26
更改开关 | 0 | 06:13:22
更改开关 | 0 | 06:13:25
更改开关 | 0 | 06:14:10
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 15:51:19
备用设置提醒 | 0 | 15:51:19
报警测试 | 1 | 11:30:00
备用设置提醒 | 2 | 08:30:05
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
备用设置提醒 | 4 | 07:49:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
更改开关 | 5 | 11:48:22
更改开关 | 5 | 22:43:29
更改开关 | 5 | 22:44:13
更改开关 | 6 | 02:13:09
更改开关 | 6 | 02:13:28
更改开关 | 6 | 02:14:12
更改开关 | 6 | 02:19:06
更改开关 | 6 | 02:19:19
更改开关 | 6 | 02:20:06
更改开关 | 6 | 10:48:12
报警测试 | 6 | 11:30:00
更改开关 | 6 | 17:17:28
更改开关 | 6 | 17:18:07
更改开关 | 6 | 17:18:11
报警测试 | 7 | 11:30:00
备用设置提醒 | 7 | 19:19:06
更改开关 | 8 | 09:59:06
报警测试 | 8 | 11:30:00
更改开关 | 8 | 13:08:12
更改开关 | 8 | 19:09:25
更改开关 | 8 | 19:10:09
更改开关 | 8 | 19:10:12
更改开关 | 9 | 09:40:12
报警测试 | 9 | 11:30:00
更改开关 | 9 | 18:46:05
更改开关 | 9 | 18:46:14
更改开关 | 9 | 18:46:17
更改开关 | 10 | 08:30:10
报警测试 | 10 | 11:30:00
更改开关 | 10 | 19:21:22
报警测试 | 11 | 11:30:00
更改开关 | 11 | 11:56:28
更改开关 | 11 | 19:00:26
电源关闭 | 12 | 00:02:21
电源开启 | 12 | 00:02:28
电源关闭 | 12 | 01:53:07
电源开启 | 12 | 01:53:15
电源关闭 | 12 | 02:02:28
电源开启 | 12 | 02:03:02
电源关闭 | 12 | 02:13:26
电源开启 | 12 | 02:14:05
电源关闭 | 12 | 02:20:08
电源开启 | 12 | 02:20:16
电源关闭 | 12 | 06:08:26
电源开启 | 12 | 06:09:12
电源关闭 | 12 | 06:10:02
电源开启 | 12 | 06:10:10
电源关闭 | 12 | 06:11:18
电源开启 | 12 | 06:11:23
电源关闭 | 12 | 06:12:12
电源开启 | 12 | 06:13:11
电源关闭 | 12 | 06:13:18
电源开启 | 12 | 06:14:27
电源关闭 | 12 | 06:15:27
电源开启 | 12 | 06:16:01
电源关闭 | 12 | 06:16:16
电源开启 | 12 | 06:16:19
电源关闭 | 12 | 06:16:23
电源开启 | 12 | 06:16:26
电源关闭 | 12 | 06:16:29
电源开启 | 12 | 06:17:13
电源关闭 | 12 | 06:18:08
电源开启 | 12 | 06:19:06
电源关闭 | 12 | 06:26:15
电源开启 | 12 | 06:27:13
电源关闭 | 12 | 06:27:13
电源开启 | 12 | 06:27:20
电源关闭 | 12 | 06:27:28
电源开启 | 12 | 06:30:04
电源关闭 | 12 | 06:30:15
电源开启 | 12 | 06:31:19
电源关闭 | 12 | 06:51:03
电源开启 | 12 | 06:51:26
电源关闭 | 12 | 06:59:06
电源开启 | 12 | 07:00:07
更改开关 | 12 | 08:34:27
报警测试 | 12 | 11:30:00
备用设置提醒 | 12 | 12:15:14
更改开关 | 12 | 21:42:08
更改开关 | 12 | 22:02:20
更改开关 | 12 | 22:02:25
更改开关 | 13 | 09:29:02
报警测试 | 13 | 11:30:00
电源关闭 | 13 | 14:59:25
电源开启 | 13 | 15:00:03
更改开关 | 13 | 19:27:15
更改开关 | 13 | 19:28:06
更改开关 | 14 | 08:17:27
报警测试 | 14 | 11:30:00
更改开关 | 14 | 21:28:17
更改开关 | 15 | 06:49:24
更改开关 | 15 | 06:50:20
更改开关 | 15 | 06:51:06
更改开关 | 15 | 06:51:18
更改开关 | 15 | 06:52:05
更改开关 | 15 | 06:52:22
更改开关 | 15 | 08:53:01
报警测试 | 15 | 11:30:00
更改开关 | 15 | 22:03:08
更改开关 | 16 | 07:52:13
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
备用设置提醒 | 17 | 13:09:08
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
隧道通风 | 19 | 12:30:10
最小通风 | 19 | 16:53:18
更改开关 | 19 | 17:08:15
更改开关 | 19 | 17:08:29
报警测试 | 20 | 11:30:00
隧道通风 | 20 | 12:14:08
最小通风 | 20 | 12:45:12
隧道通风 | 20 | 14:37:06
最小通风 | 20 | 16:25:09
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
隧道通风 | 22 | 11:46:26
最小通风 | 22 | 12:16:26
隧道通风 | 22 | 13:04:02
最小通风 | 22 | 16:15:04
备用设置提醒 | 23 | 09:07:06
隧道通风 | 23 | 10:49:15
报警测试 | 23 | 11:30:00
最小通风 | 23 | 17:53:11
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
隧道通风 | 25 | 12:22:12
最小通风 | 25 | 12:58:09
隧道通风 | 25 | 14:34:12
最小通风 | 25 | 20:17:17
隧道通风 | 26 | 08:08:02
报警测试 | 26 | 11:30:00
最小通风 | 26 | 23:46:16
更改开关 | 27 | 03:21:26
更改开关 | 27 | 03:22:04
隧道通风 | 27 | 07:40:07
报警测试 | 27 | 11:30:00
最小通风 | 28 | 02:23:04
隧道通风 | 28 | 04:03:27
最小通风 | 28 | 04:21:18
备用设置提醒 | 28 | 08:03:25
报警测试 | 28 | 11:30:00
隧道通风 | 28 | 13:15:10
最小通风 | 28 | 13:24:19
隧道通风 | 28 | 13:30:00
最小通风 | 28 | 15:23:20
隧道通风 | 28 | 15:24:09
最小通风 | 29 | 01:30:22
更改开关 | 29 | 03:49:02
隧道通风 | 29 | 04:04:05
重置报警 | 29 | 04:20:03
最小通风 | 29 | 04:54:12
隧道通风 | 29 | 06:15:03
报警测试 | 29 | 11:30:00
重置报警 | 30 | 09:56:01
重置报警 | 30 | 10:12:23
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
备用设置提醒 | 31 | 12:00:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
备用设置提醒 | 34 | 08:32:19
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
最小通风 | 37 | 12:26:26
重置报警 | 37 | 12:42:23
更改开关 | 37 | 13:42:05
更改开关 | 37 | 13:42:20
隧道通风 | 37 | 13:51:09
备用设置提醒 | 37 | 16:19:06
空鸡舍模式 | 38 | 07:53:21
更改开关 | 38 | 07:54:01
更改开关 | 38 | 07:54:06
更改开关 | 38 | 07:54:19
更改开关 | 38 | 10:10:02
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 15:03:25
电源开启 | 42 | 07:46:29
电源关闭 | 43 | 08:42:06
电源开启 | 43 | 10:59:21
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
电源关闭 | 48 | 16:56:11
电源开启 | 48 | 18:14:25
电源关闭 | 49 | 05:49:24
电源开启 | 49 | 05:50:01
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
新的鸡群 | -2 | 16:33:29
更改的日龄 | 52 | 16:34:28
普通鸡舍模式 | 52 | 16:34:28
新的鸡群 | -2 | 16:34:28
备用设置提醒 | -2 | 16:34:28
最小通风 | -2 | 16:38:01
报警测试 | -1 | 11:30:00
更改开关 | -1 | 14:45:03
更改开关 | -1 | 14:45:05
更改开关 | -1 | 14:45:18
更改开关 | -1 | 14:45:22
更改开关 | -1 | 14:47:08
更改开关 | -1 | 14:47:21
空鸡舍模式 | -1 | 14:47:27
重置报警 | -1 | 14:47:27
新的鸡群 | -1 | 16:12:19
更改开关 | -1 | 18:40:13
更改开关 | -1 | 18:46:19
更改开关 | -1 | 18:47:12
更改开关 | -1 | 18:47:26
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 17:22:24
备用设置提醒 | 0 | 17:22:25
新的鸡群 | 0 | 17:30:10
更改开关 | 1 | 01:20:03
报警测试 | 1 | 11:30:00
更改开关 | 1 | 11:38:22
更改开关 | 1 | 19:26:23
更改开关 | 1 | 19:27:03
更改开关 | 1 | 19:27:11
更改开关 | 2 | 10:19:13
报警测试 | 2 | 11:30:00
更改开关 | 2 | 19:26:19
更改开关 | 3 | 09:17:22
报警测试 | 3 | 11:30:00
更改开关 | 3 | 19:40:26
更改开关 | 3 | 19:41:15
更改开关 | 3 | 19:41:23
更改开关 | 4 | 09:25:25
报警测试 | 4 | 11:30:00
备用设置提醒 | 4 | 18:06:05
更改开关 | 4 | 19:49:05
更改开关 | 4 | 19:49:13
更改开关 | 4 | 19:49:23
更改开关 | 4 | 19:49:24
更改开关 | 5 | 08:30:18
重置报警 | 5 | 08:30:21
报警测试 | 5 | 11:30:00
更改开关 | 5 | 13:45:21
更改开关 | 5 | 13:46:04
更改开关 | 5 | 13:46:08
更改开关 | 5 | 13:46:16
更改开关 | 6 | 07:52:28
隧道通风 | 6 | 11:10:14
最小通风 | 6 | 11:21:07
报警测试 | 6 | 11:30:00
隧道通风 | 6 | 11:42:06
最小通风 | 6 | 12:00:14
隧道通风 | 6 | 12:06:13
最小通风 | 6 | 12:21:15
隧道通风 | 6 | 12:32:07
最小通风 | 6 | 15:23:17
更改开关 | 6 | 21:33:28
备用设置提醒 | 7 | 02:31:06
更改开关 | 7 | 06:57:28
重置报警 | 7 | 07:00:12
隧道通风 | 7 | 09:39:09
报警测试 | 7 | 11:30:00
最小通风 | 7 | 18:30:04
更改开关 | 8 | 00:27:08
更改开关 | 8 | 00:27:17
更改开关 | 8 | 00:27:19
更改开关 | 8 | 00:27:23
更改开关 | 8 | 00:27:26
更改开关 | 8 | 00:28:08
更改开关 | 8 | 00:28:20
更改开关 | 8 | 00:28:26
更改开关 | 8 | 00:28:28
更改开关 | 8 | 00:29:11
更改开关 | 8 | 00:29:12
更改开关 | 8 | 06:20:07
隧道通风 | 8 | 09:34:07
报警测试 | 8 | 11:30:00
最小通风 | 8 | 18:34:08
更改开关 | 9 | 00:01:12
更改开关 | 9 | 00:02:05
更改开关 | 9 | 00:02:13
更改开关 | 9 | 07:01:14
重置报警 | 9 | 07:10:11
隧道通风 | 9 | 11:14:29
报警测试 | 9 | 11:30:00
最小通风 | 9 | 16:14:12
更改开关 | 10 | 06:51:06
更改开关 | 10 | 06:52:11
隧道通风 | 10 | 10:00:02
报警测试 | 10 | 11:30:00
最小通风 | 10 | 16:22:24
备用设置提醒 | 10 | 18:43:06
隧道通风 | 11 | 09:35:21
最小通风 | 11 | 11:06:15
报警测试 | 11 | 11:30:00
隧道通风 | 11 | 11:52:23
最小通风 | 11 | 16:28:27
隧道通风 | 12 | 08:58:17
报警测试 | 12 | 11:30:00
最小通风 | 12 | 19:08:28
隧道通风 | 13 | 07:42:23
报警测试 | 13 | 11:30:00
最小通风 | 13 | 20:35:25
隧道通风 | 14 | 08:14:27
报警测试 | 14 | 11:30:00
最小通风 | 14 | 20:00:28
隧道通风 | 15 | 07:41:07
报警测试 | 15 | 11:30:00
备用设置提醒 | 15 | 12:57:18
最小通风 | 15 | 19:55:04
重置报警 | 15 | 21:00:17
隧道通风 | 16 | 08:10:04
报警测试 | 16 | 11:30:00
最小通风 | 16 | 17:06:03
隧道通风 | 17 | 08:34:07
报警测试 | 17 | 11:30:00
最小通风 | 17 | 18:48:08
隧道通风 | 18 | 07:29:29
报警测试 | 18 | 11:30:00
最小通风 | 18 | 19:32:28
隧道通风 | 19 | 08:03:12
报警测试 | 19 | 11:30:00
最小通风 | 19 | 20:50:11
备用设置提醒 | 20 | 00:28:24
隧道通风 | 20 | 07:43:09
报警测试 | 20 | 11:30:00
最小通风 | 20 | 21:56:27
更改开关 | 20 | 23:12:07
更改开关 | 20 | 23:12:17
隧道通风 | 21 | 07:34:17
报警测试 | 21 | 11:30:00
最小通风 | 21 | 23:15:04
隧道通风 | 22 | 08:08:23
报警测试 | 22 | 11:30:00
最小通风 | 22 | 17:15:13
隧道通风 | 23 | 09:23:04
最小通风 | 23 | 09:33:13
隧道通风 | 23 | 09:49:02
报警测试 | 23 | 11:30:00
最小通风 | 23 | 21:39:29
隧道通风 | 24 | 07:33:19
报警测试 | 24 | 11:30:00
最小通风 | 24 | 20:39:09
备用设置提醒 | 25 | 01:26:12
隧道通风 | 25 | 07:08:14
报警测试 | 25 | 11:30:00
最小通风 | 25 | 23:44:24
隧道通风 | 26 | 07:08:23
报警测试 | 26 | 11:30:00
最小通风 | 26 | 13:50:17
更改开关 | 26 | 15:22:17
更改开关 | 26 | 15:23:04
隧道通风 | 26 | 15:58:27
最小通风 | 26 | 20:46:26
更改开关 | 26 | 23:12:01
更改开关 | 26 | 23:12:08
隧道通风 | 27 | 07:38:21
报警测试 | 27 | 11:30:00
最小通风 | 28 | 00:39:17
隧道通风 | 28 | 07:04:04
报警测试 | 28 | 11:30:00
最小通风 | 29 | 01:52:15
隧道通风 | 29 | 04:02:27
最小通风 | 29 | 05:01:24
隧道通风 | 29 | 06:56:01
报警测试 | 29 | 11:30:00
最小通风 | 30 | 05:06:28
隧道通风 | 30 | 11:06:14
最小通风 | 30 | 11:22:21
报警测试 | 30 | 11:30:00
隧道通风 | 31 | 07:56:17
报警测试 | 31 | 11:30:00
备用设置提醒 | 31 | 16:01:27
最小通风 | 32 | 02:23:29
隧道通风 | 32 | 04:03:06
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
备用设置提醒 | 35 | 00:28:24
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
备用设置提醒 | 37 | 19:12:00
空鸡舍模式 | 38 | 02:58:14
更改开关 | 38 | 02:59:00
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 13:42:10
电源开启 | 42 | 08:13:09
报警测试 | 43 | 11:30:00
电源关闭 | 43 | 12:03:28
电源开启 | 43 | 14:59:05
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
最小通风 | 46 | 16:41:08
更改开关 | 47 | 10:56:08
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
电源关闭 | 50 | 09:44:05
电源开启 | 50 | 09:44:23
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
报警测试 | 53 | 11:30:00
更改开关 | 53 | 16:02:15
更改开关 | 53 | 16:02:16
新的鸡群 | -1 | 16:08:24
报警测试 | 0 | 11:30:00
更改开关 | 0 | 12:10:01
更改开关 | 0 | 12:10:06
更改开关 | 0 | 15:02:14
更改开关 | 0 | 19:14:02
更改开关 | 0 | 19:39:12
更改开关 | 0 | 19:39:26
更改开关 | 0 | 19:40:02
更改开关 | 0 | 19:57:13
普通鸡舍模式 | 0 | 19:58:06
备用设置提醒 | 0 | 19:58:06
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
备用设置提醒 | 4 | 13:59:09
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
备用设置提醒 | 7 | 07:33:18
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
更改开关 | 8 | 11:47:07
更改开关 | 8 | 18:20:05
报警测试 | 9 | 11:30:00
更改开关 | 9 | 11:34:12
更改开关 | 9 | 18:33:20
报警测试 | 10 | 11:30:00
更改开关 | 10 | 12:23:26
更改开关 | 10 | 13:28:21
更改开关 | 10 | 13:37:14
更改开关 | 10 | 18:00:10
更改开关 | 10 | 19:22:23
更改开关 | 10 | 19:22:25
更改开关 | 11 | 09:01:11
更改开关 | 11 | 09:01:18
更改开关 | 11 | 09:01:22
更改开关 | 11 | 09:03:04
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
备用设置提醒 | 12 | 19:26:12
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
更改开关 | 14 | 11:30:12
更改开关 | 14 | 19:45:14
报警测试 | 15 | 11:30:00
更改开关 | 15 | 11:34:11
备用设置提醒 | 16 | 07:06:07
报警测试 | 16 | 11:30:00
更改开关 | 16 | 19:22:04
报警测试 | 17 | 11:30:00
更改开关 | 18 | 10:09:10
报警测试 | 18 | 11:30:00
更改开关 | 18 | 19:03:27
更改开关 | 19 | 09:21:23
报警测试 | 19 | 11:30:00
备用设置提醒 | 20 | 05:51:11
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
更改开关 | 21 | 14:05:26
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
备用设置提醒 | 25 | 10:32:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
备用设置提醒 | 29 | 04:13:13
重置报警 | 29 | 07:56:02
重置报警 | 29 | 07:58:04
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
备用设置提醒 | 32 | 16:06:09
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
备用设置提醒 | 35 | 20:09:18
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
备用设置提醒 | 37 | 18:43:06
空鸡舍模式 | 38 | 10:56:25
更改开关 | 38 | 10:57:13
更改开关 | 38 | 10:59:21
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
电源关闭 | 52 | 15:21:13
电源开启 | 52 | 15:21:14
电源关闭 | 52 | 15:27:23
电源开启 | 52 | 15:27:25
报警测试 | 53 | 11:30:00
报警测试 | 54 | 11:30:00
电源关闭 | 54 | 22:10:17
电源开启 | 54 | 22:10:17
电源关闭 | 54 | 22:21:29
电源开启 | 54 | 22:33:04
报警测试 | 55 | 11:30:00
新的鸡群 | -1 | 15:31:01
更改开关 | -1 | 16:15:17
更改开关 | -1 | 16:15:24
更改开关 | -1 | 16:16:00

## Temperature
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 24.8 | 32.3 | 34.5
0 | 32.0 | 32.2 | 33.8

## Water
GrowthDay | TotalDrinkDaily | TotalDrinkChange | Water_1Daily | Water_1Change | Water_2Daily | Water_2Change | Water_3Daily | Water_3Change | Water_4Daily | Water_4Change | TotalWater | Coolpad | Fogger | Flushing
-1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0
0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0