## CO2
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 不详 | 不详 | 不详
0 | 不详 | 不详 | 不详
1 | 不详 | 不详 | 不详

## Feed
GrowthDay | FeederTotal | ChangeTotal | Feeder_1 | ChangeFeeder_1 | Feeder_2 | ChangeFeeder_2 | Feeder_3 | ChangeFeeder_3 | Feeder_4 | ChangeFeeder_4
-1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
0 | 643 | 不详 | 643 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
1 | 0 | -100 | 0 | -100 | 0 | 不详 | 0 | 不详 | 0 | 不详

## Heaters
GrowthDay | Heater_1 | Heater_2 | Heater_3 | Heater_4 | Heater_5 | Heater_6 | Heater_7 | Heater_8 | Heater_9 | Heater_10 | Heater_11 | Heater_12 | Heater_13 | Heater_14 | Heater_15 | Heater_16
-1 | 00:00 | 02:09 | 02:41 | 00:00 | 01:36 | 01:49 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 07:04 | 04:19 | 00:00 | 06:39 | 05:09 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
1 | 00:00 | 00:14 | 00:08 | 00:00 | 00:02 | 00:12 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## History View
GROWTH_DAY | HISTORY_TIME | TARGET_TEMP | HOUSE_TEMP_MIN | HOUSE_TEMP_AVG | HOUSE_TEMP_MAX | TEMP_1_AVG | TEMP_2_AVG | TEMP_3_AVG | TEMP_4_AVG | TEMP_5_AVG | OUTSIDE_AVG | HUMIDITY_IN_1_AVG | HUMIDITY_OUT_AVG | WATER_CON | FEED_CON | LEVEL
-1 | 16:00 | 33.0 | 25.0 | 25.0 | 25.5 | 24.9 | 25.0 | 24.7 | 25.0 | 25.5 | 23.2 | 79.9 | --- | 0 | 0 | 1
-1 | 17:00 | 33.0 | 24.7 | 32.7 | 33.5 | 32.9 | 32.6 | 32.5 | 32.7 | 33.0 | 20.3 | 63 | --- | 0 | 0 | 1
-1 | 18:00 | 33.0 | 32.0 | 32.6 | 33.1 | 32.9 | 32.8 | 32.4 | 32.6 | 32.5 | 18.5 | 65.9 | --- | 0 | 0 | 1
-1 | 19:00 | 33.0 | 32.0 | 32.8 | 33.2 | 32.8 | 32.8 | 32.6 | 33.0 | 32.8 | 18.2 | 65 | --- | 0 | 0 | 1
-1 | 20:00 | 33.0 | 32.0 | 32.1 | 33.2 | 32.0 | 32.0 | 32.0 | 32.2 | 32.3 | 17.3 | 64.1 | --- | 0 | 0 | 1
-1 | 21:00 | 33.0 | 32.0 | 32.0 | 33.3 | 32.2 | 32.4 | 31.9 | 31.8 | 32.0 | 16.8 | 65.9 | --- | 0 | 0 | 1
-1 | 22:00 | 33.0 | 32.0 | 32.6 | 33.3 | 33.1 | 32.9 | 32.7 | 32.6 | 32.4 | 15.8 | 64.9 | --- | 0 | 0 | 1
-1 | 23:00 | 33.0 | 31.9 | 33.0 | 33.4 | 32.9 | 32.9 | 32.8 | 33.1 | 33.3 | 15.9 | 63.9 | --- | 0 | 0 | 1
-1 | 00:00 | 33.0 | 32.2 | 32.4 | 33.0 | 32.1 | 32.0 | 33.0 | 32.3 | 32.2 | 16.3 | 62.9 | --- | 0 | 0 | 1
0 | 01:00 | 33.0 | 32.1 | 32.5 | 33.4 | 32.2 | 32.0 | 32.6 | 32.7 | 32.6 | 16.9 | 63 | --- | 0 | 0 | 1
0 | 02:00 | 33.0 | 32.1 | 32.8 | 33.2 | 32.5 | 32.4 | 32.7 | 33.0 | 33.2 | 17.3 | 62 | --- | 0 | 0 | 1
0 | 03:00 | 33.0 | 32.1 | 32.9 | 33.0 | 32.8 | 32.9 | 32.8 | 32.8 | 33.1 | 17.3 | 62 | --- | 0 | 0 | 1
0 | 04:00 | 33.0 | 32.1 | 32.9 | 33.0 | 32.8 | 33.0 | 32.9 | 32.8 | 33.0 | 17.2 | 61.8 | --- | 0 | 0 | 1
0 | 05:00 | 33.0 | 32.1 | 32.9 | 33.3 | 33.0 | 32.7 | 32.8 | 33.0 | 33.2 | 17.0 | 61 | --- | 0 | 0 | 1
0 | 06:00 | 33.0 | 32.1 | 32.4 | 33.4 | 32.8 | 32.6 | 32.2 | 32.6 | 32.4 | 16.6 | 61 | --- | 0 | 0 | 1
0 | 07:00 | 33.0 | 32.1 | 32.8 | 33.0 | 32.8 | 32.8 | 32.8 | 32.6 | 33.0 | 16.5 | 61.9 | --- | 0 | 0 | 1
0 | 08:00 | 33.0 | 32.1 | 33.1 | 33.2 | 33.1 | 33.2 | 33.0 | 33.2 | 33.1 | 17.3 | 60 | --- | 0 | 643 | 1
0 | 09:00 | 33.0 | 32.0 | 32.8 | 33.3 | 32.9 | 32.7 | 32.7 | 32.4 | 33.3 | 17.9 | 61.9 | --- | 0 | 0 | 1
0 | 10:00 | 36.0 | 32.2 | 35.1 | 36.3 | 35.3 | 35.2 | 35.1 | 34.9 | 35.1 | 19.1 | 55 | --- | 0 | 0 | 1
0 | 11:00 | 36.0 | 34.9 | 35.7 | 36.2 | 35.9 | 35.7 | 35.9 | 35.2 | 35.9 | 20.9 | 55.9 | --- | 0 | 0 | 1
0 | 12:00 | 36.0 | 35.0 | 35.9 | 36.0 | 35.8 | 35.8 | 35.8 | 35.8 | 36.2 | 21.8 | 54 | --- | 0 | 0 | 1
0 | 13:00 | 36.0 | 34.9 | 35.5 | 35.9 | 35.0 | 35.0 | 35.1 | 35.8 | 36.3 | 23.0 | 54.9 | --- | 0 | 0 | 1
0 | 14:00 | 36.0 | 35.2 | 35.5 | 36.0 | 35.4 | 35.4 | 35.1 | 35.5 | 35.9 | 21.9 | 54 | --- | 0 | 0 | 1
0 | 15:00 | 36.0 | 35.0 | 35.4 | 36.3 | 35.8 | 35.8 | 35.2 | 35.2 | 35.3 | 21.4 | 54.5 | --- | 0 | 0 | 1
0 | 16:00 | 36.0 | 35.1 | 35.3 | 35.8 | 35.2 | 35.2 | 35.1 | 35.3 | 35.8 | 20.0 | 55 | --- | 0 | 0 | 1
0 | 17:00 | 33.0 | 33.1 | 33.1 | 36.1 | 31.5 | 31.4 | 33.2 | 34.0 | 33.8 | 20.2 | 57.9 | --- | 0 | 0 | 1
0 | 18:00 | 33.5 | 32.6 | 33.1 | 33.9 | 33.2 | 33.3 | 32.7 | 33.0 | 33.6 | 19.0 | 63 | --- | 0 | 0 | 1
0 | 19:00 | 34.0 | 32.6 | 33.5 | 33.6 | 33.3 | 33.4 | 34.0 | 33.4 | 33.5 | 18.7 | 65 | --- | 0 | 0 | 1
0 | 20:00 | 34.0 | 33.2 | 33.3 | 34.0 | 33.1 | 33.4 | 33.3 | 33.2 | 33.3 | 18.8 | 64.9 | --- | 0 | 0 | 1
0 | 21:00 | 34.0 | 33.0 | 33.9 | 34.0 | 33.1 | 33.3 | 34.2 | 34.0 | 34.2 | 18.5 | 65 | --- | 0 | 0 | 1
0 | 22:00 | 34.0 | 33.1 | 33.2 | 33.9 | 32.9 | 32.8 | 33.6 | 33.3 | 33.1 | 17.2 | 65 | --- | 0 | 0 | 1
0 | 23:00 | 34.0 | 33.1 | 33.8 | 33.9 | 34.3 | 34.2 | 33.1 | 33.5 | 34.4 | 17.4 | 65.9 | --- | 0 | 0 | 1
0 | 00:00 | 34.0 | 33.1 | 33.5 | 33.8 | 33.9 | 33.9 | 33.6 | 33.4 | 33.0 | 17.7 | 66.9 | --- | 10 | 0 | 1
1 | 01:00 | 34.0 | 33.2 | 33.7 | 33.8 | 33.3 | 33.5 | 33.5 | 33.3 | 34.3 | 17.7 | 66.9 | --- | 0 | 0 | 1

## Humidity
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 62 | 63 | 82
0 | 53 | 67 | 67
1 | 65 | 67 | 67

## Mortality
GrowthDay | TotalMortality | TotalCulled | TotalTotal | TotalPercent | TotalUpdate | MaleMortality | MaleCulled | MaleTotal | MalePercent | MaleUpdate | FemaleMortality | FemaleCulled | FemaleTotal | FemalePercent | FemaleUpdate
-1 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
0 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
1 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000

## Power Consumption
GrowthDay | Heaters | Fans | Lights | Others | ToalPerDay | ChangeRate
-1 | 0 | 0 | 0 | 0 | 0 | 不详
0 | 0 | 0 | 0 | 0 | 0 | 不详
1 | 0 | 0 | 0 | 0 | 0 | 不详

## Radiant Heaters
GrowthDay | Low_1 | High_1 | Low_2 | High_2 | Low_3 | High_3 | Low_4 | High_4 | Low_5 | High_5 | Low_6 | High_6 | Low_7 | High_7 | Low_8 | High_8 | Low_9 | High_9 | Low_10 | High_10 | Low_11 | High_11 | Low_12 | High_12 | Low_13 | High_13 | Low_14 | High_14 | Low_15 | High_15 | Low_16 | High_16
-1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## Scale History
GrowthDay | Common_Weight | Common_NumOfWeights | Common_StandardDev | Common_Uniformity | Common_CV | Common_DailyGain | Scale1Female1_Weight | Scale1Female1_NumOfWeights | Scale1Female1_StandardDev | Scale1Female1_Uniformity | Scale1Female1_CV | Scale1Female1_DailyGain | Scale2Male1_Weight | Scale2Male1_NumOfWeights | Scale2Male1_StandardDev | Scale2Male1_Uniformity | Scale2Male1_CV | Scale2Male1_DailyGain
-1 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
0 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
1 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000

## Table Of Events
Message | GrowthDay | Time
冷启动 | 1 | 14:58:27
从数据存储卡读取数据 | 1 | 14:59:18
电源关闭 | 1 | 14:59:18
电源开启 | 1 | 14:59:25
更改开关 | 1 | 15:00:05
更改开关 | 1 | 15:01:03
更改开关 | 1 | 15:01:09
更改开关 | 1 | 15:01:16
更改开关 | 1 | 15:01:18
更改开关 | 1 | 15:02:28
更改开关 | 1 | 15:03:06
更改开关 | 1 | 15:08:08
更改开关 | 1 | 15:08:21
更改的日龄 | -2 | 16:09:28
更改的日龄 | -1 | 16:10:00
新的鸡群 | -1 | 16:15:12
更改开关 | -1 | 18:46:11
报警测试 | 0 | 11:30:00
新的鸡群 | 0 | 17:29:23
普通鸡舍模式 | 0 | 21:07:10
备用设置提醒 | 0 | 21:07:10
更改开关 | 1 | 01:11:25
报警测试 | 1 | 11:30:00
更改开关 | 1 | 11:33:05
更改开关 | 1 | 19:32:14
更改开关 | 1 | 19:32:23
更改开关 | 2 | 10:12:01
报警测试 | 2 | 11:30:00
更改开关 | 2 | 19:12:11
备用设置提醒 | 2 | 23:34:16
更改开关 | 3 | 09:20:00
报警测试 | 3 | 11:30:00
更改开关 | 3 | 19:46:05
更改开关 | 3 | 19:46:11
更改开关 | 3 | 19:46:15
更改开关 | 3 | 19:46:19
更改开关 | 3 | 19:46:24
更改开关 | 3 | 19:47:00
更改开关 | 3 | 19:47:03
备用设置提醒 | 4 | 09:20:23
更改开关 | 4 | 09:28:26
报警测试 | 4 | 11:30:00
更改开关 | 4 | 19:35:03
更改开关 | 4 | 19:35:14
更改开关 | 5 | 08:33:07
报警测试 | 5 | 11:30:00
更改开关 | 5 | 14:22:23
更改开关 | 5 | 14:22:25
更改开关 | 5 | 14:23:00
更改开关 | 5 | 14:23:08
更改开关 | 6 | 07:56:03
隧道通风 | 6 | 11:08:20
最小通风 | 6 | 11:23:12
报警测试 | 6 | 11:30:00
隧道通风 | 6 | 11:49:26
最小通风 | 6 | 12:01:06
隧道通风 | 6 | 12:07:09
最小通风 | 6 | 12:23:07
隧道通风 | 6 | 12:32:28
备用设置提醒 | 6 | 14:56:27
最小通风 | 6 | 15:52:16
更改开关 | 6 | 21:32:02
更改开关 | 7 | 06:48:00
隧道通风 | 7 | 09:37:19
报警测试 | 7 | 11:30:00
最小通风 | 7 | 18:17:06
更改开关 | 8 | 00:32:05
更改开关 | 8 | 06:15:15
隧道通风 | 8 | 09:30:06
报警测试 | 8 | 11:30:00
最小通风 | 8 | 18:34:05
更改开关 | 8 | 23:53:09
更改开关 | 9 | 07:05:06
隧道通风 | 9 | 11:09:08
报警测试 | 9 | 11:30:00
最小通风 | 9 | 15:58:07
备用设置提醒 | 10 | 01:55:06
隧道通风 | 10 | 09:58:00
报警测试 | 10 | 11:30:00
最小通风 | 10 | 16:15:15
隧道通风 | 11 | 09:35:05
最小通风 | 11 | 11:06:17
报警测试 | 11 | 11:30:00
隧道通风 | 11 | 11:53:04
最小通风 | 11 | 16:29:15
隧道通风 | 12 | 09:05:17
报警测试 | 12 | 11:30:00
最小通风 | 12 | 19:06:18
隧道通风 | 13 | 07:46:00
报警测试 | 13 | 11:30:00
最小通风 | 13 | 20:03:27
隧道通风 | 14 | 08:25:04
报警测试 | 14 | 11:30:00
最小通风 | 14 | 19:55:04
重置报警 | 14 | 20:07:24
隧道通风 | 15 | 07:48:15
备用设置提醒 | 15 | 08:15:11
报警测试 | 15 | 11:30:00
最小通风 | 15 | 19:34:20
重置报警 | 15 | 21:01:07
隧道通风 | 16 | 08:07:23
报警测试 | 16 | 11:30:00
最小通风 | 16 | 12:18:12
隧道通风 | 16 | 12:19:14
最小通风 | 16 | 17:09:11
隧道通风 | 17 | 08:31:28
报警测试 | 17 | 11:30:00
最小通风 | 17 | 18:53:27
隧道通风 | 18 | 07:24:08
报警测试 | 18 | 11:30:00
最小通风 | 18 | 19:44:14
隧道通风 | 19 | 07:58:14
报警测试 | 19 | 11:30:00
最小通风 | 19 | 22:00:05
更改开关 | 19 | 22:35:29
更改开关 | 19 | 22:36:02
隧道通风 | 20 | 07:49:26
备用设置提醒 | 20 | 10:33:18
报警测试 | 20 | 11:30:00
最小通风 | 20 | 22:34:01
隧道通风 | 21 | 07:41:01
报警测试 | 21 | 11:30:00
最小通风 | 21 | 23:24:26
隧道通风 | 22 | 08:05:16
报警测试 | 22 | 11:30:00
最小通风 | 22 | 16:54:19
隧道通风 | 23 | 09:51:10
报警测试 | 23 | 11:30:00
最小通风 | 23 | 21:36:28
隧道通风 | 24 | 07:36:11
报警测试 | 24 | 11:30:00
备用设置提醒 | 24 | 15:21:18
最小通风 | 24 | 20:01:10
隧道通风 | 25 | 07:25:20
报警测试 | 25 | 11:30:00
最小通风 | 25 | 23:45:03
隧道通风 | 26 | 07:13:29
报警测试 | 26 | 11:30:00
最小通风 | 26 | 13:54:08
更改开关 | 26 | 15:33:23
更改开关 | 26 | 15:34:03
隧道通风 | 26 | 16:11:04
最小通风 | 26 | 20:18:27
更改开关 | 26 | 23:17:19
更改开关 | 26 | 23:18:00
隧道通风 | 27 | 07:46:03
报警测试 | 27 | 11:30:00
最小通风 | 28 | 00:40:04
隧道通风 | 28 | 07:06:12
报警测试 | 28 | 11:30:00
最小通风 | 29 | 01:53:00
隧道通风 | 29 | 04:02:28
最小通风 | 29 | 05:02:09
隧道通风 | 29 | 07:00:03
报警测试 | 29 | 11:30:00
备用设置提醒 | 29 | 12:57:18
最小通风 | 30 | 05:07:14
隧道通风 | 30 | 11:09:02
最小通风 | 30 | 11:22:28
报警测试 | 30 | 11:30:00
隧道通风 | 31 | 07:56:15
报警测试 | 31 | 11:30:00
最小通风 | 31 | 17:30:20
隧道通风 | 31 | 21:01:12
最小通风 | 32 | 02:23:22
隧道通风 | 32 | 04:06:27
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
备用设置提醒 | 33 | 20:58:03
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
备用设置提醒 | 36 | 19:12:00
报警测试 | 37 | 11:30:00
空鸡舍模式 | 38 | 07:57:10
更改开关 | 38 | 07:57:26
更改开关 | 38 | 08:02:03
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 13:47:17
电源开启 | 42 | 08:17:04
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
最小通风 | 46 | 16:42:16
更改开关 | 47 | 10:19:14
更改开关 | 47 | 10:40:05
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
电源关闭 | 50 | 09:45:17
电源开启 | 50 | 09:46:10
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
报警测试 | 53 | 11:30:00
报警测试 | 54 | 11:30:00
报警测试 | 55 | 11:30:00
更改开关 | 55 | 11:31:24
更改开关 | 55 | 11:31:28
新的鸡群 | -1 | 11:42:22
更改开关 | -1 | 12:46:01
报警测试 | 0 | 11:30:00
更改开关 | 0 | 14:34:03
更改开关 | 0 | 16:01:20
普通鸡舍模式 | 0 | 16:03:07
备用设置提醒 | 0 | 16:03:07
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 5 | 14:40:13
报警测试 | 6 | 11:30:00
更改开关 | 6 | 14:17:15
更改开关 | 6 | 18:26:29
更改开关 | 6 | 18:27:07
报警测试 | 7 | 11:30:00
更改开关 | 7 | 11:47:21
备用设置提醒 | 7 | 16:55:26
更改开关 | 7 | 18:44:09
报警测试 | 8 | 11:30:00
重置报警 | 9 | 06:06:20
更改开关 | 9 | 07:47:16
更改开关 | 9 | 07:49:09
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
备用设置提醒 | 13 | 00:28:24
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
更改开关 | 16 | 10:11:25
报警测试 | 16 | 11:30:00
备用设置提醒 | 16 | 18:31:20
更改开关 | 16 | 19:15:15
更改开关 | 17 | 09:29:17
报警测试 | 17 | 11:30:00
更改开关 | 17 | 18:36:06
更改开关 | 18 | 08:56:11
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
备用设置提醒 | 20 | 13:01:12
报警测试 | 21 | 11:30:00
更改开关 | 22 | 09:22:20
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
备用设置提醒 | 24 | 13:40:24
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
备用设置提醒 | 28 | 21:30:07
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
备用设置提醒 | 31 | 12:31:12
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
备用设置提醒 | 35 | 08:38:12
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
空鸡舍模式 | 37 | 18:32:27
更改开关 | 37 | 18:33:08
更改开关 | 37 | 18:33:22
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
电源关闭 | 50 | 15:22:19
电源开启 | 50 | 15:22:21
电源关闭 | 50 | 15:28:29
电源开启 | 50 | 15:29:01
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
电源关闭 | 52 | 22:11:26
电源开启 | 52 | 22:11:26
电源关闭 | 52 | 22:23:08
电源开启 | 52 | 22:34:13
报警测试 | 53 | 11:30:00
新的鸡群 | -1 | 15:33:03
更改开关 | -1 | 16:25:21
更改开关 | -1 | 16:25:29
更改开关 | -1 | 16:26:06
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 17:06:20
备用设置提醒 | 0 | 17:06:20

## Temperature
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 24.7 | 32.4 | 33.5
0 | 32.0 | 33.5 | 36.3
1 | 33.2 | 33.6 | 33.8

## Water
GrowthDay | TotalDrinkDaily | TotalDrinkChange | Water_1Daily | Water_1Change | Water_2Daily | Water_2Change | Water_3Daily | Water_3Change | Water_4Daily | Water_4Change | TotalWater | Coolpad | Fogger | Flushing
-1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0
0 | 10 | 不详 | 10 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 10 | 0 | 0 | 0
1 | 0 | -100 | 0 | -100 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0