## CO2
GrowthDay | MinimumValue | AverageValue | MaximumValue
-2 | 不详 | 不详 | 不详
-1 | 不详 | 不详 | 不详
0 | 不详 | 不详 | 不详

## Feed
GrowthDay | FeederTotal | ChangeTotal | Feeder_1 | ChangeFeeder_1 | Feeder_2 | ChangeFeeder_2 | Feeder_3 | ChangeFeeder_3 | Feeder_4 | ChangeFeeder_4
-2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
-1 | 570 | 不详 | 570 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
0 | 0 | -100 | 0 | -100 | 0 | 不详 | 0 | 不详 | 0 | 不详

## Heaters
GrowthDay | Heater_1 | Heater_2 | Heater_3 | Heater_4 | Heater_5 | Heater_6 | Heater_7 | Heater_8 | Heater_9 | Heater_10 | Heater_11 | Heater_12 | Heater_13 | Heater_14 | Heater_15 | Heater_16
-2 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
-1 | 00:00 | 04:10 | 01:06 | 00:00 | 06:12 | 08:28 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:18 | 00:03 | 00:00 | 00:25 | 00:54 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## History View
GROWTH_DAY | HISTORY_TIME | TARGET_TEMP | HOUSE_TEMP_MIN | HOUSE_TEMP_AVG | HOUSE_TEMP_MAX | TEMP_1_AVG | TEMP_2_AVG | TEMP_3_AVG | TEMP_4_AVG | TEMP_5_AVG | OUTSIDE_AVG | HUMIDITY_IN_1_AVG | HUMIDITY_OUT_AVG | WATER_CON | FEED_CON | LEVEL
-2 | 16:00 | 33.0 | 25.8 | 25.8 | 26.3 | 25.5 | 25.7 | 26.0 | 25.8 | 25.8 | 23.0 | 81.9 | --- | 0 | 0 | 1
-2 | 17:00 | 33.0 | 24.8 | 24.8 | 25.8 | 24.5 | 24.7 | 25.0 | 24.7 | 24.6 | 20.5 | 83.9 | --- | 0 | 0 | 1
-2 | 18:00 | 33.0 | 23.6 | 23.6 | 24.8 | 23.3 | 23.5 | 23.8 | 23.5 | 23.4 | 19.0 | 85.9 | --- | 0 | 0 | 1
-2 | 19:00 | 33.0 | 22.8 | 22.8 | 23.6 | 22.6 | 22.8 | 23.1 | 22.8 | 22.6 | 18.5 | 86.9 | --- | 0 | 0 | 1
-2 | 20:00 | 33.0 | 22.2 | 22.2 | 22.8 | 22.0 | 22.2 | 22.5 | 22.2 | 22.0 | 17.7 | 87 | --- | 0 | 0 | 1
-2 | 21:00 | 33.0 | 21.7 | 21.7 | 22.2 | 21.4 | 21.7 | 22.0 | 21.7 | 21.5 | 17.1 | 87 | --- | 0 | 0 | 1
-2 | 22:00 | 33.0 | 21.3 | 21.3 | 21.7 | 21.0 | 21.3 | 21.6 | 21.3 | 21.1 | 15.7 | 88 | --- | 0 | 0 | 1
-2 | 23:00 | 33.0 | 20.9 | 20.9 | 21.3 | 20.6 | 20.9 | 21.3 | 20.9 | 20.7 | 15.9 | 88 | --- | 0 | 0 | 1
-2 | 00:00 | 33.0 | 20.9 | 20.9 | 20.9 | 20.5 | 20.8 | 21.2 | 20.9 | 20.7 | 16.4 | 88 | --- | 0 | 0 | 1
-1 | 01:00 | 33.0 | 20.9 | 20.9 | 20.9 | 20.5 | 20.8 | 21.2 | 20.9 | 20.7 | 16.8 | 88 | --- | 0 | 0 | 1
-1 | 02:00 | 33.0 | 20.9 | 20.9 | 21.0 | 20.6 | 20.8 | 21.2 | 21.0 | 20.8 | 17.2 | 88 | --- | 0 | 0 | 1
-1 | 03:00 | 33.0 | 20.9 | 20.9 | 21.0 | 20.6 | 20.8 | 21.2 | 20.9 | 20.7 | 17.2 | 88 | --- | 0 | 0 | 1
-1 | 04:00 | 33.0 | 20.9 | 20.9 | 20.9 | 20.5 | 20.8 | 21.2 | 20.9 | 20.7 | 17.1 | 88 | --- | 0 | 0 | 1
-1 | 05:00 | 33.0 | 20.9 | 20.9 | 20.9 | 20.5 | 20.7 | 21.2 | 20.9 | 20.7 | 16.8 | 88 | --- | 0 | 0 | 1
-1 | 06:00 | 33.0 | 20.8 | 20.8 | 20.9 | 20.5 | 20.7 | 21.1 | 20.8 | 20.6 | 16.5 | 88 | --- | 0 | 0 | 1
-1 | 07:00 | 33.0 | 20.7 | 20.7 | 20.8 | 20.4 | 20.5 | 21.0 | 20.7 | 20.5 | 16.5 | 88.9 | --- | 0 | 0 | 1
-1 | 08:00 | 33.0 | 18.7 | 18.7 | 20.7 | 18.5 | 18.5 | 18.6 | 18.7 | 18.8 | 17.0 | 88 | --- | 0 | 0 | 1
-1 | 09:00 | 33.0 | 18.7 | 18.9 | 19.0 | 18.8 | 18.8 | 19.0 | 19.0 | 19.0 | 17.5 | 88 | --- | 0 | 0 | 1
-1 | 10:00 | 33.0 | 19.0 | 19.5 | 19.5 | 19.4 | 19.4 | 19.6 | 19.5 | 19.6 | 18.4 | 88 | --- | 0 | 0 | 1
-1 | 11:00 | 33.0 | 19.5 | 21.0 | 21.0 | 20.6 | 20.8 | 21.1 | 21.1 | 21.0 | 20.1 | 86 | --- | 0 | 0 | 1
-1 | 12:00 | 33.0 | 21.0 | 21.8 | 21.8 | 21.3 | 21.5 | 21.9 | 21.9 | 21.9 | 21.1 | 85 | --- | 0 | 0 | 1
-1 | 13:00 | 33.0 | 21.8 | 32.0 | 33.2 | 31.7 | 31.7 | 32.8 | 31.6 | 31.7 | 22.3 | 68.9 | --- | 0 | 0 | 1
-1 | 14:00 | 33.0 | 31.6 | 32.8 | 33.1 | 32.0 | 32.6 | 33.2 | 32.9 | 32.5 | 21.7 | 68 | --- | 150 | 570 | 1
-1 | 15:00 | 33.0 | 31.7 | 32.1 | 33.2 | 32.5 | 33.0 | 32.8 | 31.4 | 31.3 | 21.4 | 70 | --- | 0 | 0 | 1
-1 | 16:00 | 33.0 | 31.8 | 32.1 | 33.2 | 32.0 | 32.4 | 32.3 | 32.0 | 31.7 | 20.3 | 68 | --- | 0 | 0 | 1
-1 | 17:00 | 33.0 | 31.8 | 32.1 | 33.3 | 31.4 | 31.9 | 32.2 | 32.3 | 31.9 | 19.3 | 66.9 | --- | 0 | 0 | 1
-1 | 18:00 | 33.0 | 31.8 | 32.5 | 33.3 | 31.8 | 32.0 | 32.9 | 32.7 | 32.3 | 19.1 | 68 | --- | 0 | 0 | 1
-1 | 19:00 | 33.0 | 31.7 | 32.8 | 33.2 | 32.1 | 32.0 | 33.5 | 32.7 | 32.7 | 19.0 | 69 | --- | 0 | 0 | 1
-1 | 20:00 | 33.0 | 31.6 | 32.2 | 33.1 | 31.6 | 32.0 | 32.4 | 32.6 | 31.9 | 18.7 | 70.9 | --- | 0 | 0 | 1
-1 | 21:00 | 33.0 | 31.8 | 32.3 | 33.2 | 32.0 | 32.4 | 32.7 | 32.4 | 31.8 | 18.5 | 68.9 | --- | 0 | 0 | 1
-1 | 22:00 | 33.0 | 31.6 | 32.0 | 33.2 | 32.5 | 32.9 | 32.7 | 31.2 | 31.2 | 17.6 | 71 | --- | 0 | 0 | 1
-1 | 23:00 | 33.0 | 31.5 | 31.6 | 32.8 | 32.9 | 32.6 | 32.4 | 31.0 | 30.3 | 17.6 | 71 | --- | 0 | 0 | 1
-1 | 00:00 | 33.0 | 31.5 | 32.2 | 32.8 | 31.4 | 31.7 | 32.5 | 32.4 | 32.0 | 17.7 | 70.9 | --- | 0 | 0 | 1
0 | 01:00 | 33.0 | 31.7 | 32.9 | 33.3 | 32.4 | 32.8 | 33.3 | 33.1 | 32.5 | 17.8 | 68 | --- | 0 | 0 | 1

## Humidity
GrowthDay | MinimumValue | AverageValue | MaximumValue
-2 | 82 | 88 | 89
-1 | 66 | 71 | 90
0 | 68 | 70 | 71

## Mortality
GrowthDay | TotalMortality | TotalCulled | TotalTotal | TotalPercent | TotalUpdate | MaleMortality | MaleCulled | MaleTotal | MalePercent | MaleUpdate | FemaleMortality | FemaleCulled | FemaleTotal | FemalePercent | FemaleUpdate
-2 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
-1 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
0 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000

## Power Consumption
GrowthDay | Heaters | Fans | Lights | Others | ToalPerDay | ChangeRate
-2 | 0 | 0 | 0 | 0 | 0 | 不详
-1 | 0 | 0 | 0 | 0 | 0 | 不详
0 | 0 | 0 | 0 | 0 | 0 | 不详

## Radiant Heaters
GrowthDay | Low_1 | High_1 | Low_2 | High_2 | Low_3 | High_3 | Low_4 | High_4 | Low_5 | High_5 | Low_6 | High_6 | Low_7 | High_7 | Low_8 | High_8 | Low_9 | High_9 | Low_10 | High_10 | Low_11 | High_11 | Low_12 | High_12 | Low_13 | High_13 | Low_14 | High_14 | Low_15 | High_15 | Low_16 | High_16
-2 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
-1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## Scale History
GrowthDay | Common_Weight | Common_NumOfWeights | Common_StandardDev | Common_Uniformity | Common_CV | Common_DailyGain | Scale1Female1_Weight | Scale1Female1_NumOfWeights | Scale1Female1_StandardDev | Scale1Female1_Uniformity | Scale1Female1_CV | Scale1Female1_DailyGain | Scale2Male1_Weight | Scale2Male1_NumOfWeights | Scale2Male1_StandardDev | Scale2Male1_Uniformity | Scale2Male1_CV | Scale2Male1_DailyGain
-2 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
-1 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
0 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000

## Table Of Events
Message | GrowthDay | Time
系统锁定 | 36 | 07:06:11
报警测试 | 36 | 11:30:00
备用设置提醒 | 36 | 15:12:00
报警测试 | 37 | 11:30:00
管理员登陆 | 37 | 00:00:05
系统锁定 | 38 | 00:05:19
管理员登陆 | 38 | 07:36:01
更改开关 | 38 | 07:36:07
空鸡舍模式 | 38 | 07:36:11
系统锁定 | 38 | 07:41:11
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
电源关闭 | 40 | 06:51:22
电源开启 | 40 | 13:32:15
电源关闭 | 40 | 13:32:27
电源开启 | 40 | 15:10:04
报警测试 | 42 | 11:30:00
电源关闭 | 43 | 11:03:06
电源开启 | 43 | 11:03:13
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
更改的日龄 | -2 | 07:55:13
管理员登陆 | -2 | 08:21:29
电源关闭 | -2 | 08:22:03
电源开启 | -2 | 08:22:07
管理员登陆 | -2 | 08:22:12
更改开关 | -2 | 08:22:14
系统锁定 | -2 | 08:27:14
管理员登陆 | -2 | 08:35:10
系统锁定 | -2 | 08:40:12
报警测试 | -2 | 11:30:00
报警测试 | -1 | 11:30:00
管理员登陆 | -1 | 17:46:29
更改开关 | -1 | 17:47:00
更改开关 | -1 | 17:47:07
更改开关 | -1 | 17:47:16
系统锁定 | -1 | 17:52:20
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 1 | 08:00:00
备用设置提醒 | 1 | 08:00:00
重置报警 | 1 | 08:01:14
报警测试 | 1 | 11:30:00
空鸡舍模式 | 2 | 09:52:29
重置报警 | 2 | 09:52:29
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
电源关闭 | 4 | 07:37:14
电源开启 | 4 | 07:37:21
系统锁定 | 4 | 10:16:11
报警测试 | 4 | 11:30:00
更改的日龄 | -2 | 08:42:28
报警测试 | -2 | 11:30:00
管理员登陆 | -2 | 16:56:26
更改开关 | -2 | 16:56:29
系统锁定 | -2 | 17:01:29
新的鸡群 | -2 | 17:52:06
管理员登陆 | -2 | 18:08:05
更改开关 | -2 | 18:08:18
更改开关 | -2 | 18:09:09
更改开关 | -2 | 18:09:13
系统锁定 | -2 | 18:14:22
报警测试 | -1 | 11:30:00
管理员登陆 | 0 | 07:17:10
更改开关 | 0 | 07:17:16
更改开关 | 0 | 07:17:19
更改开关 | 0 | 07:18:04
系统锁定 | 0 | 07:23:04
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 12:56:05
系统锁定 | 0 | 13:01:11
管理员登陆 | 0 | 13:08:24
普通鸡舍模式 | 0 | 13:09:07
备用设置提醒 | 0 | 13:09:07
系统锁定 | 0 | 13:14:21
管理员登陆 | 0 | 13:26:08
系统锁定 | 0 | 13:31:22
管理员登陆 | 0 | 14:07:02
系统锁定 | 0 | 14:12:08
备用设置提醒 | 0 | 15:03:29
报警测试 | 1 | 11:30:00
重置报警 | 2 | 02:16:20
重置报警 | 2 | 02:36:22
重置报警 | 2 | 02:54:07
管理员登陆 | 2 | 03:12:07
重置报警 | 2 | 03:12:09
系统锁定 | 2 | 03:17:10
报警测试 | 2 | 11:30:00
备用设置提醒 | 3 | 05:53:25
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 5 | 18:22:19
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
备用设置提醒 | 8 | 03:43:06
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
备用设置提醒 | 12 | 11:02:12
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
访客登陆 | 13 | 16:44:18
系统锁定 | 13 | 16:49:26
报警测试 | 14 | 11:30:00
管理员登陆 | 14 | 13:33:15
更改开关 | 14 | 13:33:19
更改开关 | 14 | 13:33:20
系统锁定 | 14 | 13:38:20
管理员登陆 | 14 | 19:44:05
更改开关 | 14 | 19:44:06
更改开关 | 14 | 19:44:15
更改开关 | 14 | 19:44:22
系统锁定 | 14 | 19:49:22
报警测试 | 15 | 11:30:00
访客登陆 | 15 | 11:47:24
系统锁定 | 15 | 11:53:07
备用设置提醒 | 16 | 03:04:09
访客登陆 | 16 | 08:09:23
系统锁定 | 16 | 08:15:00
报警测试 | 16 | 11:30:00
管理员登陆 | 16 | 11:52:17
更改开关 | 16 | 11:52:18
系统锁定 | 16 | 11:57:18
管理员登陆 | 16 | 17:28:05
更改开关 | 16 | 17:28:07
系统锁定 | 16 | 17:34:18
报警测试 | 17 | 11:30:00
访客登陆 | 17 | 13:58:09
系统锁定 | 17 | 14:03:15
报警测试 | 18 | 11:30:00
管理员登陆 | 18 | 11:55:23
系统锁定 | 18 | 12:00:23
重置报警 | 18 | 12:08:17
更改开关 | 18 | 17:15:24
系统锁定 | 18 | 17:21:15
访客登陆 | 19 | 09:58:05
系统锁定 | 19 | 10:03:13
报警测试 | 19 | 11:30:00
管理员登陆 | 19 | 12:18:08
更改开关 | 19 | 12:18:10
系统锁定 | 19 | 12:23:10
管理员登陆 | 19 | 17:22:11
更改开关 | 19 | 17:22:13
系统锁定 | 19 | 17:27:13
访客登陆 | 20 | 10:44:10
系统锁定 | 20 | 10:49:19
报警测试 | 20 | 11:30:00
备用设置提醒 | 21 | 02:31:06
报警测试 | 21 | 11:30:00
管理员登陆 | 22 | 05:04:05
系统锁定 | 22 | 05:09:13
访客登陆 | 22 | 10:47:02
系统锁定 | 22 | 10:52:07
报警测试 | 22 | 11:30:00
管理员登陆 | 22 | 20:00:09
系统锁定 | 22 | 20:05:14
管理员登陆 | 23 | 08:51:22
更改开关 | 23 | 08:51:25
系统锁定 | 23 | 08:56:25
管理员登陆 | 23 | 10:23:08
更改开关 | 23 | 10:23:11
更改开关 | 23 | 10:28:01
系统锁定 | 23 | 10:33:01
报警测试 | 23 | 11:30:00
更改开关 | 23 | 15:43:20
重置报警 | 23 | 15:43:23
更改开关 | 23 | 15:46:06
更改开关 | 23 | 15:46:18
更改开关 | 23 | 15:46:22
更改开关 | 23 | 15:50:11
更改开关 | 23 | 15:50:15
更改开关 | 23 | 15:50:16
更改开关 | 23 | 15:50:25
系统锁定 | 23 | 15:55:25
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
管理员登陆 | 25 | 16:03:29
系统锁定 | 25 | 16:09:07
备用设置提醒 | 25 | 19:55:06
报警测试 | 26 | 11:30:00
电源关闭 | 27 | 09:36:22
电源开启 | 27 | 09:36:25
报警测试 | 27 | 11:30:00
管理员登陆 | 27 | 21:26:14
系统锁定 | 27 | 21:31:24
电源关闭 | 28 | 06:26:12
电源开启 | 28 | 06:26:19
访客登陆 | 28 | 10:49:03
系统锁定 | 28 | 10:54:11
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
系统锁定 | 29 | 11:59:28
备用设置提醒 | 29 | 20:49:05
管理员登陆 | 30 | 05:10:17
系统锁定 | 30 | 05:15:22
报警测试 | 30 | 11:30:00
访客登陆 | 30 | 14:05:12
系统锁定 | 30 | 14:10:23
管理员登陆 | 31 | 04:39:20
系统锁定 | 31 | 04:44:25
管理员登陆 | 31 | 05:11:22
系统锁定 | 31 | 05:16:28
报警测试 | 31 | 11:30:00
备用设置提醒 | 32 | 08:09:18
报警测试 | 32 | 11:30:00
访客登陆 | 32 | 15:38:14
系统锁定 | 32 | 15:43:23
管理员登陆 | 33 | 05:09:19
系统锁定 | 33 | 05:14:28
管理员登陆 | 33 | 09:12:20
系统锁定 | 33 | 09:19:19
报警测试 | 33 | 11:30:00
访客登陆 | 33 | 12:55:24
系统锁定 | 33 | 13:01:02
隧道通风 | 33 | 14:13:29
最小通风 | 33 | 18:07:07
系统锁定 | 33 | 21:37:06
管理员登陆 | 34 | 05:06:13
系统锁定 | 34 | 05:11:19
隧道通风 | 34 | 08:59:22
报警测试 | 34 | 11:30:00
访客登陆 | 34 | 16:11:28
系统锁定 | 34 | 16:17:03
最小通风 | 35 | 03:37:24
管理员登陆 | 35 | 05:09:09
系统锁定 | 35 | 05:14:15
隧道通风 | 35 | 06:45:15
备用设置提醒 | 35 | 09:40:07
报警测试 | 35 | 11:30:00
管理员登陆 | 35 | 17:33:07
系统锁定 | 35 | 17:38:13
管理员登陆 | 36 | 05:06:20
系统锁定 | 36 | 05:11:21
管理员登陆 | 36 | 05:19:15
系统锁定 | 36 | 05:24:21
报警测试 | 36 | 11:30:00
最小通风 | 37 | 01:25:21
隧道通风 | 37 | 07:21:09
报警测试 | 37 | 11:30:00
管理员登陆 | 37 | 12:09:27
更改开关 | 37 | 12:10:02
更改开关 | 37 | 12:10:08
系统锁定 | 37 | 12:15:08
空鸡舍模式 | 37 | 12:57:13
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
电源关闭 | 39 | 13:06:13
电源开启 | 39 | 18:36:14
报警测试 | 41 | 11:30:00
电源关闭 | 42 | 03:41:06
电源开启 | 42 | 05:58:28
电源关闭 | 42 | 08:02:02
电源开启 | 42 | 09:55:16
电源关闭 | 42 | 10:29:26
电源开启 | 42 | 10:29:26
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 11:43:23
电源开启 | 42 | 17:32:06
报警测试 | 43 | 11:30:00
最小通风 | 44 | 10:58:25
报警测试 | 44 | 11:30:00
电源关闭 | 44 | 12:37:17
电源开启 | 44 | 12:37:26
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
系统锁定 | 50 | 15:00:01
报警测试 | 51 | 11:30:00
新的鸡群 | -2 | 07:22:11
报警测试 | -2 | 11:30:00
报警测试 | -1 | 11:30:00
管理员登陆 | -1 | 22:10:02
更改开关 | -1 | 22:10:09
系统锁定 | -1 | 22:15:09
管理员登陆 | 0 | 07:03:02
更改开关 | 0 | 07:03:04
更改开关 | 0 | 07:03:10
更改开关 | 0 | 07:03:23
系统锁定 | 0 | 07:08:23
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 14:14:08
普通鸡舍模式 | 0 | 14:14:11
系统锁定 | 0 | 14:19:23
备用设置提醒 | 0 | 14:19:23
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
备用设置提醒 | 2 | 12:37:01
报警测试 | 3 | 11:30:00
重置报警 | 3 | 11:50:15
报警测试 | 4 | 11:30:00
备用设置提醒 | 4 | 17:41:14
报警测试 | 5 | 11:30:00
管理员登陆 | 6 | 11:06:15
更改开关 | 6 | 11:06:18
系统锁定 | 6 | 11:11:18
报警测试 | 6 | 11:30:00
管理员登陆 | 6 | 13:10:13
系统锁定 | 6 | 13:15:13
备用设置提醒 | 6 | 17:25:01
管理员登陆 | 6 | 18:47:08
更改开关 | 6 | 18:47:09
系统锁定 | 6 | 18:54:05
管理员登陆 | 7 | 10:41:21
更改开关 | 7 | 10:41:23
系统锁定 | 7 | 10:46:23
报警测试 | 7 | 11:30:00
更改开关 | 7 | 18:07:24
更改开关 | 7 | 18:10:29
更改开关 | 7 | 18:11:03
系统锁定 | 7 | 18:16:12
管理员登陆 | 8 | 09:30:10
更改开关 | 8 | 09:30:12
系统锁定 | 8 | 09:35:12
访客登陆 | 8 | 09:48:25
系统锁定 | 8 | 09:54:15
报警测试 | 8 | 11:30:00
更改开关 | 8 | 19:09:23
系统锁定 | 8 | 19:15:08
报警测试 | 9 | 11:30:00
管理员登陆 | 9 | 12:01:15
更改开关 | 9 | 12:01:16
系统锁定 | 9 | 12:06:16
管理员登陆 | 9 | 18:36:01
更改开关 | 9 | 18:36:25
系统锁定 | 9 | 18:41:25
电源关闭 | 10 | 00:03:00
电源开启 | 10 | 00:03:08
电源关闭 | 10 | 01:53:17
电源开启 | 10 | 01:53:25
电源关闭 | 10 | 02:03:07
电源开启 | 10 | 02:03:13
电源关闭 | 10 | 02:14:06
电源开启 | 10 | 02:14:15
电源关闭 | 10 | 02:20:18
电源开启 | 10 | 02:20:26
电源关闭 | 10 | 06:09:06
电源开启 | 10 | 06:09:23
电源关闭 | 10 | 06:10:12
电源开启 | 10 | 06:10:21
电源关闭 | 10 | 06:11:28
电源开启 | 10 | 06:12:03
电源关闭 | 10 | 06:12:22
电源开启 | 10 | 06:13:21
电源关闭 | 10 | 06:13:28
电源开启 | 10 | 06:15:08
电源关闭 | 10 | 06:16:07
电源开启 | 10 | 06:16:12
电源关闭 | 10 | 06:16:27
电源开启 | 10 | 06:16:29
电源关闭 | 10 | 06:17:04
电源开启 | 10 | 06:17:06
电源关闭 | 10 | 06:17:09
电源开启 | 10 | 06:17:23
电源关闭 | 10 | 06:18:18
电源开启 | 10 | 06:19:16
电源关闭 | 10 | 06:26:26
电源开启 | 10 | 06:27:23
电源关闭 | 10 | 06:27:23
电源开启 | 10 | 06:28:00
电源关闭 | 10 | 06:28:08
电源开启 | 10 | 06:30:14
电源关闭 | 10 | 06:30:25
电源开启 | 10 | 06:32:00
电源关闭 | 10 | 06:51:13
电源开启 | 10 | 06:52:06
电源关闭 | 10 | 06:59:16
电源开启 | 10 | 07:00:18
管理员登陆 | 10 | 09:08:09
更改开关 | 10 | 09:08:12
系统锁定 | 10 | 09:13:12
系统锁定 | 10 | 09:44:28
报警测试 | 10 | 11:30:00
管理员登陆 | 10 | 19:07:07
更改开关 | 10 | 19:07:24
系统锁定 | 10 | 19:12:24
备用设置提醒 | 11 | 10:40:24
管理员登陆 | 11 | 10:59:02
更改开关 | 11 | 10:59:04
系统锁定 | 11 | 11:04:12
报警测试 | 11 | 11:30:00
电源关闭 | 11 | 15:00:06
电源开启 | 11 | 15:00:15
管理员登陆 | 11 | 19:23:07
更改开关 | 11 | 19:23:10
系统锁定 | 11 | 19:29:00
管理员登陆 | 12 | 08:50:05
更改开关 | 12 | 08:50:08
系统锁定 | 12 | 08:55:08
报警测试 | 12 | 11:30:00
管理员登陆 | 12 | 18:57:15
更改开关 | 12 | 18:57:18
更改开关 | 12 | 18:57:23
更改开关 | 12 | 18:58:10
更改开关 | 12 | 18:58:25
系统锁定 | 12 | 19:03:25
管理员登陆 | 13 | 09:42:29
更改开关 | 13 | 09:43:04
系统锁定 | 13 | 09:48:04
报警测试 | 13 | 11:30:00
管理员登陆 | 13 | 18:32:11
更改开关 | 13 | 18:32:13
系统锁定 | 13 | 18:38:28
管理员登陆 | 14 | 08:20:28
更改开关 | 14 | 08:21:01
系统锁定 | 14 | 08:26:01
报警测试 | 14 | 11:30:00
访客登陆 | 14 | 16:06:26
系统锁定 | 14 | 16:12:07
访客登陆 | 15 | 08:47:03
系统锁定 | 15 | 08:52:14
报警测试 | 15 | 11:30:00
备用设置提醒 | 15 | 14:18:07
报警测试 | 16 | 11:30:00
访客登陆 | 17 | 10:19:26
系统锁定 | 17 | 10:25:00
报警测试 | 17 | 11:30:00
隧道通风 | 17 | 12:34:16
最小通风 | 17 | 12:40:03
隧道通风 | 17 | 13:07:00
最小通风 | 17 | 15:43:00
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
备用设置提醒 | 20 | 22:39:11
报警测试 | 21 | 11:30:00
隧道通风 | 21 | 11:41:20
最小通风 | 21 | 13:53:26
访客登陆 | 22 | 10:13:13
系统锁定 | 22 | 10:18:21
报警测试 | 22 | 11:30:00
访客登陆 | 22 | 15:21:01
系统锁定 | 22 | 15:26:04
管理员登陆 | 22 | 22:23:11
系统锁定 | 22 | 22:28:25
报警测试 | 23 | 11:30:00
隧道通风 | 23 | 17:01:23
最小通风 | 23 | 18:30:28
管理员登陆 | 24 | 05:52:15
系统锁定 | 24 | 05:57:21
隧道通风 | 24 | 09:05:00
报警测试 | 24 | 11:30:00
最小通风 | 24 | 21:52:04
管理员登陆 | 24 | 22:24:19
更改开关 | 24 | 22:24:22
更改开关 | 24 | 22:25:01
系统锁定 | 24 | 22:30:01
备用设置提醒 | 24 | 23:45:18
隧道通风 | 25 | 08:18:27
报警测试 | 25 | 11:30:00
最小通风 | 25 | 22:40:15
报警测试 | 26 | 11:30:00
隧道通风 | 26 | 14:46:00
最小通风 | 26 | 22:13:09
更改开关 | 26 | 22:23:25
更改开关 | 26 | 22:23:29
系统锁定 | 26 | 22:28:29
隧道通风 | 27 | 07:09:24
报警测试 | 27 | 11:30:00
管理员登陆 | 27 | 21:05:07
系统锁定 | 27 | 21:10:11
备用设置提醒 | 28 | 07:55:06
管理员登陆 | 28 | 09:23:25
系统锁定 | 28 | 09:28:25
报警测试 | 28 | 11:30:00
管理员登陆 | 28 | 21:49:16
系统锁定 | 28 | 21:54:20
报警测试 | 29 | 11:30:00
访客登陆 | 29 | 14:46:17
系统锁定 | 29 | 14:51:23
管理员登陆 | 30 | 05:45:15
系统锁定 | 30 | 05:50:21
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
备用设置提醒 | 31 | 17:22:17
管理员登陆 | 32 | 06:07:12
系统锁定 | 32 | 06:12:16
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
最小通风 | 35 | 11:44:06
重置报警 | 35 | 12:44:09
备用设置提醒 | 35 | 12:57:18
管理员登陆 | 35 | 13:38:04
更改开关 | 35 | 13:38:09
更改开关 | 35 | 13:38:26
系统锁定 | 35 | 13:43:26
隧道通风 | 35 | 14:55:03
报警测试 | 36 | 11:30:00
管理员登陆 | 37 | 01:08:04
更改开关 | 37 | 01:08:07
更改开关 | 37 | 01:08:19
系统锁定 | 37 | 01:13:19
管理员登陆 | 37 | 03:01:02
空鸡舍模式 | 37 | 03:01:06
系统锁定 | 37 | 03:06:06
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
电源关闭 | 40 | 14:44:00
电源开启 | 40 | 07:02:01
电源关闭 | 41 | 08:11:21
电源开启 | 41 | 11:24:16
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
系统锁定 | 44 | 12:13:03
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
电源关闭 | 46 | 16:58:12
电源开启 | 46 | 18:16:26
电源关闭 | 47 | 05:51:24
电源开启 | 47 | 05:52:02
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
管理员登陆 | 49 | 08:01:04
系统锁定 | 49 | 08:06:23
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
新的鸡群 | -2 | 16:38:11
最小通风 | -2 | 16:40:09
报警测试 | -1 | 11:30:00
更改的日龄 | -2 | 16:10:08
管理员登陆 | -1 | 09:17:17
更改开关 | -1 | 09:17:20
更改开关 | -1 | 09:17:26
更改开关 | -1 | 09:17:29
更改开关 | -1 | 09:18:03
更改开关 | -1 | 09:18:09
更改开关 | -1 | 09:18:14
系统锁定 | -1 | 09:23:14
报警测试 | -1 | 11:30:00
新的鸡群 | -1 | 17:28:28
管理员登陆 | -1 | 20:13:03
更改开关 | -1 | 20:13:10
系统锁定 | -1 | 20:18:10
管理员登陆 | -1 | 20:35:27
系统锁定 | -1 | 20:42:06
管理员登陆 | -1 | 20:57:24
系统锁定 | -1 | 21:02:28
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 19:37:24
更改开关 | 0 | 19:37:27
更改开关 | 0 | 19:38:08
更改开关 | 0 | 19:38:16
系统锁定 | 0 | 19:43:16
管理员登陆 | 0 | 20:01:17
系统锁定 | 0 | 20:06:26
普通鸡舍模式 | 0 | 21:36:08
备用设置提醒 | 0 | 21:36:08
管理员登陆 | 1 | 00:54:21
系统锁定 | 1 | 00:59:29
管理员登陆 | 1 | 01:03:00
重置报警 | 1 | 01:03:03
系统锁定 | 1 | 01:08:04
管理员登陆 | 1 | 10:25:25
更改开关 | 1 | 10:25:28
系统锁定 | 1 | 10:30:28
管理员登陆 | 1 | 11:24:20
系统锁定 | 1 | 11:29:20
报警测试 | 1 | 11:30:00
管理员登陆 | 1 | 19:16:06
更改开关 | 1 | 19:16:08
更改开关 | 1 | 19:16:16
系统锁定 | 1 | 19:21:16
管理员登陆 | 2 | 09:28:17
更改开关 | 2 | 09:28:19
系统锁定 | 2 | 09:33:19
报警测试 | 2 | 11:30:00
管理员登陆 | 2 | 19:29:28
系统锁定 | 2 | 19:35:06
更改开关 | 2 | 19:46:10
更改开关 | 2 | 19:46:13
系统锁定 | 2 | 19:51:19
备用设置提醒 | 2 | 22:04:24
管理员登陆 | 3 | 09:39:11
更改开关 | 3 | 09:39:13
系统锁定 | 3 | 09:44:13
报警测试 | 3 | 11:30:00
管理员登陆 | 3 | 19:45:04
更改开关 | 3 | 19:45:06
更改开关 | 3 | 19:45:17
系统锁定 | 3 | 19:50:23
管理员登陆 | 4 | 08:35:14
更改开关 | 4 | 08:35:15
备用设置提醒 | 4 | 08:40:02
系统锁定 | 4 | 08:45:02
报警测试 | 4 | 11:30:00
管理员登陆 | 4 | 14:21:10
更改开关 | 4 | 14:21:14
更改开关 | 4 | 14:21:16
更改开关 | 4 | 14:21:25
系统锁定 | 4 | 14:26:25
管理员登陆 | 5 | 07:58:23
更改开关 | 5 | 07:58:25
系统锁定 | 5 | 08:03:25
报警测试 | 5 | 11:30:00
隧道通风 | 5 | 13:05:08
最小通风 | 5 | 13:51:18
隧道通风 | 5 | 14:35:07
最小通风 | 5 | 14:58:28
管理员登陆 | 5 | 21:28:14
更改开关 | 5 | 21:28:16
系统锁定 | 5 | 21:33:16
管理员登陆 | 6 | 06:56:12
更改开关 | 6 | 06:56:15
系统锁定 | 6 | 07:01:14
隧道通风 | 6 | 10:03:21
管理员登陆 | 6 | 10:56:00
系统锁定 | 6 | 11:01:01
报警测试 | 6 | 11:30:00
备用设置提醒 | 6 | 14:32:07
最小通风 | 6 | 18:11:27
管理员登陆 | 7 | 00:36:25
更改开关 | 7 | 00:36:28
更改开关 | 7 | 00:37:01
系统锁定 | 7 | 00:42:06
管理员登陆 | 7 | 06:16:05
更改开关 | 7 | 06:16:07
系统锁定 | 7 | 06:21:07
隧道通风 | 7 | 09:41:25
报警测试 | 7 | 11:30:00
最小通风 | 7 | 18:19:08
管理员登陆 | 7 | 23:55:05
更改开关 | 7 | 23:55:07
更改开关 | 7 | 23:55:11
系统锁定 | 7 | 00:00:14
管理员登陆 | 8 | 07:04:11
更改开关 | 8 | 07:04:13
系统锁定 | 8 | 07:09:13
报警测试 | 8 | 11:30:00
隧道通风 | 8 | 11:58:01
最小通风 | 8 | 15:54:13
管理员登陆 | 9 | 02:21:24
更改开关 | 9 | 02:21:26
系统锁定 | 9 | 02:26:26
管理员登陆 | 9 | 06:56:22
更改开关 | 9 | 06:56:24
系统锁定 | 9 | 07:01:24
隧道通风 | 9 | 10:36:09
报警测试 | 9 | 11:30:00
最小通风 | 9 | 15:59:05
管理员登陆 | 9 | 22:28:02
系统锁定 | 9 | 22:33:08
隧道通风 | 10 | 10:00:17
最小通风 | 10 | 10:43:13
报警测试 | 10 | 11:30:00
隧道通风 | 10 | 12:47:03
最小通风 | 10 | 13:33:12
隧道通风 | 10 | 14:36:01
最小通风 | 10 | 15:38:19
备用设置提醒 | 10 | 21:14:12
隧道通风 | 11 | 09:27:18
报警测试 | 11 | 11:30:00
最小通风 | 11 | 19:01:24
系统锁定 | 12 | 06:59:19
隧道通风 | 12 | 08:05:13
报警测试 | 12 | 11:30:00
最小通风 | 12 | 19:20:03
隧道通风 | 13 | 08:44:05
报警测试 | 13 | 11:30:00
最小通风 | 13 | 19:03:23
隧道通风 | 14 | 08:22:21
报警测试 | 14 | 11:30:00
最小通风 | 14 | 19:11:16
隧道通风 | 15 | 08:52:10
报警测试 | 15 | 11:30:00
备用设置提醒 | 15 | 12:57:18
最小通风 | 15 | 16:17:03
隧道通风 | 16 | 09:39:10
报警测试 | 16 | 11:30:00
最小通风 | 16 | 14:22:12
隧道通风 | 16 | 14:59:09
系统锁定 | 16 | 16:51:02
最小通风 | 16 | 17:23:22
隧道通风 | 17 | 08:12:26
报警测试 | 17 | 11:30:00
最小通风 | 17 | 18:21:06
隧道通风 | 18 | 09:09:00
最小通风 | 18 | 09:21:11
隧道通风 | 18 | 09:40:02
报警测试 | 18 | 11:30:00
最小通风 | 18 | 18:55:17
隧道通风 | 19 | 08:45:04
报警测试 | 19 | 11:30:00
最小通风 | 19 | 19:40:18
管理员登陆 | 19 | 20:09:15
更改开关 | 19 | 20:09:18
更改开关 | 19 | 20:09:21
系统锁定 | 19 | 20:14:21
隧道通风 | 20 | 08:28:27
报警测试 | 20 | 11:30:00
备用设置提醒 | 20 | 12:40:09
最小通风 | 20 | 19:13:06
系统锁定 | 21 | 07:03:19
隧道通风 | 21 | 08:48:05
报警测试 | 21 | 11:30:00
最小通风 | 21 | 16:23:20
隧道通风 | 22 | 10:56:03
报警测试 | 22 | 11:30:00
最小通风 | 22 | 19:04:13
隧道通风 | 23 | 10:34:03
报警测试 | 23 | 11:30:00
最小通风 | 23 | 19:02:05
管理员登陆 | 23 | 21:11:12
更改开关 | 23 | 21:11:14
更改开关 | 23 | 21:11:23
系统锁定 | 23 | 21:19:00
隧道通风 | 24 | 07:54:13
报警测试 | 24 | 11:30:00
访客登陆 | 24 | 17:17:13
系统锁定 | 24 | 17:22:23
最小通风 | 24 | 23:42:01
隧道通风 | 24 | 23:43:21
最小通风 | 24 | 23:45:02
隧道通风 | 25 | 07:44:23
备用设置提醒 | 25 | 10:40:24
报警测试 | 25 | 11:30:00
最小通风 | 25 | 13:44:17
管理员登陆 | 25 | 15:32:02
更改开关 | 25 | 15:32:05
更改开关 | 25 | 15:32:15
系统锁定 | 25 | 15:37:15
隧道通风 | 25 | 17:29:09
最小通风 | 25 | 18:51:09
隧道通风 | 26 | 08:03:11
访客登陆 | 26 | 10:23:05
系统锁定 | 26 | 10:28:15
报警测试 | 26 | 11:30:00
最小通风 | 26 | 21:44:20
系统锁定 | 27 | 07:17:12
隧道通风 | 27 | 07:59:11
访客登陆 | 27 | 10:18:25
系统锁定 | 27 | 10:24:06
报警测试 | 27 | 11:30:00
最小通风 | 27 | 22:13:08
隧道通风 | 28 | 07:56:16
报警测试 | 28 | 11:30:00
最小通风 | 29 | 03:26:03
报警测试 | 29 | 11:30:00
隧道通风 | 30 | 10:30:17
报警测试 | 30 | 11:30:00
最小通风 | 30 | 14:57:17
访客登陆 | 30 | 16:18:28
系统锁定 | 30 | 16:24:05
重置报警 | 30 | 16:28:00
重置报警 | 30 | 17:08:07
管理员登陆 | 30 | 17:10:00
重置报警 | 30 | 17:10:04
系统锁定 | 30 | 17:26:09
管理员登陆 | 30 | 21:24:01
系统锁定 | 30 | 21:29:08
管理员登陆 | 31 | 07:20:02
系统锁定 | 31 | 07:29:18
管理员登陆 | 31 | 08:52:05
系统锁定 | 31 | 08:59:01
隧道通风 | 31 | 09:04:10
报警测试 | 31 | 11:30:00
管理员登陆 | 31 | 16:12:20
系统锁定 | 31 | 16:18:05
访客登陆 | 31 | 16:29:09
系统锁定 | 31 | 16:34:15
最小通风 | 32 | 01:32:08
隧道通风 | 32 | 07:16:26
报警测试 | 32 | 11:30:00
备用设置提醒 | 32 | 11:31:06
管理员登陆 | 33 | 05:33:21
系统锁定 | 33 | 05:39:13
访客登陆 | 33 | 10:15:14
系统锁定 | 33 | 10:20:20
报警测试 | 33 | 11:30:00
管理员登陆 | 34 | 05:48:09
系统锁定 | 34 | 05:53:15
更改开关 | 34 | 08:27:26
更改开关 | 34 | 08:29:05
系统锁定 | 34 | 08:34:05
报警测试 | 34 | 11:30:00
访客登陆 | 35 | 10:24:13
系统锁定 | 35 | 10:29:24
报警测试 | 35 | 11:30:00
备用设置提醒 | 35 | 17:16:24
最小通风 | 36 | 00:48:10
隧道通风 | 36 | 07:50:26
报警测试 | 36 | 11:30:00
访客登陆 | 37 | 07:13:24
系统锁定 | 37 | 07:19:02
报警测试 | 37 | 11:30:00
管理员登陆 | 37 | 14:59:21
空鸡舍模式 | 37 | 14:59:25
系统锁定 | 37 | 15:04:28
更改开关 | 37 | 18:38:13
系统锁定 | 37 | 18:43:13
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
系统锁定 | 45 | 13:38:04
系统锁定 | 45 | 13:49:17
最小通风 | 45 | 16:42:13
管理员登陆 | 46 | 10:22:22
更改开关 | 46 | 10:44:09
系统锁定 | 46 | 10:49:09
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
电源关闭 | 49 | 09:45:13
电源开启 | 49 | 09:46:05
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
管理员登陆 | 52 | 14:18:25
系统锁定 | 52 | 14:23:26
电源关闭 | 52 | 15:29:07
电源开启 | 52 | 15:32:14
管理员登陆 | 52 | 15:47:12
系统锁定 | 52 | 15:52:18
报警测试 | 53 | 11:30:00
管理员登陆 | 54 | 11:26:18
更改开关 | 54 | 11:26:23
更改开关 | 54 | 11:27:24
更改开关 | 54 | 11:28:06
更改开关 | 54 | 11:28:10
报警测试 | 54 | 11:30:00
系统锁定 | 54 | 11:33:10
新的鸡群 | -1 | 11:43:08
管理员登陆 | 0 | 11:07:11
系统锁定 | 0 | 11:12:18
更改开关 | 0 | 11:21:05
系统锁定 | 0 | 11:26:05
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 11:32:18
普通鸡舍模式 | 0 | 11:32:26
备用设置提醒 | 0 | 11:33:03
更改开关 | 0 | 11:33:05
系统锁定 | 0 | 11:38:10
管理员登陆 | 1 | 05:29:17
系统锁定 | 1 | 05:34:26
报警测试 | 1 | 11:30:00
管理员登陆 | 1 | 22:46:03
更改开关 | 1 | 22:46:19
系统锁定 | 1 | 22:51:19
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
报警测试 | 5 | 11:30:00
备用设置提醒 | 5 | 12:50:22
报警测试 | 6 | 11:30:00
管理员登陆 | 6 | 14:16:13
更改开关 | 6 | 14:16:16
系统锁定 | 6 | 14:21:16
管理员登陆 | 6 | 18:24:22
更改开关 | 6 | 18:24:24
更改开关 | 6 | 18:25:03
更改开关 | 6 | 18:25:09
更改开关 | 6 | 18:25:11
系统锁定 | 6 | 18:31:01
报警测试 | 7 | 11:30:00
更改开关 | 7 | 11:50:15
系统锁定 | 7 | 11:55:15
管理员登陆 | 7 | 18:45:28
更改开关 | 7 | 18:45:29
系统锁定 | 7 | 18:51:10
报警测试 | 8 | 11:30:00
备用设置提醒 | 8 | 23:52:24
报警测试 | 9 | 11:30:00
系统锁定 | 9 | 14:08:03
报警测试 | 10 | 11:30:00
系统锁定 | 10 | 16:26:18
管理员登陆 | 11 | 03:11:21
系统锁定 | 11 | 03:16:29
访客登陆 | 11 | 08:21:16
系统锁定 | 11 | 08:26:25
报警测试 | 11 | 11:30:00
报警测试 | 12 | 11:30:00
备用设置提醒 | 13 | 05:31:06
访客登陆 | 13 | 08:01:24
系统锁定 | 13 | 08:07:03
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
访客登陆 | 15 | 08:45:28
系统锁定 | 15 | 08:51:12
报警测试 | 15 | 11:30:00
更改开关 | 16 | 10:14:05
系统锁定 | 16 | 10:19:05
报警测试 | 16 | 11:30:00
系统锁定 | 16 | 11:34:10
备用设置提醒 | 16 | 18:31:20
管理员登陆 | 16 | 19:13:10
更改开关 | 16 | 19:13:14
系统锁定 | 16 | 19:19:10
访客登陆 | 17 | 08:07:18
系统锁定 | 17 | 08:12:25
更改开关 | 17 | 09:31:21
系统锁定 | 17 | 09:36:21
报警测试 | 17 | 11:30:00
管理员登陆 | 17 | 18:35:08
更改开关 | 17 | 18:35:11
系统锁定 | 17 | 18:40:11
更改开关 | 18 | 08:57:07
系统锁定 | 18 | 09:02:07
报警测试 | 18 | 11:30:00
管理员登陆 | 19 | 03:13:21
系统锁定 | 19 | 03:18:28
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
备用设置提醒 | 20 | 13:02:04
报警测试 | 21 | 11:30:00
更改开关 | 22 | 09:32:13
系统锁定 | 22 | 09:37:13
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
备用设置提醒 | 24 | 06:57:18
报警测试 | 24 | 11:30:00
访客登陆 | 25 | 10:30:03
系统锁定 | 25 | 10:35:09
报警测试 | 25 | 11:30:00
管理员登陆 | 25 | 14:29:04
系统锁定 | 25 | 14:34:08
报警测试 | 26 | 11:30:00
管理员登陆 | 26 | 18:35:18
系统锁定 | 26 | 18:40:29
报警测试 | 27 | 11:30:00
备用设置提醒 | 28 | 10:04:24
报警测试 | 28 | 11:30:00
管理员登陆 | 28 | 14:10:16
系统锁定 | 28 | 14:15:21
报警测试 | 29 | 11:30:00
管理员登陆 | 29 | 18:56:23
系统锁定 | 29 | 19:02:04
报警测试 | 30 | 11:30:00
报警测试 | 31 | 11:30:00
备用设置提醒 | 31 | 12:31:28
管理员登陆 | 32 | 03:02:26
系统锁定 | 32 | 03:08:04
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
管理员登陆 | 34 | 03:32:23
系统锁定 | 34 | 03:37:29
报警测试 | 34 | 11:30:00
备用设置提醒 | 35 | 08:09:18
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
管理员登陆 | 36 | 18:32:25
系统锁定 | 36 | 18:39:07
管理员登陆 | 37 | 05:09:13
空鸡舍模式 | 37 | 05:09:16
更改开关 | 37 | 05:11:15
更改开关 | 37 | 05:11:19
更改开关 | 37 | 05:11:26
更改开关 | 37 | 05:12:07
系统锁定 | 37 | 05:17:07
报警测试 | 37 | 11:30:00
报警测试 | 38 | 11:30:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
电源关闭 | 50 | 15:22:16
电源开启 | 50 | 15:22:17
电源关闭 | 50 | 15:28:26
电源开启 | 50 | 15:28:27
报警测试 | 51 | 11:30:00
系统锁定 | 51 | 19:09:10
报警测试 | 52 | 11:30:00
系统锁定 | 52 | 15:46:14
电源关闭 | 52 | 22:11:23
电源开启 | 52 | 22:11:23
电源关闭 | 52 | 22:23:05
电源开启 | 52 | 22:34:10
报警测试 | 53 | 11:30:00
新的鸡群 | -2 | 15:41:29
报警测试 | -1 | 11:30:00
管理员登陆 | -1 | 11:59:25
更改开关 | -1 | 12:00:05
更改开关 | -1 | 12:00:12
更改开关 | -1 | 12:00:18
系统锁定 | -1 | 12:05:18

## Temperature
GrowthDay | MinimumValue | AverageValue | MaximumValue
-2 | 20.9 | 20.9 | 26.0
-1 | 18.7 | 32.3 | 33.3
0 | 31.7 | 31.8 | 33.3

## Water
GrowthDay | TotalDrinkDaily | TotalDrinkChange | Water_1Daily | Water_1Change | Water_2Daily | Water_2Change | Water_3Daily | Water_3Change | Water_4Daily | Water_4Change | TotalWater | Coolpad | Fogger | Flushing
-2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0
-1 | 150 | 不详 | 150 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 150 | 0 | 0 | 0
0 | 0 | -100 | 0 | -100 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0