## Alarms
Message | GrowthDay | Time
报警器测试 | 1 | 11:30:00
报警器测试 | 2 | 11:30:00
报警器测试 | 3 | 11:30:00
报警器测试 | 4 | 11:30:00
报警器测试 | 5 | 11:30:00
低压 | 5 | 11:48:20
低压 | 5 | 11:58:20
低压 | 5 | 12:23:21
报警器测试 | 6 | 11:30:00
报警器测试 | 7 | 11:30:00
报警器测试 | 8 | 11:30:00
报警器测试 | 9 | 11:30:00
水短缺 | 10 | 06:18:01
报警器测试 | 10 | 11:30:00
报警器测试 | 11 | 11:30:00
传感器6高温 | 12 | 09:46:16
报警器测试 | 12 | 11:30:00
报警器测试 | 13 | 11:30:00
报警器测试 | 14 | 11:30:00
报警器测试 | 15 | 11:30:00
报警器测试 | 16 | 11:30:00
水短缺 | 17 | 06:45:29
报警器测试 | 17 | 11:30:00
报警器测试 | 18 | 11:30:00
报警器测试 | 19 | 11:30:00
报警器测试 | 20 | 11:30:00
报警器测试 | 21 | 11:30:00
报警器测试 | 22 | 11:30:00
报警器测试 | 23 | 11:30:00
报警器测试 | 24 | 11:30:00
报警器测试 | 25 | 11:30:00
传感器3高温 | 26 | 02:26:07
报警器测试 | 26 | 11:30:00
报警器测试 | 27 | 11:30:00
报警器测试 | 28 | 11:30:00
报警器测试 | 29 | 11:30:00
报警器测试 | 30 | 11:30:00
报警器测试 | 31 | 11:30:00
报警器测试 | 32 | 11:30:00
报警器测试 | 33 | 11:30:00
报警器测试 | 34 | 11:30:00
报警器测试 | 35 | 11:30:00
报警器测试 | 36 | 11:30:00
报警器测试 | 37 | 11:30:00

## CO2
GrowthDay | MinimumValue | AverageValue | MaximumValue
0 | 不详 | 不详 | 不详
1 | 不详 | 不详 | 不详
2 | 不详 | 不详 | 不详
3 | 不详 | 不详 | 不详
4 | 不详 | 不详 | 不详
5 | 不详 | 不详 | 不详
6 | 不详 | 不详 | 不详
7 | 不详 | 不详 | 不详
8 | 不详 | 不详 | 不详
9 | 不详 | 不详 | 不详
10 | 不详 | 不详 | 不详
11 | 不详 | 不详 | 不详
12 | 不详 | 不详 | 不详
13 | 不详 | 不详 | 不详
14 | 不详 | 不详 | 不详
15 | 不详 | 不详 | 不详
16 | 不详 | 不详 | 不详
17 | 不详 | 不详 | 不详
18 | 不详 | 不详 | 不详
19 | 不详 | 不详 | 不详
20 | 不详 | 不详 | 不详
21 | 不详 | 不详 | 不详
22 | 不详 | 不详 | 不详
23 | 不详 | 不详 | 不详
24 | 不详 | 不详 | 不详
25 | 不详 | 不详 | 不详
26 | 不详 | 不详 | 不详
27 | 不详 | 不详 | 不详
28 | 不详 | 不详 | 不详
29 | 不详 | 不详 | 不详
30 | 不详 | 不详 | 不详
31 | 不详 | 不详 | 不详
32 | 不详 | 不详 | 不详
33 | 不详 | 不详 | 不详
34 | 不详 | 不详 | 不详
35 | 不详 | 不详 | 不详
36 | 不详 | 不详 | 不详
37 | 不详 | 不详 | 不详
38 | 不详 | 不详 | 不详

## Feed
GrowthDay | FeederTotal | ChangeTotal | Feeder_1 | ChangeFeeder_1 | Feeder_2 | ChangeFeeder_2 | Feeder_3 | ChangeFeeder_3 | Feeder_4 | ChangeFeeder_4
0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
1 | 5 | 不详 | 5 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
2 | 630 | 12508 | 630 | 12508 | 0 | 不详 | 0 | 不详 | 0 | 不详
3 | 971 | 54 | 971 | 54 | 0 | 不详 | 0 | 不详 | 0 | 不详
4 | 319 | -68 | 319 | -68 | 0 | 不详 | 0 | 不详 | 0 | 不详
5 | 492 | 54 | 492 | 54 | 0 | 不详 | 0 | 不详 | 0 | 不详
6 | 690 | 40 | 690 | 40 | 0 | 不详 | 0 | 不详 | 0 | 不详
7 | 1056 | 52 | 1056 | 52 | 0 | 不详 | 0 | 不详 | 0 | 不详
8 | 1205 | 14 | 1205 | 14 | 0 | 不详 | 0 | 不详 | 0 | 不详
9 | 1381 | 14 | 1381 | 14 | 0 | 不详 | 0 | 不详 | 0 | 不详
10 | 1647 | 19 | 1647 | 19 | 0 | 不详 | 0 | 不详 | 0 | 不详
11 | 2006 | 21 | 2006 | 21 | 0 | 不详 | 0 | 不详 | 0 | 不详
12 | 2516 | 25 | 2516 | 25 | 0 | 不详 | 0 | 不详 | 0 | 不详
13 | 2565 | 1 | 2565 | 1 | 0 | 不详 | 0 | 不详 | 0 | 不详
14 | 2549 | 不详 | 2549 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
15 | 2802 | 9 | 2802 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详
16 | 3369 | 20 | 3369 | 20 | 0 | 不详 | 0 | 不详 | 0 | 不详
17 | 2993 | -12 | 2993 | -12 | 0 | 不详 | 0 | 不详 | 0 | 不详
18 | 3459 | 15 | 3459 | 15 | 0 | 不详 | 0 | 不详 | 0 | 不详
19 | 3626 | 4 | 3626 | 4 | 0 | 不详 | 0 | 不详 | 0 | 不详
20 | 3590 | -2 | 3590 | -2 | 0 | 不详 | 0 | 不详 | 0 | 不详
21 | 3782 | 5 | 3782 | 5 | 0 | 不详 | 0 | 不详 | 0 | 不详
22 | 3897 | 3 | 3897 | 3 | 0 | 不详 | 0 | 不详 | 0 | 不详
23 | 3898 | 0 | 3898 | 0 | 0 | 不详 | 0 | 不详 | 0 | 不详
24 | 4055 | 4 | 4055 | 4 | 0 | 不详 | 0 | 不详 | 0 | 不详
25 | 4863 | 19 | 4863 | 19 | 0 | 不详 | 0 | 不详 | 0 | 不详
26 | 4432 | -9 | 4432 | -9 | 0 | 不详 | 0 | 不详 | 0 | 不详
27 | 5026 | 13 | 5026 | 13 | 0 | 不详 | 0 | 不详 | 0 | 不详
28 | 4706 | -7 | 4706 | -7 | 0 | 不详 | 0 | 不详 | 0 | 不详
29 | 4742 | 0 | 4742 | 0 | 0 | 不详 | 0 | 不详 | 0 | 不详
30 | 5049 | 6 | 5049 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详
31 | 5368 | 6 | 5368 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详
32 | 4707 | -13 | 4707 | -13 | 0 | 不详 | 0 | 不详 | 0 | 不详
33 | 4822 | 2 | 4822 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详
34 | 4405 | -9 | 4405 | -9 | 0 | 不详 | 0 | 不详 | 0 | 不详
35 | 4858 | 10 | 4858 | 10 | 0 | 不详 | 0 | 不详 | 0 | 不详
36 | 4736 | -3 | 4736 | -3 | 0 | 不详 | 0 | 不详 | 0 | 不详
37 | 4531 | -5 | 4531 | -5 | 0 | 不详 | 0 | 不详 | 0 | 不详
38 | 0 | -100 | 0 | -100 | 0 | 不详 | 0 | 不详 | 0 | 不详

## Heaters
GrowthDay | Heater_1 | Heater_2 | Heater_3 | Heater_4 | Heater_5 | Heater_6 | Heater_7

## History View
GROWTH_DAY | HISTORY_TIME | TARGET_TEMP | HOUSE_TEMP_MIN | HOUSE_TEMP_AVG | HOUSE_TEMP_MAX | TEMP_1_AVG | TEMP_2_AVG | TEMP_3_AVG | TEMP_4_AVG | TEMP_5_AVG | TEMP_6_AVG | OUTSIDE_AVG | HUMIDITY_IN_1_AVG | HUMIDITY_OUT_AVG | WATER_CON | FEED_CON | LEVEL
0 | 01:00 | 35.2 | 34.2 | 35.8 | 35.9 | 36.0 | 35.9 | 35.8 | 35.8 | 35.9 | 35.8 | 16.5 | 67 | --- | 0 | 0 | 1
0 | 02:00 | 35.2 | 34.2 | 34.6 | 36.0 | 34.7 | 34.6 | 34.7 | 34.6 | 34.6 | 34.4 | 15.3 | 65.9 | --- | 0 | 0 | 1
0 | 03:00 | 35.2 | 34.2 | 35.7 | 35.8 | 35.7 | 35.5 | 35.8 | 36.0 | 35.5 | 35.5 | 14.5 | 65.9 | --- | 0 | 0 | 1
0 | 04:00 | 35.2 | 34.1 | 34.5 | 35.9 | 34.4 | 34.3 | 34.5 | 34.6 | 34.7 | 34.4 | 14.4 | 65 | --- | 0 | 0 | 1
0 | 05:00 | 35.2 | 34.1 | 35.3 | 35.8 | 35.5 | 35.4 | 35.5 | 35.3 | 35.2 | 35.1 | 14.0 | 66 | --- | 0 | 0 | 1
0 | 06:00 | 35.2 | 34.2 | 34.9 | 35.9 | 35.2 | 34.9 | 34.8 | 35.2 | 34.8 | 34.3 | 13.6 | 65.9 | --- | 0 | 0 | 1
0 | 07:00 | 35.2 | 34.1 | 34.6 | 35.7 | 34.0 | 34.6 | 34.8 | 34.8 | 34.8 | 34.5 | 15.5 | 64 | --- | 0 | 0 | 1
0 | 08:00 | 35.2 | 34.1 | 35.7 | 36.0 | 35.7 | 35.6 | 36.0 | 36.0 | 35.6 | 35.6 | 18.8 | 63.5 | --- | 0 | 0 | 1
0 | 09:00 | 35.2 | 34.2 | 35.3 | 36.0 | 35.3 | 35.3 | 35.5 | 35.3 | 35.3 | 35.2 | 21.2 | 61 | --- | 0 | 0 | 1
0 | 10:00 | 35.1 | 34.2 | 34.2 | 35.7 | 34.2 | 34.1 | 34.2 | 34.2 | 34.3 | 34.3 | 26.5 | 60.9 | --- | 0 | 0 | 1
0 | 11:00 | 35.1 | 34.1 | 34.2 | 36.0 | 34.1 | 34.4 | 34.3 | 34.2 | 34.1 | 34.2 | 28.1 | 60.9 | --- | 0 | 0 | 1
0 | 12:00 | 35.1 | 34.2 | 34.2 | 36.2 | 34.2 | 34.1 | 34.4 | 34.1 | 34.2 | 34.2 | 22.8 | 59 | --- | 0 | 0 | 1
0 | 13:00 | 35.1 | 34.2 | 34.2 | 36.0 | 34.1 | 34.0 | 34.1 | 34.2 | 34.4 | 34.4 | 22.1 | 57.9 | --- | 0 | 0 | 1
0 | 14:00 | 35.1 | 34.1 | 34.5 | 36.0 | 34.8 | 34.4 | 34.7 | 34.2 | 34.3 | 34.4 | 20.2 | 56.9 | --- | 0 | 0 | 1
0 | 15:00 | 35.1 | 33.7 | 34.6 | 35.8 | 31.0 | 34.0 | 35.7 | 35.8 | 35.8 | 35.5 | 21.5 | 57 | --- | 20 | 0 | 1
0 | 16:00 | 35.1 | 34.2 | 35.6 | 36.9 | 35.3 | 35.5 | 36.0 | 35.7 | 35.6 | 35.3 | 19.2 | 59.3 | --- | 10 | 0 | 1
0 | 17:00 | 35.1 | 34.2 | 35.0 | 35.6 | 34.8 | 34.9 | 35.1 | 35.0 | 35.2 | 34.9 | 18.1 | 63 | --- | 40 | 0 | 1
0 | 18:00 | 35.1 | 34.3 | 34.4 | 35.1 | 34.0 | 34.2 | 34.8 | 34.8 | 34.7 | 34.1 | 16.5 | 63.9 | --- | 30 | 0 | 1
0 | 19:00 | 35.0 | 34.4 | 35.0 | 35.0 | 34.8 | 34.9 | 35.3 | 35.0 | 35.2 | 34.6 | 15.7 | 66 | --- | 20 | 0 | 1
0 | 20:00 | 35.0 | 34.2 | 34.3 | 35.0 | 34.2 | 34.3 | 34.5 | 34.2 | 34.4 | 34.0 | 15.4 | 65.9 | --- | 30 | 0 | 1
0 | 21:00 | 35.0 | 34.1 | 34.1 | 35.0 | 34.2 | 34.3 | 34.2 | 34.0 | 34.3 | 33.8 | 14.6 | 63.9 | --- | 20 | 0 | 1
0 | 22:00 | 35.0 | 34.1 | 34.5 | 35.3 | 34.3 | 34.7 | 34.8 | 34.4 | 34.6 | 34.3 | 14.4 | 62.9 | --- | 30 | 0 | 1
0 | 23:00 | 35.0 | 34.0 | 34.4 | 35.6 | 34.4 | 34.5 | 34.7 | 34.5 | 34.5 | 34.0 | 14.0 | 64.9 | --- | 20 | 0 | 1
0 | 00:00 | 35.3 | 34.0 | 34.2 | 35.6 | 33.9 | 34.3 | 34.4 | 34.2 | 34.2 | 34.0 | 14.1 | 63 | --- | 20 | 0 | 1
1 | 01:00 | 35.0 | 34.0 | 35.2 | 35.5 | 34.9 | 35.4 | 35.7 | 35.3 | 35.3 | 34.8 | 14.1 | 62.9 | --- | 10 | 0 | 1
1 | 02:00 | 35.0 | 34.1 | 34.5 | 35.2 | 34.8 | 34.5 | 34.7 | 34.4 | 34.5 | 33.9 | 13.2 | 64.4 | --- | 20 | 0 | 1
1 | 03:00 | 34.9 | 33.9 | 33.9 | 35.4 | 33.8 | 33.8 | 34.1 | 33.9 | 34.1 | 33.7 | 13.5 | 62.9 | --- | 10 | 0 | 1
1 | 04:00 | 34.9 | 33.9 | 34.0 | 35.1 | 34.2 | 33.9 | 34.1 | 34.2 | 34.2 | 33.7 | 12.8 | 62.9 | --- | 20 | 0 | 1
1 | 05:00 | 34.9 | 34.0 | 34.2 | 34.9 | 34.1 | 34.1 | 34.4 | 34.3 | 34.3 | 33.7 | 12.6 | 64.9 | --- | 10 | 0 | 1
1 | 06:00 | 34.8 | 34.0 | 34.0 | 34.9 | 33.8 | 33.9 | 34.2 | 34.3 | 34.3 | 33.7 | 13.3 | 63.9 | --- | 20 | 0 | 1
1 | 07:00 | 34.8 | 34.0 | 34.5 | 34.7 | 34.1 | 34.5 | 34.7 | 34.7 | 34.9 | 34.3 | 16.7 | 65 | --- | 10 | 0 | 1
1 | 08:00 | 34.8 | 34.1 | 34.6 | 34.7 | 34.3 | 34.5 | 34.9 | 34.8 | 34.8 | 34.5 | 19.2 | 67 | --- | 10 | 0 | 1
1 | 09:00 | 34.8 | 33.9 | 34.5 | 35.2 | 34.2 | 34.6 | 34.6 | 34.5 | 34.6 | 34.3 | 22.4 | 64 | --- | 20 | 0 | 1
1 | 10:00 | 34.8 | 33.8 | 34.5 | 35.5 | 34.3 | 34.5 | 34.6 | 34.7 | 34.6 | 34.2 | 25.2 | 62.9 | --- | 10 | 5 | 1
1 | 11:00 | 34.7 | 33.9 | 34.7 | 35.2 | 34.6 | 34.7 | 34.9 | 34.7 | 34.8 | 34.5 | 27.8 | 62 | --- | 10 | 0 | 1
1 | 12:00 | 34.7 | 33.8 | 35.0 | 35.2 | 34.7 | 35.0 | 35.2 | 35.1 | 35.1 | 34.8 | 23.8 | 61.9 | --- | 20 | 0 | 2
1 | 13:00 | 34.7 | 33.9 | 34.6 | 35.0 | 34.3 | 34.5 | 34.8 | 34.6 | 34.8 | 34.6 | 23.5 | 63 | --- | 20 | 0 | 1
1 | 14:00 | 34.7 | 33.9 | 34.6 | 34.8 | 34.3 | 34.5 | 34.6 | 34.6 | 34.8 | 34.6 | 22.6 | 62 | --- | 20 | 0 | 1
1 | 15:00 | 34.6 | 33.8 | 34.7 | 34.8 | 34.4 | 34.5 | 34.7 | 34.8 | 34.9 | 34.7 | 22.3 | 61.9 | --- | 20 | 0 | 1
1 | 16:00 | 34.6 | 33.8 | 34.3 | 34.9 | 34.2 | 34.2 | 34.5 | 34.5 | 34.6 | 34.2 | 21.5 | 61 | --- | 30 | 0 | 1
1 | 17:00 | 34.6 | 33.7 | 33.8 | 35.4 | 33.6 | 33.8 | 34.0 | 33.8 | 34.0 | 33.8 | 19.7 | 61.9 | --- | 20 | 0 | 1
1 | 18:00 | 34.6 | 33.8 | 34.3 | 34.7 | 33.9 | 34.0 | 34.5 | 34.4 | 34.6 | 34.2 | 17.0 | 64.9 | --- | 30 | 0 | 1
1 | 19:00 | 34.5 | 33.8 | 34.4 | 34.7 | 34.3 | 34.3 | 34.5 | 34.5 | 34.7 | 34.3 | 16.3 | 65 | --- | 30 | 0 | 1
1 | 20:00 | 34.5 | 33.6 | 34.2 | 34.8 | 34.6 | 34.5 | 34.5 | 34.3 | 34.1 | 33.5 | 16.2 | 66.1 | --- | 40 | 0 | 1
1 | 21:00 | 34.5 | 33.6 | 34.3 | 35.1 | 34.1 | 34.4 | 34.7 | 34.4 | 34.5 | 34.0 | 16.3 | 63.9 | --- | 40 | 0 | 1
1 | 22:00 | 34.5 | 33.5 | 34.6 | 35.0 | 34.5 | 34.7 | 34.7 | 34.9 | 34.5 | 34.2 | 16.0 | 65.9 | --- | 30 | 0 | 1
1 | 23:00 | 34.4 | 33.5 | 33.8 | 35.0 | 33.5 | 33.6 | 34.0 | 33.9 | 34.2 | 33.6 | 15.1 | 64.8 | --- | 40 | 0 | 1
1 | 00:00 | 34.4 | 33.4 | 34.3 | 35.0 | 34.0 | 34.2 | 34.6 | 34.4 | 34.6 | 34.1 | 14.1 | 65.1 | --- | 40 | 0 | 1
2 | 01:00 | 34.4 | 33.4 | 34.5 | 35.1 | 34.3 | 34.3 | 34.6 | 34.5 | 34.8 | 34.3 | 14.1 | 66 | --- | 30 | 0 | 2
2 | 02:00 | 34.4 | 33.4 | 34.4 | 34.5 | 34.2 | 34.3 | 34.5 | 34.5 | 34.7 | 34.2 | 14.0 | 67 | --- | 30 | 0 | 2
2 | 03:00 | 34.3 | 33.4 | 34.3 | 34.7 | 34.4 | 34.4 | 34.4 | 34.4 | 34.6 | 33.8 | 14.2 | 66 | --- | 30 | 0 | 2
2 | 04:00 | 34.3 | 33.3 | 34.7 | 34.8 | 34.6 | 34.7 | 35.0 | 34.9 | 34.9 | 34.2 | 13.8 | 66.9 | --- | 30 | 0 | 2
2 | 05:00 | 34.3 | 33.4 | 34.5 | 34.7 | 34.4 | 34.5 | 34.7 | 34.5 | 34.6 | 34.1 | 13.7 | 66 | --- | 30 | 0 | 2

## Humidity
GrowthDay | MinimumValue | AverageValue | MaximumValue
0 | 53 | 63 | 69
1 | 60 | 65 | 68
2 | 64 | 75 | 77
3 | 59 | 64 | 76
4 | 61 | 65 | 66
5 | 61 | 65 | 67
6 | 56 | 64 | 66
7 | 48 | 63 | 65
8 | 50 | 63 | 66
9 | 50 | 63 | 66
10 | 51 | 63 | 66
11 | 62 | 68 | 70
12 | 58 | 68 | 70
13 | 58 | 69 | 71
14 | 65 | 71 | 72
15 | 69 | 73 | 73
16 | 62 | 68 | 75
17 | 63 | 65 | 71
18 | 58 | 67 | 70
19 | 63 | 69 | 71
20 | 65 | 66 | 72
21 | 50 | 64 | 70
22 | 55 | 68 | 70
23 | 60 | 69 | 71
24 | 68 | 73 | 75
25 | 69 | 71 | 75
26 | 59 | 66 | 74
27 | 47 | 64 | 71
28 | 52 | 71 | 72
29 | 59 | 70 | 73
30 | 56 | 68 | 72
31 | 47 | 63 | 70
32 | 47 | 67 | 70
33 | 45 | 65 | 69
34 | 44 | 59 | 69
35 | 42 | 65 | 69
36 | 46 | 68 | 70
37 | 53 | 72 | 73
38 | 72 | 75 | 77

## Mortality
GrowthDay | TotalMortality | TotalCulled | TotalTotal | TotalPercent | TotalUpdate | MaleMortality | MaleCulled | MaleTotal | MalePercent | MaleUpdate | FemaleMortality | FemaleCulled | FemaleTotal | FemalePercent | FemaleUpdate
0 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
1 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
2 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
3 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
4 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
5 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
6 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
7 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
8 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
9 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
10 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
11 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
12 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
13 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
14 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
15 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
16 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
17 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
18 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
19 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
20 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
21 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
22 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
23 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
24 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
25 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
26 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
27 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
28 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
29 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
30 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
31 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
32 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
33 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
34 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
35 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
36 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
37 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000
38 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 10000

## Power Consumption
GrowthDay | Heaters | Fans | Lights | Others | ToalPerDay | ChangeRate
0 | 0 | 0 | 0 | 0 | 0 | 不详
1 | 0 | 0 | 0 | 0 | 0 | 不详
2 | 0 | 0 | 0 | 0 | 0 | 不详
3 | 0 | 0 | 0 | 0 | 0 | 不详
4 | 0 | 0 | 0 | 0 | 0 | 不详
5 | 0 | 0 | 0 | 0 | 0 | 不详
6 | 0 | 0 | 0 | 0 | 0 | 不详
7 | 0 | 0 | 0 | 0 | 0 | 不详
8 | 0 | 0 | 0 | 0 | 0 | 不详
9 | 0 | 0 | 0 | 0 | 0 | 不详
10 | 0 | 0 | 0 | 0 | 0 | 不详
11 | 0 | 0 | 0 | 0 | 0 | 不详
12 | 0 | 0 | 0 | 0 | 0 | 不详
13 | 0 | 0 | 0 | 0 | 0 | 不详
14 | 0 | 0 | 0 | 0 | 0 | 不详
15 | 0 | 0 | 0 | 0 | 0 | 不详
16 | 0 | 0 | 0 | 0 | 0 | 不详
17 | 0 | 0 | 0 | 0 | 0 | 不详
18 | 0 | 0 | 0 | 0 | 0 | 不详
19 | 0 | 0 | 0 | 0 | 0 | 不详
20 | 0 | 0 | 0 | 0 | 0 | 不详
21 | 0 | 0 | 0 | 0 | 0 | 不详
22 | 0 | 0 | 0 | 0 | 0 | 不详
23 | 0 | 0 | 0 | 0 | 0 | 不详
24 | 0 | 0 | 0 | 0 | 0 | 不详
25 | 0 | 0 | 0 | 0 | 0 | 不详
26 | 0 | 0 | 0 | 0 | 0 | 不详
27 | 0 | 0 | 0 | 0 | 0 | 不详
28 | 0 | 0 | 0 | 0 | 0 | 不详
29 | 0 | 0 | 0 | 0 | 0 | 不详
30 | 0 | 0 | 0 | 0 | 0 | 不详
31 | 0 | 0 | 0 | 0 | 0 | 不详
32 | 0 | 0 | 0 | 0 | 0 | 不详
33 | 0 | 0 | 0 | 0 | 0 | 不详
34 | 0 | 0 | 0 | 0 | 0 | 不详
35 | 0 | 0 | 0 | 0 | 0 | 不详
36 | 0 | 0 | 0 | 0 | 0 | 不详
37 | 0 | 0 | 0 | 0 | 0 | 不详
38 | 0 | 0 | 0 | 0 | 0 | 不详

## Radiant Heaters
GrowthDay | Low_1 | High_1 | Low_2 | High_2 | Low_3 | High_3 | Low_4 | High_4 | Low_5 | High_5 | Low_6 | High_6 | Low_7 | High_7 | Low_8 | High_8 | Low_9 | High_9 | Low_10 | High_10 | Low_11 | High_11 | Low_12 | High_12 | Low_13 | High_13 | Low_14 | High_14 | Low_15 | High_15 | Low_16 | High_16
0 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
2 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
3 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
4 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
5 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
6 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
7 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
8 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
9 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
10 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
11 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
12 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
13 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
14 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
15 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
16 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
17 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
18 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
19 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
20 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
21 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
22 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
23 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
24 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
25 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
26 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
27 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
28 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
29 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
30 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
31 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
32 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
33 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
34 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
35 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
36 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
37 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
38 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## Scale History
GrowthDay | Common_Weight | Common_NumOfWeights | Common_StandardDev | Common_Uniformity | Common_CV | Common_DailyGain | Scale1Female1_Weight | Scale1Female1_NumOfWeights | Scale1Female1_StandardDev | Scale1Female1_Uniformity | Scale1Female1_CV | Scale1Female1_DailyGain | Scale2Male1_Weight | Scale2Male1_NumOfWeights | Scale2Male1_StandardDev | Scale2Male1_Uniformity | Scale2Male1_CV | Scale2Male1_DailyGain
0 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
1 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
2 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
3 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
4 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
5 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
6 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
7 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
8 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
9 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
10 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
11 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
12 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
13 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
14 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
15 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
16 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
17 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
18 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
19 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
20 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
21 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
22 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
23 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
24 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
25 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
26 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
27 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
28 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
29 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
30 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
31 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
32 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
33 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
34 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
35 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
36 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
37 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000
38 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000 | 0.000 | 0 | 0.000 | 0 | 0 | 0.000

## Table Of Events
Message | GrowthDay | Time
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
系统锁定 | 12 | 04:15:14
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
备用设置提醒 | 13 | 13:04:24
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
更改开关 | 18 | 12:58:19
更改开关 | 18 | 12:58:25
系统锁定 | 18 | 13:03:25
重置报警 | 18 | 13:55:04
备用设置提醒 | 18 | 14:02:12
报警测试 | 19 | 11:30:00
报警测试 | 20 | 11:30:00
管理员登陆 | 21 | 10:44:17
系统锁定 | 21 | 10:49:29
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
管理员登陆 | 23 | 19:38:21
系统锁定 | 23 | 19:44:07
报警测试 | 24 | 11:30:00
备用设置提醒 | 25 | 09:16:24
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
备用设置提醒 | 31 | 07:48:00
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
重置报警 | 36 | 06:34:25
重置报警 | 36 | 06:38:00
重置报警 | 36 | 06:41:12
重置报警 | 36 | 09:52:17
重置报警 | 36 | 09:55:24
重置报警 | 36 | 10:01:29
重置报警 | 36 | 10:10:26
报警测试 | 36 | 11:30:00
备用设置提醒 | 36 | 22:12:00
报警测试 | 37 | 11:30:00
重置报警 | 38 | 04:19:13
空鸡舍模式 | 38 | 04:54:04
报警测试 | 38 | 11:30:00
管理员登陆 | 38 | 14:36:17
更改开关 | 38 | 14:37:06
系统锁定 | 38 | 14:42:13
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
电源关闭 | 47 | 12:12:03
电源开启 | 47 | 12:12:08
电源关闭 | 47 | 12:12:13
电源开启 | 47 | 09:17:04
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
报警测试 | 53 | 11:30:00
报警测试 | 54 | 11:30:00
报警测试 | 55 | 11:30:00
报警测试 | 56 | 11:30:00
报警测试 | 57 | 11:30:00
更改开关 | 57 | 16:13:20
更改开关 | 57 | 16:13:27
更改开关 | 57 | 16:14:02
系统锁定 | 57 | 16:19:02
新的鸡群 | -2 | 16:25:13
报警测试 | -1 | 11:30:00
电源关闭 | -1 | 12:29:14
电源开启 | -1 | 12:29:29
系统锁定 | -1 | 14:14:19
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 17:07:08
系统锁定 | 0 | 17:12:18
普通鸡舍模式 | 1 | 01:06:08
备用设置提醒 | 1 | 01:06:08
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
访客登陆 | 2 | 13:46:19
系统锁定 | 2 | 13:52:23
报警测试 | 3 | 11:30:00
报警测试 | 4 | 11:30:00
备用设置提醒 | 4 | 15:38:01
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
备用设置提醒 | 6 | 12:05:24
系统锁定 | 7 | 09:31:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
备用设置提醒 | 9 | 20:02:12
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
访客登陆 | 11 | 16:16:15
系统锁定 | 11 | 16:21:29
管理员登陆 | 11 | 20:01:27
系统锁定 | 11 | 20:07:19
报警测试 | 12 | 11:30:00
报警测试 | 13 | 11:30:00
备用设置提醒 | 14 | 05:52:24
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
报警测试 | 19 | 11:30:00
备用设置提醒 | 20 | 06:21:18
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
报警测试 | 22 | 11:30:00
报警测试 | 23 | 11:30:00
管理员登陆 | 24 | 09:03:19
系统锁定 | 24 | 09:10:02
报警测试 | 24 | 11:30:00
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
备用设置提醒 | 28 | 00:00:00
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
系统锁定 | 31 | 07:50:08
系统锁定 | 31 | 08:50:25
重置报警 | 31 | 08:56:20
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
备用设置提醒 | 34 | 14:45:18
报警测试 | 35 | 11:30:00
报警测试 | 36 | 11:30:00
管理员登陆 | 37 | 05:32:22
系统锁定 | 37 | 05:38:26
管理员登陆 | 37 | 10:37:19
系统锁定 | 37 | 10:43:26
报警测试 | 37 | 11:30:00
系统锁定 | 38 | 01:21:23
备用设置提醒 | 38 | 04:26:12
报警测试 | 38 | 11:30:00
更改开关 | 38 | 15:40:04
空鸡舍模式 | 38 | 15:41:00
重置报警 | 38 | 15:41:00
更改开关 | 38 | 15:41:06
系统锁定 | 38 | 15:50:23
管理员登陆 | 38 | 15:52:18
系统锁定 | 38 | 15:58:06
系统锁定 | 39 | 06:09:23
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
电源关闭 | 41 | 14:13:14
电源开启 | 41 | 15:48:28
报警测试 | 43 | 11:30:00
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
系统锁定 | 47 | 10:00:24
报警测试 | 47 | 11:30:00
系统锁定 | 48 | 09:54:26
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
系统锁定 | 50 | 06:52:09
系统锁定 | 50 | 07:05:13
系统锁定 | 50 | 08:58:08
报警测试 | 50 | 11:30:00
电源关闭 | 50 | 14:17:18
电源开启 | 50 | 15:25:08
报警测试 | 51 | 11:30:00
报警测试 | 52 | 11:30:00
报警测试 | 53 | 11:30:00
报警测试 | 54 | 11:30:00
新的鸡群 | -1 | 08:34:25
电源关闭 | -1 | 08:54:05
电源开启 | -1 | 08:54:25
电源关闭 | -1 | 08:55:29
电源开启 | -1 | 08:56:14
报警测试 | -1 | 11:30:00
系统锁定 | -1 | 13:19:07
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 17:07:00
系统锁定 | 0 | 17:13:25
管理员登陆 | 0 | 18:16:14
系统锁定 | 0 | 18:21:22
普通鸡舍模式 | 0 | 21:02:05
备用设置提醒 | 0 | 21:02:06
报警测试 | 1 | 11:30:00
管理员登陆 | 1 | 11:39:06
系统锁定 | 1 | 11:44:18
电源关闭 | 1 | 14:47:15
电源开启 | 1 | 14:48:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
备用设置提醒 | 3 | 20:35:15
报警测试 | 4 | 11:30:00
备用设置提醒 | 5 | 06:09:03
报警测试 | 5 | 11:30:00
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
备用设置提醒 | 8 | 03:43:06
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
报警测试 | 10 | 11:30:00
报警测试 | 11 | 11:30:00
管理员登陆 | 12 | 05:31:11
系统锁定 | 12 | 05:36:24
报警测试 | 12 | 11:30:00
备用设置提醒 | 13 | 04:40:24
报警测试 | 13 | 11:30:00
报警测试 | 14 | 11:30:00
报警测试 | 15 | 11:30:00
报警测试 | 16 | 11:30:00
访客登陆 | 16 | 16:47:15
系统锁定 | 16 | 16:52:19
管理员登陆 | 17 | 09:58:16
重置报警 | 17 | 09:58:23
系统锁定 | 17 | 10:03:28
报警测试 | 17 | 11:30:00
管理员登陆 | 17 | 19:26:22
更改开关 | 17 | 19:26:25
系统锁定 | 17 | 19:32:02
备用设置提醒 | 18 | 07:29:08
报警测试 | 18 | 11:30:00
系统锁定 | 19 | 10:43:20
重置报警 | 19 | 10:48:21
报警测试 | 19 | 11:30:00
管理员登陆 | 19 | 19:33:03
更改开关 | 19 | 19:33:06
系统锁定 | 19 | 19:39:19
系统锁定 | 20 | 08:07:27
重置报警 | 20 | 08:13:03
报警测试 | 20 | 11:30:00
管理员登陆 | 20 | 21:11:20
更改开关 | 20 | 21:11:23
系统锁定 | 20 | 21:16:23
系统锁定 | 21 | 06:59:21
系统锁定 | 21 | 07:04:22
重置报警 | 21 | 07:09:27
系统锁定 | 21 | 11:16:04
重置报警 | 21 | 11:21:22
报警测试 | 21 | 11:30:00
备用设置提醒 | 22 | 02:52:24
系统锁定 | 22 | 06:02:01
重置报警 | 22 | 06:07:21
报警测试 | 22 | 11:30:00
管理员登陆 | 22 | 20:01:09
更改开关 | 22 | 20:01:12
系统锁定 | 22 | 20:06:20
系统锁定 | 23 | 07:43:21
重置报警 | 23 | 07:49:09
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
隧道通风 | 24 | 13:18:09
最小通风 | 24 | 17:36:16
隧道通风 | 25 | 10:21:07
报警测试 | 25 | 11:30:00
最小通风 | 25 | 18:51:16
管理员登陆 | 25 | 20:19:14
系统锁定 | 25 | 20:24:28
报警测试 | 26 | 11:30:00
备用设置提醒 | 27 | 09:58:28
报警测试 | 27 | 11:30:00
报警测试 | 28 | 11:30:00
管理员登陆 | 28 | 20:18:00
系统锁定 | 28 | 20:23:23
报警测试 | 29 | 11:30:00
隧道通风 | 29 | 12:08:25
最小通风 | 29 | 17:22:27
隧道通风 | 30 | 10:51:17
报警测试 | 30 | 11:30:00
最小通风 | 30 | 20:24:29
隧道通风 | 31 | 08:45:18
报警测试 | 31 | 11:30:00
备用设置提醒 | 31 | 18:02:26
最小通风 | 31 | 22:56:29
隧道通风 | 32 | 08:25:14
报警测试 | 32 | 11:30:00
最小通风 | 33 | 05:40:18
隧道通风 | 33 | 07:35:07
最小通风 | 33 | 08:28:05
隧道通风 | 33 | 09:23:16
报警测试 | 33 | 11:30:00
最小通风 | 33 | 15:41:17
隧道通风 | 33 | 15:58:08
最小通风 | 33 | 21:38:29
系统锁定 | 34 | 05:12:13
报警测试 | 34 | 11:30:00
隧道通风 | 35 | 09:36:21
报警测试 | 35 | 11:30:00
最小通风 | 35 | 19:28:14
备用设置提醒 | 35 | 22:33:18
隧道通风 | 36 | 09:54:03
报警测试 | 36 | 11:30:00
最小通风 | 36 | 19:14:18
报警测试 | 37 | 11:30:00
管理员登陆 | 37 | 23:20:07
系统锁定 | 37 | 23:25:20
备用设置提醒 | 38 | 09:07:06
隧道通风 | 38 | 10:07:16
报警测试 | 38 | 11:30:00
空鸡舍模式 | 38 | 12:23:28
管理员登陆 | 38 | 14:58:24
系统锁定 | 38 | 15:04:06
系统锁定 | 38 | 16:13:04
最小通风 | 38 | 17:09:17
管理员登陆 | 38 | 22:58:18
更改开关 | 38 | 22:58:21
更改开关 | 38 | 22:59:00
系统锁定 | 38 | 23:04:00
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 42 | 15:35:12
电源开启 | 42 | 13:20:12
报警测试 | 44 | 11:30:00
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
电源关闭 | 50 | 08:29:03
电源开启 | 50 | 09:50:23
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
电源关闭 | 52 | 08:18:29
电源开启 | 52 | 08:19:14
新的鸡群 | -1 | 09:57:05
报警测试 | -1 | 11:30:00
系统锁定 | 0 | 07:50:28
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 18:18:16
备用设置提醒 | 0 | 18:18:16
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
报警测试 | 3 | 11:30:00
系统锁定 | 4 | 05:48:14
报警测试 | 4 | 11:30:00
电源关闭 | 5 | 08:53:21
电源开启 | 5 | 08:54:00
管理员登陆 | 5 | 08:54:09
电源关闭 | 5 | 09:01:08
电源开启 | 5 | 09:01:15
管理员登陆 | 5 | 09:04:15
系统锁定 | 5 | 09:10:25
访客登陆 | 5 | 10:05:07
系统锁定 | 5 | 10:13:08
报警测试 | 5 | 11:30:00
备用设置提醒 | 6 | 05:37:16
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
电源关闭 | 8 | 08:39:17
电源开启 | 8 | 08:42:19
管理员登陆 | 8 | 08:43:04
系统锁定 | 8 | 08:49:09
更改开关 | 8 | 11:13:24
系统锁定 | 8 | 11:18:24
报警测试 | 8 | 11:30:00
管理员登陆 | 8 | 17:32:10
更改开关 | 8 | 17:32:12
系统锁定 | 8 | 17:37:15
系统锁定 | 8 | 19:57:00
管理员登陆 | 9 | 06:01:01
系统锁定 | 9 | 06:10:22
更改开关 | 9 | 09:14:06
系统锁定 | 9 | 09:19:07
报警测试 | 9 | 11:30:00
管理员登陆 | 9 | 17:58:19
更改开关 | 9 | 17:58:22
更改开关 | 9 | 17:58:24
更改开关 | 9 | 17:59:01
系统锁定 | 9 | 18:04:01
报警测试 | 10 | 11:30:00
备用设置提醒 | 11 | 10:40:24
报警测试 | 11 | 11:30:00
管理员登陆 | 11 | 12:10:05
系统锁定 | 11 | 12:15:08
重置报警 | 11 | 12:15:25
管理员登陆 | 11 | 16:36:01
更改开关 | 11 | 16:36:03
系统锁定 | 11 | 16:41:03
系统锁定 | 12 | 09:32:23
重置报警 | 12 | 09:37:26
报警测试 | 12 | 11:30:00
管理员登陆 | 12 | 14:53:19
更改开关 | 12 | 14:53:24
系统锁定 | 12 | 14:59:00
报警测试 | 13 | 11:30:00
更改开关 | 14 | 09:16:07
系统锁定 | 14 | 09:21:07
报警测试 | 14 | 11:30:00
管理员登陆 | 14 | 16:08:03
更改开关 | 14 | 16:08:06
系统锁定 | 14 | 16:13:19
管理员登陆 | 14 | 16:41:15
更改开关 | 14 | 16:41:17
系统锁定 | 14 | 16:46:17
管理员登陆 | 14 | 19:37:17
更改开关 | 14 | 19:37:20
系统锁定 | 14 | 19:42:23
管理员登陆 | 15 | 05:40:11
系统锁定 | 15 | 05:45:16
更改开关 | 15 | 06:16:26
系统锁定 | 15 | 06:21:26
报警测试 | 15 | 11:30:00
更改开关 | 15 | 14:04:26
系统锁定 | 15 | 14:09:26
备用设置提醒 | 15 | 14:58:17
更改开关 | 16 | 05:01:15
更改开关 | 16 | 05:01:18
更改开关 | 16 | 05:01:24
更改开关 | 16 | 05:01:28
系统锁定 | 16 | 05:06:28
报警测试 | 16 | 11:30:00
报警测试 | 17 | 11:30:00
报警测试 | 18 | 11:30:00
备用设置提醒 | 18 | 14:52:24
报警测试 | 19 | 11:30:00
电源关闭 | 19 | 15:00:28
电源开启 | 19 | 15:01:00
电源关闭 | 19 | 15:01:00
电源开启 | 19 | 15:01:15
更改开关 | 20 | 09:46:13
更改开关 | 20 | 09:46:16
更改开关 | 20 | 09:46:19
更改开关 | 20 | 09:46:22
系统锁定 | 20 | 09:52:04
隧道通风 | 20 | 11:08:12
报警测试 | 20 | 11:30:00
最小通风 | 20 | 18:11:03
隧道通风 | 21 | 10:36:02
报警测试 | 21 | 11:30:00
最小通风 | 21 | 18:36:18
管理员登陆 | 21 | 21:05:15
系统锁定 | 21 | 21:10:22
备用设置提醒 | 22 | 00:08:17
隧道通风 | 22 | 07:34:09
报警测试 | 22 | 11:30:00
最小通风 | 22 | 21:29:10
隧道通风 | 23 | 08:03:15
报警测试 | 23 | 11:30:00
最小通风 | 23 | 23:15:06
隧道通风 | 24 | 00:20:22
最小通风 | 24 | 08:41:00
隧道通风 | 24 | 09:46:12
报警测试 | 24 | 11:30:00
最小通风 | 24 | 15:40:24
隧道通风 | 24 | 16:01:25
最小通风 | 24 | 16:33:14
报警测试 | 25 | 11:30:00
报警测试 | 26 | 11:30:00
报警测试 | 27 | 11:30:00
隧道通风 | 27 | 13:07:28
最小通风 | 27 | 15:36:18
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
报警测试 | 30 | 11:30:00
管理员登陆 | 31 | 05:45:17
更改开关 | 31 | 05:46:06
更改开关 | 31 | 05:46:13
系统锁定 | 31 | 05:51:13
隧道通风 | 31 | 09:21:23
报警测试 | 31 | 11:30:00
报警测试 | 32 | 11:30:00
报警测试 | 33 | 11:30:00
最小通风 | 33 | 15:05:14
隧道通风 | 33 | 15:49:10
管理员登陆 | 33 | 21:20:23
系统锁定 | 33 | 21:26:06
报警测试 | 34 | 11:30:00
报警测试 | 35 | 11:30:00
备用设置提醒 | 35 | 16:48:00
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
管理员登陆 | 38 | 01:25:04
系统锁定 | 38 | 01:30:10
管理员登陆 | 38 | 01:41:12
系统锁定 | 38 | 01:46:21
管理员登陆 | 38 | 08:02:07
系统锁定 | 38 | 08:07:24
管理员登陆 | 38 | 11:26:06
报警测试 | 38 | 11:30:00
系统锁定 | 38 | 11:31:14
重置报警 | 38 | 15:16:07
空鸡舍模式 | 38 | 16:50:09
管理员登陆 | 38 | 16:52:25
更改开关 | 38 | 16:52:28
更改开关 | 38 | 16:53:02
系统锁定 | 38 | 16:58:02
最小通风 | 38 | 21:20:11
更改开关 | 38 | 21:36:11
更改开关 | 38 | 21:37:02
更改开关 | 38 | 21:37:06
系统锁定 | 38 | 21:42:06
系统锁定 | 39 | 01:28:19
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
系统锁定 | 42 | 16:46:03
报警测试 | 43 | 11:30:00
电源关闭 | 43 | 15:49:12
电源开启 | 43 | 09:37:24
报警测试 | 44 | 11:30:00
系统锁定 | 44 | 14:42:16
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
访客登陆 | 50 | 09:39:22
系统锁定 | 50 | 09:45:01
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
电源关闭 | 52 | 08:43:05
电源开启 | 52 | 08:43:20
系统锁定 | 52 | 08:53:10
报警测试 | 52 | 11:30:00
新的鸡群 | -1 | 16:26:19
系统锁定 | -1 | 16:46:22
更改开关 | -1 | 16:55:23
更改开关 | -1 | 16:55:26
更改开关 | -1 | 16:56:02
更改开关 | -1 | 16:56:06
更改开关 | -1 | 16:56:09
系统锁定 | -1 | 17:01:09
报警测试 | 0 | 11:30:00
普通鸡舍模式 | 0 | 23:56:20
备用设置提醒 | 0 | 23:56:20
报警测试 | 1 | 11:30:00
更改开关 | 2 | 10:53:15
系统锁定 | 2 | 10:58:22
报警测试 | 2 | 11:30:00
更改开关 | 2 | 19:24:25
更改开关 | 2 | 19:25:00
更改开关 | 2 | 19:25:02
系统锁定 | 2 | 19:30:04
管理员登陆 | 3 | 08:27:20
系统锁定 | 3 | 08:33:00
更改开关 | 3 | 10:43:28
系统锁定 | 3 | 10:49:09
报警测试 | 3 | 11:30:00
更改开关 | 3 | 20:25:07
更改开关 | 3 | 20:25:11
更改开关 | 3 | 20:25:12
更改开关 | 3 | 20:25:18
更改开关 | 3 | 20:26:11
系统锁定 | 3 | 20:31:16
管理员登陆 | 4 | 09:02:01
更改开关 | 4 | 09:02:05
系统锁定 | 4 | 09:07:08
备用设置提醒 | 4 | 09:19:06
报警测试 | 4 | 11:30:00
更改开关 | 4 | 19:47:27
系统锁定 | 4 | 19:52:27
管理员登陆 | 5 | 07:59:09
更改开关 | 5 | 07:59:11
系统锁定 | 5 | 08:04:14
报警测试 | 5 | 11:30:00
备用设置提醒 | 5 | 15:05:21
更改开关 | 5 | 19:06:13
系统锁定 | 5 | 19:11:14
管理员登陆 | 6 | 08:26:20
更改开关 | 6 | 08:26:22
系统锁定 | 6 | 08:31:23
报警测试 | 6 | 11:30:00
更改开关 | 6 | 17:41:21
系统锁定 | 6 | 17:46:24
管理员登陆 | 7 | 10:34:24
更改开关 | 7 | 10:34:27
系统锁定 | 7 | 10:39:27
报警测试 | 7 | 11:30:00
更改开关 | 7 | 13:49:16
系统锁定 | 7 | 13:54:16
管理员登陆 | 8 | 07:59:06
更改开关 | 8 | 07:59:21
系统锁定 | 8 | 08:04:21
报警测试 | 8 | 11:30:00
更改开关 | 8 | 18:55:12
更改开关 | 8 | 18:55:14
系统锁定 | 8 | 19:00:14
管理员登陆 | 9 | 07:59:11
更改开关 | 9 | 07:59:13
系统锁定 | 9 | 08:04:14
报警测试 | 9 | 11:30:00
更改开关 | 9 | 20:47:03
系统锁定 | 9 | 20:52:04
管理员登陆 | 10 | 07:25:04
更改开关 | 10 | 07:25:07
系统锁定 | 10 | 07:30:07
报警测试 | 10 | 11:30:00
访客登陆 | 10 | 16:28:17
系统锁定 | 10 | 16:33:26
管理员登陆 | 11 | 01:39:26
更改开关 | 11 | 01:40:21
系统锁定 | 11 | 01:45:21
管理员登陆 | 11 | 07:48:04
更改开关 | 11 | 07:48:06
系统锁定 | 11 | 07:53:06
报警测试 | 11 | 11:30:00
备用设置提醒 | 11 | 12:21:18
隧道通风 | 11 | 12:56:08
最小通风 | 11 | 15:11:27
访客登陆 | 12 | 09:53:06
系统锁定 | 12 | 10:00:00
报警测试 | 12 | 11:30:00
隧道通风 | 12 | 12:07:08
最小通风 | 12 | 12:27:21
隧道通风 | 12 | 12:31:05
最小通风 | 12 | 12:39:12
管理员登陆 | 13 | 01:54:19
更改开关 | 13 | 01:54:21
系统锁定 | 13 | 01:59:21
管理员登陆 | 13 | 08:03:03
更改开关 | 13 | 08:03:05
系统锁定 | 13 | 08:08:08
报警测试 | 13 | 11:30:00
更改开关 | 13 | 18:10:24
更改开关 | 13 | 18:13:20
更改开关 | 13 | 18:15:21
更改开关 | 13 | 18:17:04
系统锁定 | 13 | 18:22:04
报警测试 | 14 | 11:30:00
管理员登陆 | 15 | 02:17:15
系统锁定 | 15 | 02:22:28
管理员登陆 | 15 | 05:54:19
系统锁定 | 15 | 05:59:25
管理员登陆 | 15 | 08:10:24
系统锁定 | 15 | 08:16:09
管理员登陆 | 15 | 08:21:13
系统锁定 | 15 | 08:29:08
隧道通风 | 15 | 10:32:13
报警测试 | 15 | 11:30:00
更改开关 | 15 | 11:51:15
更改开关 | 15 | 11:51:19
更改开关 | 15 | 11:51:22
更改开关 | 15 | 11:51:28
更改开关 | 15 | 11:54:21
系统锁定 | 15 | 11:59:21
最小通风 | 15 | 13:20:02
隧道通风 | 15 | 16:37:04
最小通风 | 15 | 18:05:05
备用设置提醒 | 16 | 07:19:17
隧道通风 | 16 | 08:38:10
报警测试 | 16 | 11:30:00
最小通风 | 16 | 13:37:19
管理员登陆 | 17 | 06:28:10
系统锁定 | 17 | 06:33:21
隧道通风 | 17 | 08:38:14
报警测试 | 17 | 11:30:00
最小通风 | 17 | 21:32:15
隧道通风 | 18 | 09:23:27
报警测试 | 18 | 11:30:00
最小通风 | 18 | 20:26:09
管理员登陆 | 19 | 05:46:07
系统锁定 | 19 | 05:51:22
隧道通风 | 19 | 10:04:04
报警测试 | 19 | 11:30:00
最小通风 | 19 | 21:55:16
报警测试 | 20 | 11:30:00
报警测试 | 21 | 11:30:00
隧道通风 | 21 | 12:50:29
最小通风 | 21 | 14:12:09
管理员登陆 | 22 | 05:12:21
系统锁定 | 22 | 05:17:28
备用设置提醒 | 22 | 11:16:24
报警测试 | 22 | 11:30:00
隧道通风 | 22 | 12:01:17
最小通风 | 22 | 18:23:20
隧道通风 | 23 | 08:47:13
报警测试 | 23 | 11:30:00
新的鸡群 | 1 | 13:54:14
备用设置提醒 | 1 | 13:54:14
更改的日龄 | 23 | 13:54:25
管理员登陆 | 23 | 19:17:06
最小通风 | 23 | 19:17:09
更改开关 | 23 | 19:17:13
更改开关 | 23 | 19:17:19
更改开关 | 23 | 19:17:29
更改开关 | 23 | 19:18:28
更改开关 | 23 | 19:19:04
更改开关 | 23 | 19:19:25
更改开关 | 23 | 19:20:07
系统锁定 | 23 | 19:25:11
管理员登陆 | 23 | 20:14:27
系统锁定 | 23 | 20:20:16
管理员登陆 | 24 | 05:23:23
系统锁定 | 24 | 05:29:00
隧道通风 | 24 | 08:59:00
报警测试 | 24 | 11:30:00
最小通风 | 24 | 19:24:28
更改开关 | 24 | 20:09:26
系统锁定 | 24 | 20:14:26
更改开关 | 24 | 20:20:24
系统锁定 | 24 | 20:28:10
隧道通风 | 25 | 07:30:13
报警测试 | 25 | 11:30:00
管理员登陆 | 26 | 05:51:16
系统锁定 | 26 | 06:01:11
最小通风 | 26 | 10:03:19
隧道通风 | 26 | 10:39:07
报警测试 | 26 | 11:30:00
最小通风 | 26 | 11:41:23
报警测试 | 27 | 11:30:00
隧道通风 | 27 | 11:59:19
最小通风 | 27 | 17:46:21
管理员登陆 | 28 | 09:01:29
系统锁定 | 28 | 09:07:03
隧道通风 | 28 | 10:17:06
报警测试 | 28 | 11:30:00
备用设置提醒 | 28 | 12:49:13
最小通风 | 28 | 19:19:03
隧道通风 | 28 | 23:28:06
最小通风 | 29 | 04:52:14
隧道通风 | 29 | 08:03:07
报警测试 | 29 | 11:30:00
最小通风 | 29 | 21:36:18
管理员登陆 | 30 | 02:23:15
系统锁定 | 30 | 02:28:21
重置报警 | 30 | 06:27:23
隧道通风 | 30 | 11:09:15
报警测试 | 30 | 11:30:00
最小通风 | 30 | 15:08:23
管理员登陆 | 30 | 20:15:04
系统锁定 | 30 | 20:20:08
隧道通风 | 31 | 10:35:24
报警测试 | 31 | 11:30:00
最小通风 | 31 | 18:46:20
备用设置提醒 | 31 | 19:23:15
隧道通风 | 32 | 08:21:25
报警测试 | 32 | 11:30:00
重置报警 | 32 | 15:09:00
最小通风 | 32 | 22:04:16
隧道通风 | 33 | 08:47:08
报警测试 | 33 | 11:30:00
报警测试 | 34 | 11:30:00
最小通风 | 35 | 04:17:22
报警测试 | 35 | 11:30:00
备用设置提醒 | 36 | 03:21:18
隧道通风 | 36 | 07:19:17
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
管理员登陆 | 37 | 20:18:19
系统锁定 | 37 | 20:23:27
管理员登陆 | 38 | 04:13:09
系统锁定 | 38 | 04:18:28
管理员登陆 | 38 | 04:22:26
系统锁定 | 38 | 04:29:07
管理员登陆 | 38 | 10:44:17
空鸡舍模式 | 38 | 10:44:21
更改开关 | 38 | 10:45:29
系统锁定 | 38 | 10:55:26
报警测试 | 38 | 11:30:00
管理员登陆 | 38 | 13:04:05
系统锁定 | 38 | 13:09:12
最小通风 | 38 | 14:43:07
报警测试 | 39 | 11:30:00
报警测试 | 40 | 11:30:00
报警测试 | 41 | 11:30:00
报警测试 | 42 | 11:30:00
电源关闭 | 43 | 08:53:09
电源开启 | 43 | 06:36:08
报警测试 | 44 | 11:30:00
管理员登陆 | 44 | 13:16:04
系统锁定 | 44 | 13:22:04
报警测试 | 45 | 11:30:00
报警测试 | 46 | 11:30:00
报警测试 | 47 | 11:30:00
报警测试 | 48 | 11:30:00
报警测试 | 49 | 11:30:00
报警测试 | 50 | 11:30:00
报警测试 | 51 | 11:30:00
系统锁定 | 52 | 09:08:22
报警测试 | 52 | 11:30:00
报警测试 | 53 | 11:30:00
电源关闭 | 54 | 09:25:27
电源开启 | 54 | 09:26:12
新的鸡群 | -2 | 10:55:23
报警测试 | -2 | 11:30:00
报警测试 | -1 | 11:30:00
新的鸡群 | 0 | 00:08:08
报警测试 | 0 | 11:30:00
管理员登陆 | 0 | 15:06:23
系统锁定 | 0 | 15:11:27
普通鸡舍模式 | 0 | 16:43:17
备用设置提醒 | 0 | 16:43:17
报警测试 | 1 | 11:30:00
报警测试 | 2 | 11:30:00
访客登陆 | 2 | 14:55:28
系统锁定 | 2 | 15:01:16
报警测试 | 3 | 11:30:00
管理员登陆 | 3 | 14:26:02
系统锁定 | 3 | 14:31:06
报警测试 | 4 | 11:30:00
备用设置提醒 | 5 | 00:16:13
报警测试 | 5 | 11:30:00
重置报警 | 5 | 11:49:00
重置报警 | 5 | 12:02:20
重置报警 | 5 | 12:26:03
报警测试 | 6 | 11:30:00
报警测试 | 7 | 11:30:00
报警测试 | 8 | 11:30:00
报警测试 | 9 | 11:30:00
备用设置提醒 | 9 | 19:58:08
重置报警 | 10 | 06:18:09
空鸡舍模式 | 10 | 06:19:15
普通鸡舍模式 | 10 | 08:35:07
报警测试 | 10 | 11:30:00
管理员登陆 | 11 | 03:30:18
系统锁定 | 11 | 03:36:01
报警测试 | 11 | 11:30:00
重置报警 | 12 | 09:47:01
报警测试 | 12 | 11:30:00
管理员登陆 | 12 | 12:00:15
更改开关 | 12 | 12:00:18
系统锁定 | 12 | 12:05:19
更改开关 | 12 | 17:37:17
更改开关 | 12 | 17:37:18
更改开关 | 12 | 17:37:19
系统锁定 | 12 | 17:42:19
备用设置提醒 | 12 | 20:16:24
管理员登陆 | 13 | 09:30:09
更改开关 | 13 | 09:30:12
系统锁定 | 13 | 09:35:12
报警测试 | 13 | 11:30:00
更改开关 | 13 | 17:44:17
系统锁定 | 13 | 17:49:19
管理员登陆 | 14 | 03:19:25
系统锁定 | 14 | 03:25:10
管理员登陆 | 14 | 08:17:19
更改开关 | 14 | 08:17:22
系统锁定 | 14 | 08:22:22
报警测试 | 14 | 11:30:00
管理员登陆 | 14 | 13:19:28
系统锁定 | 14 | 13:25:03
报警测试 | 15 | 11:30:00
管理员登陆 | 16 | 05:17:16
系统锁定 | 16 | 05:22:23
报警测试 | 16 | 11:30:00
备用设置提醒 | 16 | 13:33:25
更改开关 | 16 | 19:17:20
系统锁定 | 16 | 19:22:20
重置报警 | 17 | 06:46:10
空鸡舍模式 | 17 | 06:46:20
普通鸡舍模式 | 17 | 07:26:22
报警测试 | 17 | 11:30:00
管理员登陆 | 17 | 16:07:23
系统锁定 | 17 | 16:12:28
管理员登陆 | 18 | 10:54:28
更改开关 | 18 | 10:55:00
系统锁定 | 18 | 11:00:00
报警测试 | 18 | 11:30:00
更改开关 | 18 | 18:02:29
更改开关 | 18 | 18:03:04
更改开关 | 18 | 18:03:08
更改开关 | 18 | 18:03:10
系统锁定 | 18 | 18:08:10
管理员登陆 | 19 | 09:24:14
更改开关 | 19 | 09:24:16
系统锁定 | 19 | 09:29:16
报警测试 | 19 | 11:30:00
更改开关 | 19 | 15:47:29
系统锁定 | 19 | 15:53:00
管理员登陆 | 19 | 20:20:22
系统锁定 | 19 | 20:27:21
报警测试 | 20 | 11:30:00
管理员登陆 | 21 | 09:30:12
更改开关 | 21 | 09:30:14
系统锁定 | 21 | 09:35:14
报警测试 | 21 | 11:30:00
更改开关 | 21 | 18:00:28
系统锁定 | 21 | 18:06:09
备用设置提醒 | 21 | 18:13:25
管理员登陆 | 22 | 08:33:23
更改开关 | 22 | 08:33:25
系统锁定 | 22 | 08:38:25
报警测试 | 22 | 11:30:00
更改开关 | 22 | 11:35:14
更改开关 | 22 | 11:35:16
更改开关 | 22 | 11:37:03
更改开关 | 22 | 11:37:06
系统锁定 | 22 | 11:42:06
更改开关 | 22 | 21:47:14
系统锁定 | 22 | 21:52:17
管理员登陆 | 23 | 07:40:05
更改开关 | 23 | 07:40:09
系统锁定 | 23 | 07:45:10
报警测试 | 23 | 11:30:00
报警测试 | 24 | 11:30:00
更改开关 | 24 | 18:30:21
更改开关 | 24 | 18:31:04
系统锁定 | 24 | 18:36:04
管理员登陆 | 25 | 05:16:00
系统锁定 | 25 | 05:21:28
报警测试 | 25 | 11:30:00
更改开关 | 25 | 21:21:18
更改开关 | 25 | 21:21:28
系统锁定 | 25 | 21:26:27
空鸡舍模式 | 26 | 01:50:14
普通鸡舍模式 | 26 | 01:53:22
管理员登陆 | 26 | 02:19:10
空鸡舍模式 | 26 | 02:19:14
更改开关 | 26 | 02:19:16
更改开关 | 26 | 02:19:27
普通鸡舍模式 | 26 | 02:20:21
系统锁定 | 26 | 02:26:03
管理员登陆 | 26 | 08:56:09
空鸡舍模式 | 26 | 08:56:12
更改开关 | 26 | 09:00:00
更改开关 | 26 | 09:00:15
普通鸡舍模式 | 26 | 09:02:06
系统锁定 | 26 | 09:07:10
报警测试 | 26 | 11:30:00
管理员登陆 | 27 | 05:13:07
系统锁定 | 27 | 05:18:29
备用设置提醒 | 27 | 06:21:18
报警测试 | 27 | 11:30:00
管理员登陆 | 27 | 20:43:21
系统锁定 | 27 | 20:48:27
管理员登陆 | 28 | 02:49:14
系统锁定 | 28 | 02:54:24
管理员登陆 | 28 | 05:38:11
系统锁定 | 28 | 05:45:20
报警测试 | 28 | 11:30:00
报警测试 | 29 | 11:30:00
管理员登陆 | 30 | 05:17:08
系统锁定 | 30 | 05:24:18
报警测试 | 30 | 11:30:00
管理员登陆 | 30 | 13:26:07
更改开关 | 30 | 13:27:08
更改开关 | 30 | 13:27:11
系统锁定 | 30 | 13:33:19
管理员登陆 | 30 | 13:38:02
系统锁定 | 30 | 13:43:10
备用设置提醒 | 30 | 23:13:27
管理员登陆 | 31 | 05:24:25
系统锁定 | 31 | 05:30:01
报警测试 | 31 | 11:30:00
管理员登陆 | 32 | 05:06:26
系统锁定 | 32 | 05:14:20
报警测试 | 32 | 11:30:00
管理员登陆 | 32 | 12:19:07
更改开关 | 32 | 12:19:09
更改开关 | 32 | 12:19:15
更改开关 | 32 | 12:19:20
更改开关 | 32 | 12:21:12
系统锁定 | 32 | 12:26:12
更改开关 | 32 | 15:44:26
更改开关 | 32 | 15:45:20
更改开关 | 32 | 15:46:08
更改开关 | 32 | 15:46:12
更改开关 | 32 | 15:46:18
系统锁定 | 32 | 15:51:18
报警测试 | 33 | 11:30:00
管理员登陆 | 34 | 01:29:04
系统锁定 | 34 | 01:34:11
管理员登陆 | 34 | 05:08:20
系统锁定 | 34 | 05:14:07
报警测试 | 34 | 11:30:00
管理员登陆 | 35 | 05:10:01
系统锁定 | 35 | 05:15:11
报警测试 | 35 | 11:30:00
备用设置提醒 | 35 | 17:30:03
报警测试 | 36 | 11:30:00
报警测试 | 37 | 11:30:00
管理员登陆 | 37 | 18:22:08
系统锁定 | 37 | 18:27:17
管理员登陆 | 38 | 00:00:02
系统锁定 | 38 | 00:05:15
管理员登陆 | 38 | 03:50:21
系统锁定 | 38 | 03:56:26
管理员登陆 | 38 | 06:47:08
系统锁定 | 38 | 06:52:12
管理员登陆 | 38 | 08:05:15
更改开关 | 38 | 08:06:02
空鸡舍模式 | 38 | 08:06:10
更改开关 | 38 | 08:06:13
更改开关 | 38 | 08:06:16
更改开关 | 38 | 08:06:21
更改开关 | 38 | 08:07:02
更改开关 | 38 | 08:07:14
更改开关 | 38 | 08:08:03
系统锁定 | 38 | 08:15:26
报警测试 | 38 | 11:30:00

## Temperature
GrowthDay | MinimumValue | AverageValue | MaximumValue
0 | 33.7 | 34.2 | 36.9
1 | 33.4 | 34.3 | 35.5
2 | 32.5 | 32.7 | 35.1
3 | 31.6 | 31.9 | 33.8
4 | 30.6 | 31.4 | 33.3
5 | 29.8 | 30.0 | 32.2
6 | 28.7 | 29.0 | 31.0
7 | 28.2 | 28.6 | 30.1
8 | 28.1 | 28.4 | 30.0
9 | 28.1 | 28.3 | 30.2
10 | 27.8 | 27.9 | 29.1
11 | 26.9 | 27.5 | 28.8
12 | 26.5 | 27.0 | 28.9
13 | 26.4 | 26.6 | 28.8
14 | 25.9 | 26.1 | 28.3
15 | 25.6 | 26.0 | 26.9
16 | 24.8 | 25.1 | 29.5
17 | 24.4 | 24.7 | 26.4
18 | 23.9 | 24.3 | 25.8
19 | 23.5 | 23.8 | 25.6
20 | 23.0 | 23.8 | 25.2
21 | 22.7 | 23.2 | 25.0
22 | 22.4 | 22.7 | 24.5
23 | 22.0 | 22.4 | 25.1
24 | 22.0 | 22.4 | 23.5
25 | 21.1 | 21.6 | 23.0
26 | 20.7 | 21.4 | 24.5
27 | 20.4 | 20.8 | 23.5
28 | 19.6 | 20.9 | 23.3
29 | 19.5 | 20.7 | 23.8
30 | 19.8 | 19.9 | 22.8
31 | 19.4 | 20.3 | 24.6
32 | 19.4 | 20.4 | 25.5
33 | 18.6 | 20.0 | 22.9
34 | 17.8 | 17.8 | 21.3
35 | 17.0 | 17.5 | 20.6
36 | 16.4 | 17.4 | 20.6
37 | 16.2 | 16.8 | 20.6
38 | 15.8 | 18.6 | 18.9

## Water
GrowthDay | TotalDrinkDaily | TotalDrinkChange | Water_1Daily | Water_1Change | Water_2Daily | Water_2Change | Water_3Daily | Water_3Change | Water_4Daily | Water_4Change | TotalWater | Coolpad | Fogger | Flushing
0 | 240 | 不详 | 240 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 240 | 0 | 0 | 0
1 | 530 | 120 | 530 | 120 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 530 | 0 | 0 | 0
2 | 970 | 83 | 970 | 83 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 970 | 0 | 0 | 0
3 | 1110 | 14 | 1110 | 14 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1110 | 0 | 0 | 0
4 | 1390 | 25 | 1390 | 25 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1390 | 0 | 0 | 0
5 | 1850 | 33 | 1850 | 33 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1850 | 0 | 0 | 0
6 | 2100 | 13 | 2100 | 13 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2100 | 0 | 0 | 0
7 | 2530 | 20 | 2530 | 20 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2530 | 0 | 0 | 0
8 | 2300 | -10 | 2300 | -10 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2300 | 0 | 0 | 0
9 | 2760 | 20 | 2760 | 20 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2760 | 0 | 0 | 0
10 | 2950 | 6 | 2950 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2950 | 0 | 0 | 0
11 | 3650 | 23 | 3650 | 23 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 3650 | 0 | 0 | 0
12 | 3850 | 5 | 3850 | 5 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 3850 | 0 | 0 | 0
13 | 4100 | 6 | 4100 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 4100 | 0 | 0 | 0
14 | 4440 | 8 | 4440 | 8 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 4440 | 0 | 0 | 0
15 | 4890 | 10 | 4890 | 10 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 4890 | 0 | 0 | 0
16 | 5210 | 6 | 5210 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 5210 | 0 | 0 | 0
17 | 5320 | 2 | 5320 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 5320 | 0 | 0 | 0
18 | 5880 | 10 | 5880 | 10 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 5880 | 0 | 0 | 0
19 | 6250 | 6 | 6250 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6250 | 0 | 0 | 0
20 | 6490 | 3 | 6490 | 3 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6490 | 0 | 0 | 0
21 | 6790 | 4 | 6790 | 4 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6790 | 0 | 0 | 0
22 | 7250 | 6 | 7250 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7250 | 0 | 0 | 0
23 | 7690 | 6 | 7690 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7690 | 0 | 0 | 0
24 | 7930 | 3 | 7930 | 3 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7930 | 0 | 0 | 0
25 | 8170 | 3 | 8170 | 3 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8170 | 0 | 0 | 0
26 | 8030 | -2 | 8030 | -2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8030 | 0 | 0 | 0
27 | 8560 | 6 | 8560 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8560 | 0 | 0 | 0
28 | 9180 | 7 | 9180 | 7 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9180 | 0 | 0 | 0
29 | 9440 | 2 | 9440 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9440 | 0 | 0 | 0
30 | 9810 | 3 | 9810 | 3 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9810 | 0 | 0 | 0
31 | 9830 | 0 | 9830 | 0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9830 | 0 | 0 | 0
32 | 9230 | -7 | 9230 | -7 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9230 | 0 | 0 | 0
33 | 9510 | 3 | 9510 | 3 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9510 | 0 | 0 | 0
34 | 9120 | -5 | 9120 | -5 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9120 | 0 | 0 | 0
35 | 9260 | 1 | 9260 | 1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9260 | 0 | 0 | 0
36 | 9410 | 1 | 9410 | 1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9410 | 0 | 0 | 0
37 | 9260 | -2 | 9260 | -2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9260 | 0 | 0 | 0
38 | 2430 | -74 | 2430 | -74 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2430 | 0 | 0 | 0