## Alarms
Message | GrowthDay | Time
电位计1故障 | 0 | 11:58:23
报警器测试 | 1 | 11:20:00
报警器测试 | 2 | 11:20:00
报警器测试 | 3 | 11:20:00
报警器测试 | 4 | 11:20:00
报警器测试 | 5 | 11:20:00
报警器测试 | 6 | 11:20:00
报警器测试 | 7 | 11:20:00
报警器测试 | 8 | 11:20:00
报警器测试 | 9 | 11:20:00
报警器测试 | 10 | 11:20:00
报警器测试 | 11 | 11:20:00
报警器测试 | 12 | 11:20:00
报警器测试 | 13 | 11:20:00
报警器测试 | 14 | 11:20:00
低压 | 15 | 06:05:13
低压 | 15 | 06:08:28
低压 | 15 | 06:24:09
报警器测试 | 15 | 11:20:00
报警器测试 | 16 | 11:20:00
报警器测试 | 17 | 11:20:00
报警器测试 | 18 | 11:20:00
报警器测试 | 19 | 11:20:00
报警器测试 | 20 | 11:20:00
报警器测试 | 21 | 11:20:00
报警器测试 | 22 | 11:20:00
报警器测试 | 23 | 11:20:00
报警器测试 | 24 | 11:20:00
报警器测试 | 25 | 11:20:00
报警器测试 | 26 | 11:20:00
报警器测试 | 27 | 11:20:00
报警器测试 | 28 | 11:20:00
报警器测试 | 29 | 11:20:00
报警器测试 | 30 | 11:20:00
报警器测试 | 31 | 11:20:00
报警器测试 | 32 | 11:20:00
报警器测试 | 33 | 11:20:00
报警器测试 | 34 | 11:20:00
报警器测试 | 35 | 11:20:00
报警器测试 | 36 | 11:20:00
报警器测试 | 37 | 11:20:00
传感器3低温 | 38 | 00:36:23

## Ammonia
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 不详 | 不详 | 不详
0 | 不详 | 不详 | 不详
1 | 不详 | 不详 | 不详
2 | 不详 | 不详 | 不详
3 | 不详 | 不详 | 不详
4 | 不详 | 不详 | 不详
5 | 不详 | 不详 | 不详
6 | 不详 | 不详 | 不详
7 | 不详 | 不详 | 不详
8 | 不详 | 不详 | 不详
9 | 不详 | 不详 | 不详
10 | 不详 | 不详 | 不详
11 | 不详 | 不详 | 不详
12 | 不详 | 不详 | 不详
13 | 不详 | 不详 | 不详
14 | 不详 | 不详 | 不详
15 | 不详 | 不详 | 不详
16 | 不详 | 不详 | 不详
17 | 不详 | 不详 | 不详
18 | 不详 | 不详 | 不详
19 | 不详 | 不详 | 不详
20 | 不详 | 不详 | 不详
21 | 不详 | 不详 | 不详
22 | 不详 | 不详 | 不详
23 | 不详 | 不详 | 不详
24 | 不详 | 不详 | 不详
25 | 不详 | 不详 | 不详
26 | 不详 | 不详 | 不详
27 | 不详 | 不详 | 不详
28 | 不详 | 不详 | 不详
29 | 不详 | 不详 | 不详
30 | 不详 | 不详 | 不详
31 | 不详 | 不详 | 不详
32 | 不详 | 不详 | 不详
33 | 不详 | 不详 | 不详
34 | 不详 | 不详 | 不详
35 | 不详 | 不详 | 不详
36 | 不详 | 不详 | 不详
37 | 不详 | 不详 | 不详
38 | 不详 | 不详 | 不详

## CO2
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 不详 | 不详 | 不详
0 | 不详 | 不详 | 不详
1 | 不详 | 不详 | 不详
2 | 不详 | 不详 | 不详
3 | 不详 | 不详 | 不详
4 | 不详 | 不详 | 不详
5 | 不详 | 不详 | 不详
6 | 不详 | 不详 | 不详
7 | 不详 | 不详 | 不详
8 | 不详 | 不详 | 不详
9 | 不详 | 不详 | 不详
10 | 不详 | 不详 | 不详
11 | 不详 | 不详 | 不详
12 | 不详 | 不详 | 不详
13 | 不详 | 不详 | 不详
14 | 不详 | 不详 | 不详
15 | 不详 | 不详 | 不详
16 | 不详 | 不详 | 不详
17 | 不详 | 不详 | 不详
18 | 不详 | 不详 | 不详
19 | 不详 | 不详 | 不详
20 | 不详 | 不详 | 不详
21 | 不详 | 不详 | 不详
22 | 不详 | 不详 | 不详
23 | 不详 | 不详 | 不详
24 | 不详 | 不详 | 不详
25 | 不详 | 不详 | 不详
26 | 不详 | 不详 | 不详
27 | 不详 | 不详 | 不详
28 | 不详 | 不详 | 不详
29 | 不详 | 不详 | 不详
30 | 不详 | 不详 | 不详
31 | 不详 | 不详 | 不详
32 | 不详 | 不详 | 不详
33 | 不详 | 不详 | 不详
34 | 不详 | 不详 | 不详
35 | 不详 | 不详 | 不详
36 | 不详 | 不详 | 不详
37 | 不详 | 不详 | 不详
38 | 不详 | 不详 | 不详

## Feed
GrowthDay | PerBird | FeederTotal | ChangeTotal | Feeder_1 | ChangeFeeder_1 | Feeder_2 | ChangeFeeder_2 | Feeder_3 | ChangeFeeder_3 | Feeder_4 | ChangeFeeder_4
-1 | 0.000 | 826 | 不详 | 826 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详
0 | 0.000 | 0 | -100 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0.000 | 110 | 不详 | 110 | 不详 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0.000 | 752 | 584 | 752 | 584 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0.000 | 339 | -55 | 339 | -55 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0.000 | 504 | 48 | 504 | 48 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0.000 | 440 | -13 | 440 | -13 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0.000 | 1101 | 149 | 1101 | 149 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0.000 | 642 | -42 | 642 | -42 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0.000 | 1082 | 68 | 1082 | 68 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0.000 | 1660 | 53 | 1660 | 53 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0.000 | 1541 | -8 | 1541 | -8 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0.000 | 1697 | 10 | 1697 | 10 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0.000 | 1752 | 3 | 1752 | 3 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0.000 | 1825 | 4 | 1825 | 4 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0.000 | 1871 | 2 | 1871 | 2 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0.000 | 2440 | 30 | 2440 | 30 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0.000 | 2697 | 10 | 2697 | 10 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0.000 | 2568 | -5 | 2568 | -5 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0.000 | 2715 | 5 | 2715 | 5 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0.000 | 2944 | 8 | 2944 | 8 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0.000 | 2844 | -4 | 2844 | -4 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0.000 | 3064 | 7 | 3064 | 7 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0.000 | 3339 | 8 | 3339 | 8 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0.000 | 3477 | 4 | 3477 | 4 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0.000 | 3788 | 8 | 3788 | 8 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0.000 | 4045 | 6 | 4045 | 6 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0.000 | 3944 | -3 | 3944 | -3 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0.000 | 3935 | 不详 | 3935 | 不详 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0.000 | 4229 | 7 | 4229 | 7 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0.000 | 4073 | -4 | 4073 | -4 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0.000 | 4165 | 2 | 4165 | 2 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0.000 | 3889 | -7 | 3889 | -7 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0.000 | 3788 | -3 | 3788 | -3 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0.000 | 3981 | 5 | 3981 | 5 | 0 | 0 | 0 | 0 | 0 | 0
34 | 0.000 | 4238 | 6 | 4238 | 6 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0.000 | 4036 | -5 | 4036 | -5 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0.000 | 4165 | 3 | 4165 | 3 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0.000 | 2761 | -34 | 2761 | -34 | 0 | 0 | 0 | 0 | 0 | 0
38 | 0.000 | 1541 | -45 | 1541 | -45 | 0 | 0 | 0 | 0 | 0 | 0

## Heaters
GrowthDay | Heater_1 | Heater_2 | Heater_3 | Heater_4 | Heater_5 | Heater_6 | Heater_7 | Heater_8 | Heater_9 | Heater_10 | Heater_11 | Heater_12 | Heater_13 | Heater_14 | Heater_15 | Heater_16
-1 | 04:29 | 01:37 | 06:52 | 03:43 | 01:47 | 05:55 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 06:13 | 06:01 | 03:12 | 04:31 | 00:38 | 09:01 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
1 | 04:11 | 13:50 | 02:33 | 02:56 | 00:19 | 06:47 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
2 | 04:08 | 10:42 | 01:44 | 03:52 | 00:25 | 07:21 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
3 | 05:05 | 02:33 | 00:35 | 03:00 | 00:10 | 08:59 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
4 | 04:46 | 00:00 | 00:13 | 02:08 | 00:01 | 06:58 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
5 | 03:24 | 00:00 | 00:03 | 01:24 | 00:00 | 05:19 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
6 | 02:23 | 00:17 | 00:02 | 01:04 | 00:12 | 03:48 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
7 | 01:51 | 00:24 | 00:19 | 01:07 | 00:22 | 02:43 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
8 | 01:38 | 00:00 | 00:00 | 00:04 | 00:00 | 01:29 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
9 | 00:55 | 00:02 | 00:00 | 00:04 | 00:08 | 00:48 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
10 | 01:13 | 00:00 | 00:00 | 00:00 | 00:01 | 00:53 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
11 | 01:13 | 00:00 | 00:00 | 00:00 | 00:00 | 00:19 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
12 | 01:23 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
13 | 01:21 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
14 | 01:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
15 | 03:59 | 00:05 | 00:52 | 00:02 | 00:33 | 00:39 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
16 | 02:43 | 00:05 | 00:48 | 00:09 | 00:25 | 00:50 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
17 | 02:36 | 00:00 | 00:54 | 00:00 | 00:00 | 00:09 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
18 | 01:05 | 00:05 | 01:26 | 00:00 | 00:00 | 00:05 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
19 | 00:35 | 00:42 | 01:19 | 00:00 | 00:04 | 00:32 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
20 | 00:42 | 00:57 | 01:08 | 00:00 | 00:09 | 00:27 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
21 | 01:24 | 00:23 | 00:40 | 00:00 | 00:00 | 00:01 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
22 | 02:42 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
23 | 01:53 | 00:00 | 00:01 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
24 | 01:11 | 00:00 | 00:06 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
25 | 01:53 | 00:00 | 00:04 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
26 | 01:30 | 00:00 | 00:05 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
27 | 01:39 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
28 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
29 | 00:11 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
30 | 00:25 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
31 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
32 | 02:19 | 00:07 | 01:08 | 00:00 | 00:00 | 00:49 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
33 | 04:37 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
34 | 04:55 | 00:09 | 00:07 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
35 | 03:09 | 01:38 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
36 | 00:08 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
37 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
38 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## History View
GROWTH_DAY | HISTORY_TIME | TARGET_TEMP | HOUSE_TEMP_MIN | HOUSE_TEMP_AVG | HOUSE_TEMP_MAX | TEMP_1_AVG | TEMP_2_AVG | TEMP_3_AVG | TEMP_4_AVG | TEMP_5_AVG | TEMP_6_AVG | ATTIC_MIN | ATTIC_AVG | ATTIC_MAX | OUTSIDE_MIN | OUTSIDE_AVG | OUTSIDE_MAX | HUMIDITY_IN_1_MIN | HUMIDITY_IN_1_AVG | HUMIDITY_IN_1_MAX | WATER_CON | FEED_CON | LEVEL
22 | 19:00 | 22.9 | 23.0 | 23.1 | 23.8 | 21.6 | 22.6 | 22.8 | 24.2 | 23.7 | 24.0 | --- | --- | --- | 17.1 | 17.1 | 17.8 | 84 | 84.3 | 86 | 290 | 0 | 21
22 | 20:00 | 22.7 | 23.0 | 23.0 | 23.7 | 21.5 | 22.8 | 22.7 | 23.7 | 23.6 | 23.9 | --- | --- | --- | 17.0 | 17.0 | 17.1 | 84 | 86 | 87 | 320 | 0 | 22
22 | 21:00 | 22.7 | 22.9 | 23.0 | 23.5 | 21.4 | 22.8 | 22.7 | 23.5 | 23.6 | 24.1 | --- | --- | --- | 17.1 | 17.1 | 17.1 | 86 | 86.4 | 88 | 280 | 1082 | 21
22 | 22:00 | 22.6 | 22.9 | 22.9 | 23.4 | 21.8 | 22.7 | 22.6 | 23.3 | 23.4 | 23.6 | --- | --- | --- | 16.7 | 16.7 | 17.1 | 86 | 86 | 87 | 300 | 110 | 21
22 | 23:00 | 22.6 | 22.7 | 22.9 | 23.0 | 21.9 | 22.6 | 22.7 | 23.1 | 23.3 | 23.6 | --- | --- | --- | 16.5 | 16.6 | 16.7 | 85 | 85.9 | 87 | 10 | 0 | 21
23 | 00:00 | 22.6 | 22.6 | 22.7 | 22.9 | 22.0 | 22.5 | 22.5 | 22.9 | 23.0 | 23.3 | --- | --- | --- | 16.4 | 16.4 | 16.6 | 85 | 85 | 86 | 0 | 0 | 21
23 | 01:00 | 22.6 | 22.5 | 22.7 | 23.1 | 21.4 | 22.5 | 22.6 | 23.1 | 23.1 | 23.3 | --- | --- | --- | 16.4 | 16.5 | 16.5 | 85 | 85 | 86 | 10 | 0 | 21
23 | 02:00 | 22.6 | 22.5 | 22.8 | 23.1 | 21.4 | 22.7 | 22.6 | 23.4 | 23.3 | 23.5 | --- | --- | --- | 16.0 | 16.1 | 16.5 | 84 | 84.9 | 86 | 0 | 0 | 21
23 | 03:00 | 22.6 | 22.6 | 22.9 | 23.6 | 22.0 | 23.0 | 22.2 | 23.4 | 23.4 | 23.6 | --- | --- | --- | 15.8 | 15.8 | 16.1 | 84 | 85 | 88 | 670 | 0 | 21
23 | 04:00 | 22.6 | 22.4 | 22.9 | 23.1 | 21.5 | 22.7 | 22.0 | 23.9 | 23.5 | 23.8 | --- | --- | --- | 15.1 | 15.1 | 15.8 | 84 | 85.2 | 87 | 390 | 0 | 21
23 | 05:00 | 22.6 | 22.4 | 22.8 | 23.4 | 22.3 | 22.8 | 22.4 | 23.4 | 22.8 | 22.8 | --- | --- | --- | 14.6 | 14.6 | 15.1 | 83 | 84.6 | 87 | 340 | 0 | 21
23 | 06:00 | 22.5 | 22.2 | 22.7 | 23.4 | 22.0 | 22.5 | 22.0 | 23.6 | 22.8 | 23.0 | --- | --- | --- | 14.2 | 14.3 | 14.6 | 82 | 83.1 | 87 | 370 | 715 | 21
23 | 07:00 | 22.5 | 22.2 | 23.2 | 23.4 | 22.5 | 23.1 | 22.5 | 23.8 | 23.5 | 23.7 | --- | --- | --- | 14.3 | 14.7 | 14.7 | 82 | 85.1 | 87 | 430 | 0 | 22
23 | 08:00 | 22.5 | 22.4 | 22.8 | 23.4 | 22.8 | 22.4 | 22.5 | 23.2 | 22.8 | 23.1 | --- | --- | --- | 14.8 | 16.2 | 16.2 | 83 | 84.9 | 88 | 390 | 0 | 21
23 | 09:00 | 22.5 | 22.8 | 23.0 | 23.3 | 23.3 | 22.9 | 22.6 | 23.4 | 23.0 | 23.1 | --- | --- | --- | 16.2 | 16.6 | 16.7 | 85 | 85.9 | 87 | 320 | 0 | 21
23 | 10:00 | 22.5 | 22.9 | 23.3 | 23.6 | 22.6 | 23.2 | 23.1 | 23.6 | 23.6 | 23.7 | --- | --- | --- | 16.6 | 18.1 | 18.1 | 85 | 85.4 | 86 | 300 | 0 | 23
23 | 11:00 | 22.5 | 23.0 | 23.1 | 23.6 | 21.7 | 22.8 | 23.0 | 23.6 | 23.7 | 24.1 | --- | --- | --- | 18.1 | 18.8 | 19.1 | 84 | 84.8 | 87 | 370 | 945 | 22
23 | 12:00 | 22.5 | 23.1 | 23.3 | 23.7 | 21.5 | 22.5 | 23.1 | 24.3 | 24.1 | 24.4 | --- | --- | --- | 18.8 | 20.0 | 20.5 | 82 | 82.1 | 85 | 350 | 0 | 23
23 | 13:00 | 22.5 | 23.1 | 23.3 | 23.7 | 21.6 | 22.8 | 23.1 | 24.1 | 23.9 | 24.4 | --- | --- | --- | 19.9 | 20.0 | 20.7 | 81 | 81.7 | 84 | 330 | 0 | 23
23 | 14:00 | 22.5 | 23.1 | 23.2 | 23.7 | 21.6 | 22.6 | 23.0 | 24.1 | 23.8 | 24.3 | --- | --- | --- | 19.9 | 20.1 | 20.8 | 80 | 81.1 | 83 | 300 | 0 | 23
23 | 15:00 | 22.5 | 22.9 | 23.3 | 23.5 | 21.6 | 23.2 | 22.8 | 24.1 | 23.8 | 24.1 | --- | --- | --- | 18.6 | 18.8 | 20.1 | 80 | 82.9 | 84 | 280 | 0 | 22
23 | 16:00 | 22.4 | 22.9 | 23.1 | 23.6 | 21.4 | 23.3 | 22.7 | 23.7 | 23.5 | 23.8 | --- | --- | --- | 17.7 | 17.8 | 18.8 | 82 | 82.9 | 84 | 300 | 761 | 22
23 | 17:00 | 22.4 | 22.7 | 22.8 | 23.2 | 21.8 | 22.5 | 22.2 | 23.6 | 23.1 | 23.4 | --- | --- | --- | 17.1 | 17.1 | 18.0 | 81 | 81.2 | 84 | 370 | 0 | 22
23 | 18:00 | 22.4 | 22.4 | 22.8 | 23.0 | 21.4 | 22.9 | 22.4 | 23.2 | 23.4 | 23.3 | --- | --- | --- | 16.4 | 16.4 | 17.1 | 81 | 83.8 | 84 | 320 | 0 | 22
23 | 19:00 | 22.4 | 22.4 | 22.7 | 23.0 | 21.1 | 22.4 | 22.1 | 23.5 | 23.3 | 23.5 | --- | --- | --- | 15.8 | 15.8 | 16.4 | 82 | 83.3 | 84 | 350 | 0 | 21
23 | 20:00 | 22.4 | 22.3 | 22.8 | 23.0 | 21.6 | 22.9 | 22.2 | 23.6 | 23.1 | 23.3 | --- | --- | --- | 15.4 | 15.4 | 15.8 | 82 | 82.9 | 84 | 380 | 0 | 21
23 | 21:00 | 22.4 | 22.4 | 22.5 | 23.0 | 21.1 | 22.4 | 22.2 | 23.0 | 23.0 | 23.5 | --- | --- | --- | 15.2 | 15.2 | 15.4 | 81 | 82 | 84 | 380 | 1055 | 21
23 | 22:00 | 22.4 | 22.2 | 22.9 | 23.0 | 22.1 | 22.8 | 22.3 | 23.4 | 23.3 | 23.4 | --- | --- | --- | 15.1 | 15.1 | 15.2 | 81 | 82.1 | 83 | 250 | 0 | 22
23 | 23:00 | 22.4 | 21.9 | 22.3 | 23.0 | 21.8 | 22.0 | 21.7 | 23.0 | 22.8 | 22.6 | --- | --- | --- | 14.8 | 14.9 | 15.1 | 80 | 81.2 | 84 | 0 | 0 | 21
24 | 00:00 | 22.3 | 21.9 | 22.3 | 23.0 | 21.6 | 22.1 | 21.7 | 23.1 | 22.5 | 22.6 | --- | --- | --- | 14.6 | 14.6 | 14.9 | 80 | 82.7 | 84 | 0 | 0 | 17
24 | 01:00 | 22.3 | 21.9 | 22.7 | 22.9 | 21.7 | 22.1 | 22.2 | 23.7 | 23.2 | 23.3 | --- | --- | --- | 13.9 | 13.9 | 14.6 | 80 | 82.6 | 84 | 10 | 0 | 16
24 | 02:00 | 22.3 | 21.9 | 22.6 | 22.9 | 21.5 | 22.0 | 22.2 | 23.7 | 23.2 | 23.3 | --- | --- | --- | 13.9 | 13.9 | 14.2 | 80 | 83.2 | 84 | 0 | 0 | 16
24 | 03:00 | 22.3 | 22.0 | 22.3 | 23.7 | 21.9 | 22.3 | 21.5 | 22.9 | 22.5 | 22.3 | --- | --- | --- | 13.5 | 13.9 | 13.9 | 82 | 83.4 | 86 | 600 | 0 | 21
24 | 04:00 | 22.3 | 21.8 | 22.7 | 23.1 | 21.9 | 23.2 | 22.0 | 23.5 | 22.7 | 22.7 | --- | --- | --- | 13.4 | 13.4 | 13.9 | 82 | 84.1 | 88 | 410 | 0 | 21
24 | 05:00 | 22.3 | 21.9 | 22.2 | 23.0 | 21.8 | 21.8 | 21.7 | 23.0 | 22.4 | 22.4 | --- | --- | --- | 13.1 | 13.1 | 13.4 | 82 | 83.1 | 86 | 340 | 0 | 21
24 | 06:00 | 22.3 | 21.8 | 22.5 | 23.0 | 22.0 | 22.3 | 21.7 | 23.5 | 22.6 | 22.8 | --- | --- | --- | 13.1 | 13.3 | 13.4 | 81 | 83.9 | 85 | 400 | 963 | 18
24 | 07:00 | 22.3 | 21.8 | 22.6 | 22.8 | 21.0 | 21.9 | 22.2 | 23.9 | 23.5 | 23.2 | --- | --- | --- | 12.6 | 12.6 | 13.2 | 79 | 83 | 85 | 500 | 0 | 18
24 | 08:00 | 22.2 | 21.7 | 22.5 | 22.8 | 21.8 | 22.1 | 21.5 | 23.5 | 22.7 | 23.3 | --- | --- | --- | 12.6 | 13.6 | 13.6 | 79 | 80.6 | 84 | 400 | 0 | 21
24 | 09:00 | 22.2 | 21.9 | 22.8 | 23.1 | 22.0 | 22.7 | 22.1 | 23.6 | 23.1 | 23.5 | --- | --- | --- | 13.6 | 15.0 | 15.2 | 79 | 82.9 | 85 | 390 | 0 | 21
24 | 10:00 | 22.2 | 21.8 | 22.3 | 22.9 | 21.2 | 22.4 | 21.6 | 23.0 | 22.6 | 22.9 | --- | --- | --- | 14.9 | 15.9 | 16.2 | 79 | 79.4 | 83 | 300 | 0 | 21
24 | 11:00 | 22.2 | 22.2 | 22.6 | 22.8 | 22.2 | 22.6 | 22.2 | 23.1 | 22.9 | 22.8 | --- | --- | --- | 15.8 | 17.0 | 17.2 | 76 | 76.9 | 81 | 360 | 954 | 22
24 | 12:00 | 22.2 | 22.6 | 23.2 | 23.3 | 23.4 | 23.7 | 22.8 | 23.6 | 22.9 | 22.9 | --- | --- | --- | 17.0 | 18.1 | 18.5 | 74 | 75 | 77 | 380 | 0 | 23
24 | 13:00 | 22.2 | 22.8 | 23.2 | 23.6 | 21.9 | 23.0 | 22.9 | 23.9 | 23.5 | 23.7 | --- | --- | --- | 18.0 | 18.8 | 19.4 | 71 | 71.8 | 75 | 360 | 0 | 24
24 | 14:00 | 22.2 | 22.9 | 23.3 | 23.5 | 23.0 | 23.5 | 22.9 | 23.4 | 23.3 | 23.6 | --- | --- | --- | 18.6 | 18.8 | 19.8 | 70 | 70 | 73 | 340 | 0 | 23
24 | 15:00 | 22.2 | 22.9 | 23.1 | 23.6 | 22.7 | 23.4 | 22.5 | 23.4 | 23.3 | 23.2 | --- | --- | --- | 18.1 | 18.1 | 19.1 | 71 | 74.3 | 75 | 290 | 0 | 23
24 | 16:00 | 22.1 | 22.7 | 22.8 | 23.5 | 22.5 | 23.4 | 22.1 | 23.1 | 22.8 | 23.0 | --- | --- | --- | 17.6 | 17.6 | 18.8 | 71 | 73.9 | 75 | 340 | 890 | 23
24 | 17:00 | 22.1 | 22.1 | 22.2 | 22.9 | 21.3 | 22.3 | 21.7 | 22.6 | 22.4 | 22.9 | --- | --- | --- | 15.4 | 15.5 | 17.6 | 73 | 75 | 76 | 380 | 0 | 21
24 | 18:00 | 22.1 | 21.8 | 22.5 | 22.8 | 21.0 | 22.3 | 22.0 | 23.7 | 23.2 | 23.0 | --- | --- | --- | 13.9 | 13.9 | 15.4 | 74 | 77.9 | 79 | 360 | 0 | 21
24 | 19:00 | 22.1 | 21.8 | 22.6 | 22.9 | 21.2 | 22.4 | 22.4 | 23.4 | 23.0 | 22.9 | --- | --- | --- | 13.9 | 13.9 | 14.1 | 72 | 77.3 | 78 | 360 | 0 | 21
24 | 20:00 | 22.1 | 21.7 | 22.1 | 23.0 | 20.8 | 21.6 | 21.4 | 23.0 | 22.6 | 23.1 | --- | --- | --- | 13.2 | 13.2 | 13.9 | 73 | 76.2 | 79 | 350 | 0 | 17
24 | 21:00 | 22.1 | 21.6 | 22.5 | 23.3 | 20.9 | 22.0 | 21.9 | 23.4 | 23.1 | 23.4 | --- | --- | --- | 12.4 | 12.4 | 13.3 | 74 | 78.3 | 79 | 400 | 981 | 20
24 | 22:00 | 22.1 | 21.6 | 21.6 | 22.9 | 20.9 | 21.7 | 21.1 | 22.2 | 21.8 | 21.8 | --- | --- | --- | 12.3 | 13.0 | 13.1 | 74 | 74.9 | 80 | 280 | 0 | 17
24 | 23:00 | 22.1 | 21.6 | 21.9 | 22.6 | 20.9 | 22.1 | 21.4 | 22.7 | 22.3 | 22.1 | --- | --- | --- | 11.5 | 11.5 | 13.1 | 75 | 76.4 | 78 | 0 | 0 | 15
25 | 00:00 | 22.0 | 21.8 | 22.0 | 22.6 | 21.0 | 21.7 | 21.6 | 23.0 | 22.5 | 22.3 | --- | --- | --- | 10.9 | 10.9 | 11.5 | 75 | 76.3 | 78 | 0 | 0 | 13
25 | 01:00 | 22.0 | 21.8 | 22.0 | 22.7 | 21.2 | 22.1 | 21.4 | 22.7 | 22.3 | 22.6 | --- | --- | --- | 10.0 | 10.3 | 10.9 | 75 | 75.8 | 79 | 10 | 0 | 15
25 | 02:00 | 22.0 | 21.7 | 22.5 | 22.6 | 22.0 | 22.5 | 21.8 | 23.2 | 22.7 | 22.9 | --- | --- | --- | 10.1 | 10.8 | 10.8 | 75 | 76.1 | 79 | 0 | 0 | 15
25 | 03:00 | 22.0 | 21.4 | 21.8 | 23.4 | 21.2 | 22.3 | 21.3 | 22.3 | 22.1 | 21.9 | --- | --- | --- | 9.7 | 9.7 | 11.7 | 75 | 80.8 | 82 | 580 | 0 | 12
25 | 04:00 | 22.0 | 21.6 | 22.0 | 22.9 | 21.2 | 22.3 | 22.0 | 22.7 | 21.9 | 22.0 | --- | --- | --- | 9.3 | 9.7 | 10.0 | 76 | 80.7 | 84 | 440 | 0 | 13
25 | 05:00 | 22.0 | 21.8 | 22.0 | 22.7 | 20.9 | 22.1 | 21.6 | 23.0 | 22.1 | 22.2 | --- | --- | --- | 9.5 | 10.2 | 10.2 | 78 | 80.1 | 83 | 360 | 0 | 17
25 | 06:00 | 22.0 | 21.5 | 22.0 | 23.1 | 20.9 | 21.7 | 21.4 | 22.8 | 22.4 | 22.7 | --- | --- | --- | 9.4 | 9.6 | 10.3 | 77 | 78.7 | 83 | 430 | 1064 | 20
25 | 07:00 | 22.0 | 21.8 | 22.2 | 22.5 | 20.8 | 22.3 | 22.1 | 22.9 | 22.8 | 22.3 | --- | --- | --- | 9.6 | 10.8 | 10.9 | 78 | 80.8 | 82 | 470 | 0 | 20
25 | 08:00 | 22.0 | 21.4 | 21.7 | 22.6 | 20.9 | 22.0 | 21.2 | 22.0 | 21.9 | 22.3 | --- | --- | --- | 10.9 | 14.1 | 14.1 | 77 | 78.9 | 83 | 420 | 0 | 19
25 | 09:00 | 22.0 | 21.7 | 22.0 | 22.8 | 20.8 | 22.5 | 21.9 | 22.3 | 22.3 | 22.4 | --- | --- | --- | 14.1 | 15.8 | 15.8 | 77 | 77.8 | 81 | 370 | 0 | 21
25 | 10:00 | 21.9 | 22.1 | 22.9 | 23.1 | 23.0 | 23.9 | 22.5 | 22.5 | 22.4 | 23.0 | --- | --- | --- | 15.8 | 17.6 | 17.7 | 74 | 74 | 79 | 390 | 0 | 23
25 | 11:00 | 21.9 | 22.6 | 23.0 | 23.3 | 22.1 | 23.3 | 22.7 | 23.2 | 23.2 | 23.5 | --- | --- | --- | 17.7 | 18.4 | 18.5 | 66 | 67.2 | 75 | 330 | 963 | 23
25 | 12:00 | 21.9 | 22.8 | 23.0 | 23.3 | 21.8 | 22.9 | 22.8 | 23.2 | 23.5 | 23.5 | --- | --- | --- | 18.3 | 19.0 | 19.2 | 66 | 67.1 | 69 | 380 | 0 | 24
25 | 13:00 | 21.9 | 22.9 | 23.5 | 23.7 | 22.8 | 23.4 | 23.4 | 23.5 | 23.6 | 23.9 | --- | --- | --- | 19.0 | 19.7 | 20.1 | 60 | 64 | 68 | 380 | 0 | 25
25 | 14:00 | 21.9 | 23.4 | 23.8 | 24.1 | 23.1 | 24.0 | 23.6 | 23.7 | 23.9 | 24.2 | --- | --- | --- | 19.6 | 20.0 | 20.5 | 60 | 61.9 | 65 | 320 | 0 | 25
25 | 15:00 | 21.9 | 23.7 | 23.7 | 24.1 | 23.0 | 24.2 | 23.5 | 23.9 | 23.9 | 24.0 | --- | --- | --- | 19.6 | 19.7 | 20.1 | 60 | 61.8 | 64 | 300 | 0 | 25
25 | 16:00 | 21.9 | 23.1 | 23.1 | 23.9 | 22.2 | 23.4 | 23.0 | 23.2 | 23.4 | 23.5 | --- | --- | --- | 19.3 | 19.3 | 20.0 | 60 | 61 | 64 | 350 | 936 | 24
25 | 17:00 | 21.9 | 22.6 | 22.7 | 23.2 | 22.4 | 23.9 | 22.3 | 22.6 | 22.6 | 22.6 | --- | --- | --- | 17.5 | 17.5 | 19.3 | 59 | 65.2 | 66 | 340 | 0 | 23
25 | 18:00 | 21.8 | 22.2 | 22.2 | 22.7 | 21.8 | 23.0 | 22.1 | 22.3 | 22.4 | 21.9 | --- | --- | --- | 15.6 | 15.6 | 17.5 | 65 | 70.7 | 71 | 400 | 0 | 22
25 | 19:00 | 21.8 | 21.6 | 22.4 | 22.6 | 21.1 | 22.8 | 22.3 | 22.7 | 22.4 | 23.1 | --- | --- | --- | 13.9 | 13.9 | 15.5 | 69 | 73.9 | 76 | 370 | 0 | 21
25 | 20:00 | 21.8 | 21.4 | 22.2 | 22.8 | 21.4 | 22.5 | 21.9 | 22.7 | 22.4 | 22.4 | --- | --- | --- | 12.1 | 12.2 | 13.9 | 72 | 78.6 | 79 | 380 | 0 | 19
25 | 21:00 | 21.8 | 21.2 | 21.3 | 22.9 | 20.8 | 21.9 | 21.0 | 21.5 | 21.3 | 21.4 | --- | --- | --- | 12.2 | 13.3 | 13.7 | 73 | 74.1 | 80 | 400 | 1082 | 19
25 | 22:00 | 21.8 | 21.2 | 21.5 | 24.6 | 20.6 | 21.5 | 21.2 | 21.9 | 21.9 | 21.8 | --- | --- | --- | 11.5 | 11.9 | 13.3 | 72 | 75.8 | 86 | 300 | 0 | 20
25 | 23:00 | 21.8 | 21.4 | 22.0 | 22.2 | 20.8 | 21.6 | 21.6 | 22.8 | 22.6 | 22.4 | --- | --- | --- | 11.9 | 13.4 | 13.7 | 72 | 74.1 | 76 | 0 | 0 | 20
26 | 00:00 | 21.8 | 21.1 | 21.9 | 22.4 | 20.7 | 21.6 | 21.7 | 22.5 | 22.5 | 22.2 | --- | --- | --- | 12.8 | 12.9 | 13.4 | 70 | 74.7 | 76 | 0 | 0 | 20
26 | 01:00 | 21.8 | 21.7 | 22.1 | 22.2 | 22.0 | 22.5 | 21.6 | 22.3 | 22.0 | 21.9 | --- | --- | --- | 12.6 | 12.9 | 12.9 | 74 | 74 | 76 | 0 | 0 | 21
26 | 02:00 | 21.7 | 21.3 | 21.7 | 22.0 | 21.1 | 22.0 | 21.3 | 22.4 | 21.9 | 21.6 | --- | --- | --- | 11.9 | 12.0 | 12.8 | 73 | 75 | 76 | 0 | 0 | 20
26 | 03:00 | 21.7 | 21.1 | 21.5 | 22.5 | 20.7 | 22.0 | 21.0 | 21.7 | 21.7 | 22.0 | --- | --- | --- | 10.4 | 10.4 | 11.9 | 75 | 79.3 | 81 | 640 | 0 | 20
26 | 04:00 | 21.7 | 21.1 | 21.5 | 22.3 | 21.0 | 21.8 | 22.0 | 21.9 | 21.1 | 21.6 | --- | --- | --- | 10.3 | 10.8 | 11.1 | 77 | 81 | 82 | 450 | 0 | 20
26 | 05:00 | 21.7 | 21.1 | 21.7 | 22.4 | 20.9 | 21.5 | 21.6 | 22.0 | 22.0 | 22.0 | --- | --- | --- | 10.6 | 10.6 | 11.1 | 76 | 78.1 | 82 | 370 | 0 | 20
26 | 06:00 | 21.7 | 21.2 | 21.9 | 22.0 | 21.1 | 21.6 | 21.2 | 22.4 | 22.1 | 23.2 | --- | --- | --- | 10.2 | 10.4 | 10.7 | 77 | 78.8 | 81 | 470 | 1092 | 20
26 | 07:00 | 21.7 | 21.1 | 21.5 | 22.2 | 20.7 | 21.7 | 21.1 | 22.0 | 21.5 | 21.9 | --- | --- | --- | 10.0 | 11.3 | 11.3 | 77 | 78.7 | 81 | 520 | 0 | 20
26 | 08:00 | 21.7 | 21.3 | 22.0 | 22.4 | 21.5 | 22.7 | 21.8 | 22.2 | 21.9 | 22.1 | --- | --- | --- | 11.3 | 15.1 | 15.2 | 77 | 79.9 | 82 | 460 | 0 | 22
26 | 09:00 | 21.7 | 21.7 | 22.2 | 22.6 | 21.9 | 23.3 | 22.0 | 22.0 | 21.7 | 22.3 | --- | --- | --- | 15.2 | 16.9 | 17.0 | 75 | 75.3 | 81 | 410 | 0 | 23
26 | 10:00 | 21.6 | 22.2 | 23.0 | 23.0 | 22.1 | 23.7 | 22.8 | 23.0 | 22.9 | 23.3 | --- | --- | --- | 17.0 | 18.1 | 18.2 | 69 | 71.9 | 76 | 360 | 0 | 24
26 | 11:00 | 21.6 | 22.4 | 23.1 | 23.1 | 22.1 | 22.9 | 23.1 | 23.2 | 23.6 | 23.9 | --- | --- | --- | 18.1 | 19.0 | 19.1 | 70 | 71.7 | 74 | 400 | 926 | 24
26 | 12:00 | 21.6 | 23.1 | 23.8 | 23.8 | 23.2 | 24.0 | 23.6 | 23.8 | 24.0 | 24.3 | --- | --- | --- | 18.9 | 20.1 | 20.2 | 70 | 70.5 | 73 | 360 | 0 | 25
26 | 13:00 | 21.3 | 23.4 | 23.4 | 24.2 | 22.3 | 22.5 | 23.4 | 23.8 | 24.2 | 24.5 | --- | --- | --- | 19.8 | 20.5 | 20.5 | 65 | 66 | 71 | 380 | 0 | 26
26 | 14:00 | 21.5 | 23.4 | 23.7 | 24.0 | 22.5 | 22.9 | 23.7 | 24.1 | 24.5 | 24.8 | --- | --- | --- | 20.5 | 20.9 | 21.2 | 63 | 63.3 | 68 | 310 | 0 | 25

## Humidity
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 33 | 42 | 64
0 | 38 | 51 | 53
1 | 51 | 76 | 77
2 | 72 | 79 | 81
3 | 73 | 82 | 84
4 | 71 | 83 | 85
5 | 58 | 85 | 86
6 | 61 | 85 | 87
7 | 61 | 84 | 86
8 | 63 | 80 | 90
9 | 78 | 87 | 89
10 | 68 | 84 | 88
11 | 70 | 83 | 87
12 | 76 | 85 | 88
13 | 82 | 88 | 89
14 | 73 | 80 | 90
15 | 72 | 77 | 90
16 | 68 | 78 | 84
17 | 74 | 82 | 86
18 | 76 | 77 | 86
19 | 62 | 79 | 86
20 | 64 | 77 | 85
21 | 70 | 82 | 83
22 | 79 | 85 | 88
23 | 80 | 83 | 88
24 | 70 | 76 | 88
25 | 59 | 75 | 86
26 | 63 | 81 | 83
27 | 69 | 81 | 86
28 | 67 | 79 | 86
29 | 58 | 78 | 82
30 | 59 | 79 | 82
31 | 57 | 74 | 84
32 | 54 | 70 | 80
33 | 53 | 77 | 81
34 | 58 | 80 | 81
35 | 64 | 84 | 87
36 | 84 | 89 | 91
37 | 75 | 87 | 94
38 | 不详 | 不详 | 不详

## Mortality
GrowthDay | TotalMortality | TotalCulled | TotalTotal | TotalPercent | TotalUpdate | MaleMortality | MaleCulled | MaleTotal | MalePercent | MaleUpdate | FemaleMortality | FemaleCulled | FemaleTotal | FemalePercent | FemaleUpdate
-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Power Consumption
GrowthDay | Heaters | Fans | Lights | Others | ToalPerDay | ChangeRate
-1 | 0 | 0 | 0 | 0 | 0 | 不详
0 | 0 | 0 | 0 | 0 | 0 | 不详
1 | 0 | 0 | 0 | 0 | 0 | 不详
2 | 0 | 0 | 0 | 0 | 0 | 不详
3 | 0 | 0 | 0 | 0 | 0 | 不详
4 | 0 | 0 | 0 | 0 | 0 | 不详
5 | 0 | 0 | 0 | 0 | 0 | 不详
6 | 0 | 0 | 0 | 0 | 0 | 不详
7 | 0 | 0 | 0 | 0 | 0 | 不详
8 | 0 | 0 | 0 | 0 | 0 | 不详
9 | 0 | 0 | 0 | 0 | 0 | 不详
10 | 0 | 0 | 0 | 0 | 0 | 不详
11 | 0 | 0 | 0 | 0 | 0 | 不详
12 | 0 | 0 | 0 | 0 | 0 | 不详
13 | 0 | 0 | 0 | 0 | 0 | 不详
14 | 0 | 0 | 0 | 0 | 0 | 不详
15 | 0 | 0 | 0 | 0 | 0 | 不详
16 | 0 | 0 | 0 | 0 | 0 | 不详
17 | 0 | 0 | 0 | 0 | 0 | 不详
18 | 0 | 0 | 0 | 0 | 0 | 不详
19 | 0 | 0 | 0 | 0 | 0 | 不详
20 | 0 | 0 | 0 | 0 | 0 | 不详
21 | 0 | 0 | 0 | 0 | 0 | 不详
22 | 0 | 0 | 0 | 0 | 0 | 不详
23 | 0 | 0 | 0 | 0 | 0 | 不详
24 | 0 | 0 | 0 | 0 | 0 | 不详
25 | 0 | 0 | 0 | 0 | 0 | 不详
26 | 0 | 0 | 0 | 0 | 0 | 不详
27 | 0 | 0 | 0 | 0 | 0 | 不详
28 | 0 | 0 | 0 | 0 | 0 | 不详
29 | 0 | 0 | 0 | 0 | 0 | 不详
30 | 0 | 0 | 0 | 0 | 0 | 不详
31 | 0 | 0 | 0 | 0 | 0 | 不详
32 | 0 | 0 | 0 | 0 | 0 | 不详
33 | 0 | 0 | 0 | 0 | 0 | 不详
34 | 0 | 0 | 0 | 0 | 0 | 不详
35 | 0 | 0 | 0 | 0 | 0 | 不详
36 | 0 | 0 | 0 | 0 | 0 | 不详
37 | 0 | 0 | 0 | 0 | 0 | 不详
38 | 0 | 0 | 0 | 0 | 0 | 不详

## Radiant Heaters
GrowthDay | Low_1 | High_1 | Low_2 | High_2 | Low_3 | High_3 | Low_4 | High_4 | Low_5 | High_5 | Low_6 | High_6 | Low_7 | High_7 | Low_8 | High_8 | Low_9 | High_9 | Low_10 | High_10 | Low_11 | High_11 | Low_12 | High_12 | Low_13 | High_13 | Low_14 | High_14 | Low_15 | High_15 | Low_16 | High_16
-1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
0 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
1 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
2 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
3 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
4 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
5 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
6 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
7 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
8 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
9 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
10 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
11 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
12 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
13 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
14 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
15 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
16 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
17 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
18 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
19 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
20 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
21 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
22 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
23 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
24 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
25 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
26 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
27 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
28 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
29 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
30 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
31 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
32 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
33 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
34 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
35 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
36 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
37 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00
38 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00 | 00:00

## Scale History
GrowthDay | Common_Weight | Common_NumOfWeights | Common_StandardDev | Common_Uniformity | Common_CV | Common_DailyGain | Scale1_Female1_Weight | Scale1_Female1_NumOfWeights | Scale1_Female1_StandardDev | Scale1_Female1_Uniformity | Scale1_Female1_CV | Scale1_Female1_DailyGain | Scale2_Male1_Weight | Scale2_Male1_NumOfWeights | Scale2_Male1_StandardDev | Scale2_Male1_Uniformity | Scale2_Male1_CV | Scale2_Male1_DailyGain | Scale3_Female2_Weight | Scale3_Female2_NumOfWeights | Scale3_Female2_StandardDev | Scale3_Female2_Uniformity | Scale3_Female2_CV | Scale3_Female2_DailyGain | Scale4_Male2_Weight | Scale4_Male2_NumOfWeights | Scale4_Male2_StandardDev | Scale4_Male2_Uniformity | Scale4_Male2_CV | Scale4_Male2_DailyGain
-1 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
0 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
1 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
2 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
3 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
4 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
5 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
6 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00
7 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00 | 0.00 | 0 | 0.00 | 0 | 0 | 0.00

## Table Of Events
Message | GrowthDay | Time
报警测试 | 6 | 11:20:00
备用设置提醒 | 6 | 11:36:22
报警测试 | 7 | 11:20:00
报警测试 | 8 | 11:20:00
报警测试 | 9 | 11:20:00
报警测试 | 10 | 11:20:00
备用设置提醒 | 10 | 11:54:16
管理员登陆 | 11 | 08:38:17
系统锁定 | 11 | 08:43:21
报警测试 | 11 | 11:20:00
管理员登陆 | 11 | 12:33:29
系统锁定 | 11 | 12:39:07
报警测试 | 12 | 11:20:00
报警测试 | 13 | 11:20:00
重置报警 | 14 | 05:24:03
管理员登陆 | 14 | 05:29:05
重置报警 | 14 | 05:29:14
系统锁定 | 14 | 05:34:15
管理员登陆 | 14 | 05:36:19
系统锁定 | 14 | 05:45:01
报警测试 | 14 | 11:20:00
备用设置提醒 | 15 | 01:06:16
报警测试 | 15 | 11:20:00
报警测试 | 16 | 11:20:00
报警测试 | 17 | 11:20:00
报警测试 | 18 | 11:20:00
报警测试 | 19 | 11:20:00
备用设置提醒 | 19 | 14:18:16
报警测试 | 20 | 11:20:00
管理员登陆 | 21 | 08:15:07
系统锁定 | 21 | 08:20:13
报警测试 | 21 | 11:20:00
管理员登陆 | 21 | 12:17:10
系统锁定 | 21 | 12:23:03
管理员登陆 | 21 | 14:23:25
更改开关 | 21 | 14:23:25
系统锁定 | 21 | 14:28:25
管理员登陆 | 21 | 20:24:25
更改开关 | 21 | 20:25:13
系统锁定 | 21 | 20:30:13
报警测试 | 22 | 11:20:00
报警测试 | 23 | 11:20:00
报警测试 | 24 | 11:20:00
备用设置提醒 | 25 | 04:40:21
报警测试 | 25 | 11:20:00
报警测试 | 26 | 11:20:00
报警测试 | 27 | 11:20:00
管理员登陆 | 28 | 10:53:04
更改开关 | 28 | 10:53:04
系统锁定 | 28 | 10:58:04
报警测试 | 28 | 11:20:00
报警测试 | 29 | 11:20:00
管理员登陆 | 29 | 12:54:05
更改开关 | 29 | 12:54:05
系统锁定 | 29 | 12:59:06
报警测试 | 30 | 11:20:00
管理员登陆 | 30 | 18:21:09
更改开关 | 30 | 18:21:09
更改开关 | 30 | 18:21:11
更改开关 | 30 | 18:22:11
更改开关 | 30 | 18:22:12
系统锁定 | 30 | 18:27:13
备用设置提醒 | 31 | 03:30:16
报警测试 | 31 | 11:20:00
报警测试 | 32 | 11:20:00
管理员登陆 | 33 | 09:20:12
系统锁定 | 33 | 09:25:14
报警测试 | 33 | 11:20:00
管理员登陆 | 34 | 01:25:26
系统锁定 | 34 | 01:31:05
报警测试 | 34 | 11:20:00
报警测试 | 35 | 11:20:00
报警测试 | 36 | 11:20:00
备用设置提醒 | 36 | 17:54:16
报警测试 | 37 | 11:20:00
报警测试 | 38 | 11:20:00
重置报警 | 38 | 11:32:24
重置报警 | 38 | 11:37:16
重置报警 | 38 | 11:50:19
管理员登陆 | 38 | 12:26:06
空鸡舍模式 | 38 | 12:26:09
重置报警 | 38 | 12:26:09
更改开关 | 38 | 12:29:14
系统锁定 | 38 | 12:34:14
报警测试 | 39 | 11:20:00
电源关闭 | 40 | 06:39:12
电源开启 | 40 | 15:01:29
电源关闭 | 40 | 15:09:10
电源开启 | 40 | 11:11:22
报警测试 | 41 | 11:20:00
报警测试 | 42 | 11:20:00
报警测试 | 43 | 11:20:00
报警测试 | 44 | 11:20:00
管理员登陆 | 45 | 09:49:19
更改开关 | 45 | 09:49:19
更改开关 | 45 | 09:49:24
更改开关 | 45 | 09:53:04
系统锁定 | 45 | 09:58:04
报警测试 | 45 | 11:20:00
管理员登陆 | 46 | 07:58:11
更改开关 | 46 | 07:58:18
更改开关 | 46 | 08:01:14
系统锁定 | 46 | 08:06:15
报警测试 | 46 | 11:20:00
报警测试 | 47 | 11:20:00
管理员登陆 | 47 | 14:49:25
系统锁定 | 47 | 14:55:05
报警测试 | 48 | 11:20:00
报警测试 | 49 | 11:20:00
报警测试 | 50 | 11:20:00
管理员登陆 | 51 | 07:44:08
更改开关 | 51 | 07:44:08
更改开关 | 51 | 07:44:10
系统锁定 | 51 | 07:49:10
管理员登陆 | 51 | 09:24:18
更改开关 | 51 | 09:24:18
系统锁定 | 51 | 09:34:00
报警测试 | 51 | 11:20:00
新的鸡群 | -1 | 10:31:03
更改的日龄 | -1 | 10:31:03
管理员登陆 | -1 | 11:05:00
更改开关 | -1 | 11:05:00
更改开关 | -1 | 11:05:12
更改开关 | -1 | 11:05:21
更改开关 | -1 | 11:05:28
更改开关 | -1 | 11:06:12
更改开关 | -1 | 11:06:14
系统锁定 | -1 | 11:11:14
报警测试 | -1 | 11:20:00
报警测试 | 0 | 11:20:00
管理员登陆 | 0 | 11:25:16
更改开关 | 0 | 11:25:16
普通鸡舍模式 | 0 | 11:25:22
重置报警 | 0 | 11:25:27
备用设置提醒 | 0 | 11:25:28
更改开关 | 0 | 11:26:03
系统锁定 | 0 | 11:31:11
电源关闭 | 0 | 14:45:02
电源开启 | 0 | 14:45:29
电源关闭 | 0 | 17:32:12
电源开启 | 0 | 17:32:23
报警测试 | 1 | 11:20:00
报警测试 | 2 | 11:20:00
备用设置提醒 | 2 | 15:43:15
报警测试 | 3 | 11:20:00
报警测试 | 4 | 11:20:00
备用设置提醒 | 4 | 12:58:28

## Temperature
GrowthDay | MinimumValue | AverageValue | MaximumValue
-1 | 20.8 | 34.3 | 39.0
0 | 32.9 | 33.8 | 34.9
1 | 32.4 | 33.0 | 34.0
2 | 31.5 | 32.0 | 33.3
3 | 31.0 | 31.4 | 33.1
4 | 30.3 | 31.0 | 32.3
5 | 29.7 | 30.0 | 31.3
6 | 28.7 | 29.7 | 30.7
7 | 28.5 | 29.1 | 31.2
8 | 27.8 | 28.4 | 30.1
9 | 27.8 | 28.3 | 29.3
10 | 27.0 | 27.5 | 29.6
11 | 26.5 | 26.9 | 29.2
12 | 26.3 | 26.5 | 28.0
13 | 26.0 | 26.8 | 27.4
14 | 25.3 | 25.3 | 29.9
15 | 24.4 | 25.1 | 29.5
16 | 24.2 | 25.2 | 26.2
17 | 23.9 | 25.0 | 26.4
18 | 23.7 | 24.1 | 25.5
19 | 23.4 | 24.3 | 25.7
20 | 23.2 | 24.1 | 25.7
21 | 22.9 | 23.3 | 25.5
22 | 22.6 | 22.7 | 24.3
23 | 21.9 | 22.4 | 23.7
24 | 21.6 | 22.0 | 23.7
25 | 21.1 | 21.9 | 24.6
26 | 20.8 | 21.6 | 24.2
27 | 20.6 | 21.3 | 24.5
28 | 20.5 | 21.0 | 23.8
29 | 20.3 | 20.4 | 24.9
30 | 19.9 | 20.6 | 25.5
31 | 19.1 | 19.2 | 22.8
32 | 17.8 | 18.6 | 21.5
33 | 17.6 | 17.6 | 21.2
34 | 16.9 | 17.8 | 20.8
35 | 17.1 | 17.5 | 21.2
36 | 17.2 | 18.9 | 21.5
37 | 17.1 | 17.1 | 22.3
38 | 16.1 | 19.2 | 22.4

## Water
GrowthDay | PerBird | TotalDrinkDaily | TotalDrinkChange | Water_1Daily | Water_1Change | Water_2Daily | Water_2Change | Water_3Daily | Water_3Change | Water_4Daily | Water_4Change | Water_5Daily | Water_5Change | Water_6Daily | Water_6Change | Water_7Daily | Water_7Change | Water_8Daily | Water_8Change | Water_9Daily | Water_9Change | Water_10Daily | Water_10Change | Water_11Daily | Water_11Change | Water_12Daily | Water_12Change | Water_13Daily | Water_13Change | Water_14Daily | Water_14Change | Water_15Daily | Water_15Change | Water_16Daily | Water_16Change | Water_17Daily | Water_17Change | Water_18Daily | Water_18Change | Water_19Daily | Water_19Change | Water_20Daily | Water_20Change | TotalWater | Coolpad | Fogger | Flushing
-1 | 0.00 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 0 | 0 | 0
0 | 0.00 | 360 | 0 | 360 | 0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 360 | 0 | 0 | 0
1 | 0.00 | 620 | 72 | 620 | 72 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 620 | 0 | 0 | 0
2 | 0.00 | 860 | 38 | 860 | 38 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 860 | 0 | 0 | 0
3 | 0.00 | 1010 | 17 | 1010 | 17 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1010 | 0 | 0 | 0
4 | 0.00 | 1360 | 34 | 1360 | 34 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1360 | 0 | 0 | 0
5 | 0.00 | 1620 | 19 | 1620 | 19 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1620 | 0 | 0 | 0
6 | 0.00 | 1880 | 16 | 1880 | 16 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 1880 | 0 | 0 | 0
7 | 0.00 | 2100 | 11 | 2100 | 11 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2100 | 0 | 0 | 0
8 | 0.00 | 2060 | -2 | 2060 | -2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2060 | 0 | 0 | 0
9 | 0.00 | 2610 | 26 | 2610 | 26 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 2610 | 0 | 0 | 0
10 | 0.00 | 3020 | 15 | 3020 | 15 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 3020 | 0 | 0 | 0
11 | 0.00 | 3310 | 9 | 3310 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 3310 | 0 | 0 | 0
12 | 0.00 | 3650 | 10 | 3650 | 10 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 3650 | 0 | 0 | 0
13 | 0.00 | 3900 | 6 | 3900 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 3900 | 0 | 0 | 0
14 | 0.00 | 4190 | 7 | 4190 | 7 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 4190 | 0 | 0 | 0
15 | 0.00 | 4570 | 9 | 4570 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 4570 | 0 | 0 | 0
16 | 0.00 | 4990 | 9 | 4990 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 4990 | 0 | 0 | 0
17 | 0.00 | 5270 | 5 | 5270 | 5 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 5270 | 0 | 0 | 0
18 | 0.00 | 5560 | 5 | 5560 | 5 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 5560 | 0 | 0 | 0
19 | 0.00 | 6080 | 9 | 6080 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6080 | 0 | 0 | 0
20 | 0.00 | 6630 | 9 | 6630 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6630 | 0 | 0 | 0
21 | 0.00 | 6660 | 0 | 6660 | 0 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6660 | 0 | 0 | 0
22 | 0.00 | 6480 | -3 | 6480 | -3 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 6480 | 0 | 0 | 0
23 | 0.00 | 7210 | 11 | 7210 | 11 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7210 | 0 | 0 | 0
24 | 0.00 | 7560 | 4 | 7560 | 4 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7560 | 0 | 0 | 0
25 | 0.00 | 7750 | 2 | 7750 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7750 | 0 | 0 | 0
26 | 0.00 | 7930 | 2 | 7930 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 7930 | 0 | 0 | 0
27 | 0.00 | 8270 | 4 | 8270 | 4 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8270 | 0 | 0 | 0
28 | 0.00 | 8480 | 2 | 8480 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8480 | 0 | 0 | 0
29 | 0.00 | 9300 | 9 | 9300 | 9 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9300 | 0 | 0 | 0
30 | 0.00 | 9400 | 1 | 9400 | 1 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9400 | 0 | 0 | 0
31 | 0.00 | 9100 | -4 | 9100 | -4 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9100 | 0 | 0 | 0
32 | 0.00 | 8600 | -6 | 8600 | -6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8600 | 0 | 0 | 0
33 | 0.00 | 8800 | 2 | 8800 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 8800 | 0 | 0 | 0
34 | 0.00 | 9320 | 5 | 9320 | 5 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9320 | 0 | 0 | 0
35 | 0.00 | 9510 | 2 | 9510 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9510 | 0 | 0 | 0
36 | 0.00 | 9790 | 2 | 9790 | 2 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 9790 | 0 | 0 | 0
37 | 0.00 | 10390 | 6 | 10390 | 6 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 0 | 不详 | 10390 | 0 | 0 | 0